# Underway pCO2 Data Reduction Method

Group/PI:

Method of data reduction (Macro, Matlab-routine, manual, etc):

Please describe in bullet form the steps you use to reduce the raw CO2 data.

EXAMPLE

•Manual data reduction

•MergeTSG and CO2 data

•copy std values to extra sheet

•calculate calibration coefficients based on 2nd order polynomial using cell pressure corrected mole fraction

•calculate cell-pressure corrected mole fraction, calculate pre and post calibrated xCO2 values based on 2nd order polynomials

•calculate time weighted xCO2 from pre and post xCO2 in order to interpolate inbetween standard runs

•check and flag bad data

Which events and ranges produce errors in your routine and/or flag data as questionable or bad in final results?  (check and/or add other)

GPS gaps						bad data

low seawater flow (define)				0.4 L/min=bad measurement

low gas flow						40-60=acceptable measurement

communication error (specify)			no signal from licor=bad 									measurement

licor out of range errors (define range):		not considered in 1st reduction step

CO2 mV/concentration out of range

H2O mV/concentration out of range

Cell temperature out of range

Cell pressure out of range

EQ temperature out of range (define range):		not considered in 1st reduction step

EQ pressure out of range (define range):		not considered in 1st reduction step

Coastal limits						not considered in 1st reduction step

Other

How are your data flags defined?

based on WOCE sample quality flags

1=sample was drawn but analysis not received

2=acceptable measurement

3=questionable measurement

4=bad measurement

5=not reported

etc.

Which raw data do you use to calculate pCO2 and fCO2: mV or fitted xCO2?

Fitted xCO2

Which calibration interpolation do you use (e.g. linear, polynomial)? How do you interpolate inbetween standards?

2nd order polynomial, time-weighted interpolation according to:

xCO2t = ( xCO2pre * (tpost – t) + xCO2post * (t – tpre)) / (tpost – tpre)

Quote the references of the calculation methods you use for the following:

Temperature correction

Takahashi, 1993

pH2O calculation

Weiss et al., 1982

pCO2/fCO2 calculation

DOE handbook

Other references:

Do you eliminate bad raw data values ( e.g Tequil, Salinity) in your final file or do you use a (-9) default value?

Eliminate

Do you retain bad fCO2 values in your final files (with appropriate flag) or do you eliminate them?

Eliminate

Do you interpolate "input" values if values are missing or bad?  If so, how and which ones?

No interpolation

Do you use averaging and/or despiking routines for input values? If yes, please detail.

None

Do you account for time offset for water transit and equilibration time.  If yes, how?

No accounting.

Describe your final data output.

GROUP/SHIP,CRUISE_DESIGNATION,JD_GMT,DATE_DDMMYYYY,TIME_HH:MM:SS,LAT_DEC_DEGREE,LONG_DEC_DEGREE,xCO2W_PPM,xCO2A_PPM,PRES_EQUIL_hPa,PRES_SEALEVEL_hPa,EqTEMP_C,SST(TSG)_C,SAL(TSG)_PERMIL,WATER_FLOW_L/MIN,GAS_FLOW_IR_ML/MIN,TEMP_IR_C,PRES_IR_hPa,SHIP_HEADING_TRUE_DEGREE,SHIP_SPEED_KNOT,WIND_DIR_REL_DEGREE,WIND_SPEED_REL_M/S,fCO2W@SST_uATM,QC_FLAG_WATER,fCO2A_uATM,QC_FLAG_AIR,dfCO2_uATM,FLUORO_uG/L,WIND_SPEED_TRUE_M/S,WIND_DIR_TRUE_DEGREE,AIR_TEMP_C