Cruise:  Lophelia II – Cruise 3

Ship:  R/V Ronald Brown

Dates:  August 20 – September 3, 2009

Chief Scientist:  not applicable

Equipment:  Surface samples collected.

Total number of stations:  VOS Underway Cruise

Sample Collection

The discrete samples were collected by Jonathan Shannahoff from a metering ball valve next to the underway pCO2 instrument.  The underway pCO2 instrument was located in the bow thruster space next to the TSG and a short distance from the inlet pump.  The sea water takes less than 10 seconds to travel from the inlet to the instruments.  The TSG temperature is believed to be no more than 0.15 degrees C warmer than in-situ SST.

The date and time listed in the data file are UTC when each sample bottle was collected.

DIC:

16 locations, 20 samples each 500-ml, 4 sets of duplicate samples

Sample_ID#:  21 - 40

PI:  Dr. Rik Wanninkhof

Analyzed by:  Esa Peltola

TAlk:

16 locations, 20 samples each 500-ml, 4 sets of duplicate samples

Sample_ID#:  21 - 40

PI:  Dr. John Morse

Analyzed by:  Luz Romero

Sample Analysis

DIC:

Analysis date: September 22, 2009

Coulometer used: AOML2

Blank: 12-25 counts/min

CRM # used and assigned value (include both DIC and salinity): Batch 85, c: 2000.4 umol/kg,S: 33.326

CRM value measured:  AOML 2: offset 3.7 umol/kg (2004.2 umol/kg)

Average run time, minimum run time, maximum run time:  13 min, 9 min, 20 min

Reproducibility: (# samples and average difference): 4 sets of duplicate samples, average difference 3.3 umol/kg. The difference of the sampling times of the samples 29 and 24 was 10 minutes. These samples had difference of the duplicates 9.1 umol/kg. The average difference of sampling times of all the duplicate samples was about 7 minutes.

CRM, salinity and HgCl2 correction applied: Salinity correction was applied using TSG salinity

Remarks-

The volume correction was applied due to added HgCl2 (Measured DIC*1.00037).

The first CRM of each cell was used for a CRM correction.

TAlk:

The results posted are duplicate analyses from the same sample bottle.

Comments

The GPS transducer and the thermosalinographs (TSG) were logged by a computer system installed by NOAA.

The latitude, longitude, temperature and salinity reported with the DIC and TAlk measurements were taken from the raw TSG data file.  The merging of the discrete measurements with the TSG data was done on the basis of date and time.  The TSG values are provided for reference; no post-cruise assurance of accuracy has been done to this data.

The SampleID is the sample bottle number for the discrete samples.

Bottle 33 had an incorrect alkalinity value and was corrected to 2395.6 umol/kg

on 3/10/2011.

The discrete salinities were measured on shore at the Geochemical and

Environmental Research Group (GERG) of Texas A&M on the remaining

seawater after TALK was analyzed.  The discrete salinities serve as a

check of sample integrity and/or errors in sample location.