Cruise:  Cape Hatteras

Ship:  R/V Cape Hatteras

Dates:  May 17 – 26, 2006

Chief Scientist:  Dr. Wei-Jun, University of Georgia

Equipment:  12 bottle CTD with dual C, T, and O2 sensors and LADCP

Number of Stations:  64

Sample Collection

O2:

140 samples taken in 120 ml iodine Erlenmeyer flasks, 20 duplicate samples

PI:  Dr. Chris Langdon, RSMAS

Analyzed by:  George Berberian, AOML

Nutrients:

164 samples taken in 8-ml vials, 30 duplicate samples

PI:  Dr. Jia-Zhong Zhang, AOML

Analyzed by:  Charles Fischer, AOML

Nutrient units umol/kg

DIC:

35 stations, 149 samples each 500-ml, 7 sets of duplicate samples

PI:  Dr. Rik Wanninkhof, AOML

Analyzed by:  Esa Peltola, AOML

TALK:

12 stations, 32 samples, 0 duplicates

PI:  Dr. Frank Millero, RSMAS

Analyzed by:  Fen Huang, RSMAS

TALK units are umol/kg

Sample Analysis

DIC:

Analysis Date: June 7-21, 2006

Coulometers used: AOML1 and AOML2

Blank range: 12.0-30.0 counts/min

CRM # used and assigned value (include both DIC and salinity): Batch 59, c: 2007.1 umol/kg, S:33.316; and Batch 66, c:1969.57 umol/kg, S:32.962.

CRM value measured:  AOML 1: offset 7.1 umol/kg (2000.0 umol/kg, Batch 59)

offset 5.3 umol/kg (1964.3 umol/kg, Batch 66)

AOML-2: offset 6.8 umol/kg (2000.3 umol/kg, Batch 59)

offset 7.5 umol/kg (1962.1 umol/kg, Batch 66)

The average run time was 13 minutes, the minimum run time was 8 minutes and the maximum run time was 20 minutes.

Reproducibility: (# samples and average difference): 7 sets of duplicate samples, average difference = 1.5 umol/kg.

CRM, salinity and HgCl2 correction applied: yes

Comments

The Sample_ID is the rosette niskin bottle number from which the discrete samples were drawn.