Cruise:  SKO0313

Ship:  M/V Skogafoss

Dates:  December 6 - 14, 2003

Chief Scientist:  not applicable

Equipment:  Surface samples collected.

Total number of stations:  VOS Underway Cruise

Sample Collection

The discrete samples were collected by Kevin Sullivan at a tap on the side of the TSG enclosure in the engine room.  The underway pCO2 instrument and the TSG were supplied with water from the flow used for engine cooling.  The water flowing through the TSG is believed to be 0.2 degrees C warmer than in-situ SST.  The date and time listed in the data file are UTC when each sample bottle was collected.

DIC:

17 locations, 24 samples each 500-ml, 7 sets of duplicate samples

Sample_ID#:  146 – 177, A39 – A209

PI:  Dr. Rik Wanninkhof

Analyzed by:  Esa Peltola

Salinity_2:

4 locations, 24 samples each 180 ml

Sample_ID#:  1 - 24

PI:  Dr. Jonathan Hare

Analyzed by:  Northeast Fisheries Science Center, Narragansett Laboratory

Sample Analysis

DIC:

Analysis date: April 27-28, 2004

Coulometer used: AOML1

Blank range: 13.4-26.0 counts/min

CRM # used and assigned value (include both DIC and salinity): Batch 45, c:1994.17 umol/kg,S:33.487

CRM value measured:  AOML 1: offset 4.9umol/kg (1999.0 umol/kg)

Average run time, minimum run time, maximum run time:  10 min, 8 min, 18 min

Reproducibility: (# samples and average difference): 7 sets of duplicate samples, average difference 0.5 umol/kg

CRM, salinity and HgCl2 correction applied: yes

Comments

A GPS transducer was connected to the underway pCO2 instrument as well as a thermosalinograph (TSG).  The GPS and the TSG, a Seabird SBE-21, were maintained by the Ship of Opportunity Program at AOML (http://www.aoml.noaa.gov/phod/tsg/soop/index.php).

The latitude, longitude, temperature, and salinity were read immediately after collecting the discrete samples.  The TSG salinity was discovered to be not accurate, and the logging of the TSG data had problems on 6 December, 2003.  For samples collected on 6 December, the observed position and temperature are associated with the discrete measurements.  For the rest of the samples, the position and temperature were taken from the raw TSG data file with the merging being done on the basis of date and time.  The TSG values are provided for reference; no post-cruise assurance of accuracy has been done to this data.

The Sample_ID is the sample bottle number for the discrete samples.