Cruise:  Walton Smith

Ship:  R/V Walton Smith

Dates:  October 8-16, 2005

Chief Scientist:  Dr. Wei-Jun, University of Georgia

Equipment:  24 bottle CTD with dual C, T, and O2 sensors and LADCP

Number of Stations:  55

Sample Collection

O2:

Shipboard, all stations, all depths

PI:  Dr. Molly Baringer, AOML

Analyzed by:  Robert Roddy, AOML

Nutrients:

The samples were analyzed in the lab after they were thawed.

PI:  Dr. Jia-Zhong Zhang, AOML

Analyzed by:  Charles Fischer, AOML

Nutrient units umol/kg

DIC:

36 stations, 150 samples each 250 or 500-ml, 26 duplicate samples

PI:  Dr. Rik Wanninkhof, AOML

Analyzed by:  Esa Peltola, AOML

TALK:

9 stations, 27 samples each 250 or 500-ml, 4 duplicates (two sets)

PI:  Dr. Frank Millero, RSMAS

Analyzed by:  Fen Huang, RSMAS

TALK units are umol/kg

Sample Analysis

DIC:

Analysis Date: November 1-9, 2005

Coulometers used: AOML1 and AOML2

Blank range: 12.0-30.0 counts/min

CRM # used and assigned value (include both DIC and salinity): Batch 59, c: 2007.1 umol/kg, S:33.316 and Batch 69, c:1907.63 umol/kg, S:31.569.

CRM value measured:  AOML 1: offset 5.9 umol/kg (2001.2 umol/kg, Batch 59)

offset 6.8 umol/kg (1900.8 umol/kg, Batch 69)

AOML-2: offset 6.9 umol/kg (2000.2 umol/kg, Batch 59)

offset 7.9 umol/kg (1899.7 umol/kg, Batch 69)

The average run time was 13 minutes, the minimum run time was 8 minutes and the maximum run time was 20 minutes.

Reproducibility: (# samples and average difference): 13 sets of duplicate samples, average difference = 0.9 umol/kg.

CRM, salinity and HgCl2 correction applied: yes

Comments

The Sample_ID is the rosette niskin bottle number from which the discrete samples were drawn.