Cruise name 	SKO410

Expocode	AGSK20040625

README file for Skogafoss cruises 312 through 608.

This dataset is heavily edited, manipulated, and screened compared to the original files because both the equilibrator temperatures and the TSG temperatures are believed to be inaccurate.

The individual files that can be found at http://www.aoml.noaa.gov/ocd/gcc/skogafoss_introduction.php.

Name			Wanninkhof, Rik

Name			Sullivan, Kevin

Organization		NOAA/AOML

Address		4031 Rickenbacker Causeway, Miami Fl 33149

Phone			305-361-4379

E-mail			rik.wanninkhof@noaa.gov; kevin.sullivan@noaa.gov

DatasetID		SKO410

Submission		2013/04/01

Experiment name	Skogafoss underway pCO2 data for cruises 312 through 608

Geographic Region	Northwest Atlantic between Norfolk, USA and Reykjavik, Iceland

Bounds West_long     -77.5 E (that is 77.5 W)

East_long	-20  E

North_lat	66.40 N

South_lat	36.84 N

Start date		2003/11/20

End date		2006/08/13

Ports of call		CITY                          		LATITUDE     LONGITUDE

Reykjavik, Iceland            	64.150       	-21.855

Argentia, Newfoundland        47.296      	-53.984

Shelbourne, Nova Scotia       	43.753       	-65.322

Boston, Massachusetts         	42.390       	-71.054

Philadelphia, Pennsylvania    39.850       	-75.341

Newport News, Virginia        	36.963       	-76.417

Richmond, Virginia            	36.517       	-77.417

Vessel			Skogafoss

Vessel ID		SKO	 call sign V2XM

Country		Iceland

Vessel owner		Eimskip Lines

Variable Info:

COLUMN  HEADER             	EXPLANATION

1.      EXPOCODE			Universal unique cruise identifier

2.      GROUP_SHIP:                    	AOML/SKOGAFOSS

3.      CRUISE_ID:      		SKOYNN (where Y is Year and NN is 								the cruise #).

4.      Year_Fractional			Decimal year (XXXX.YYYYY)

5.      JD_GMT:                        	Decimal year day

6.      DATE_DDMMYYYY:             UTC Date

7.      TIME_HH:MM:SS:                  UTC Time

8.      LAT_DEC_DEGREE:              Latitude in decimal degrees (negative

values are in southern hemisphere).

9.      LONG_DEC_DEGREE:           Longitude in decimal degrees (negative

values are in western latitudes).

10.      xCO2_EQU_PPM:                     Mole fraction of CO2 in the equilibrator at

equilibrator temperature (Teq) in parts per

million.

11.     xCO2ATM_PPM_measured:   Mole fraction of CO2 in air in ppm measured

12.     xCO2_ATM_PPM_assigned:	Average monthly air value for midpoint of 									cruise 	determined from average of ESRL-									GMD flask values in Macehead, Ireland; the 								Azores; and Reykjavik, Iceland.

13.     PRES_EQU_hPa:                	Barometric pressure measured in the 									equilibrator in 	hectopascals (1 hectopascal = 							1 millibar)

14.     PRES_SEALEVEL_hPa:         Barometric pressure from ship's 									barometer. No ship barometer was logged so 							it was assumed to be (Pres_equil-3mB) 								throughout

15. TEMP_EQU_C:                      	Temperature in equilibrator water in degrees

centigrade. (SEE NOTES HOW THIS IS								DETERMINED)

16.     SST_C:      	                  	Sea Surface Temperature in degrees 									centigrade (SEE NOTES HOW THIS IS 								DETERMINED)

17.     SAL(TSG)_PERMIL:               Salinity from the ship's thermosalinograph 								on the Practical Salinity Scale.

18.     fCO2_SW@SST_uATM:         Fugacity of CO2 in seawater in microatm

19.     fCO2_ATM_uATM:                 Fugacity of CO2 in air in microatm

20.     dfCO2_uATM:                    	Seawater fCO2 - air fCO2 in microatm

21.     QC_flag				Quality control flag 2= good, 3=

questionable; 4=  bad

22.      QC_sub_flag			Indication of problem. Note the primary QC

can be 2,3, or 4 depending on nature and magnitude of problem.

(0= no problem, 1 = outside standard range, 2 = bad SST, 3 = bad EqT, 4 = bad ΔT, 5 = excess warming, 6 = bad salinity, 7 = bad

pressure, 8 = low gas flow, 9 = bad air

value, 10 = interpolated standard, and

11 = miscellaneous)

note: the default value is -999

Method description:

Equilibrator						showerhead  0.7 L water, 0.8 L headspace

Water flow rate					1-3 l/min

Headspace gas flowrate				≈ 100-200 ml/ min

Vented							Yes

Measurement methods				stop flow analysis with venting to lab.

Gases							Scott Marin- calibrated against 4 primary 								standards produced by CD Keeling SIO

From October 23 to November 21, 2003

STD 	CONC     	TANK #

Std 1	196.39		fa02293

Std 2	399.25		fa02258

Std 3	356.79		ja02140

Std 4	298.15		fa02272

From November 22, to December 21, 2003

STD 	CONC     	TANK #

Std 1	196.39		fa02293

Std 2	399.25		fa02258

Std 3	360.96		ja02166

Std 4	298.15		fa02272

From December 21, 2003 to July 7, 2005

STD 	CONC     	TANK #

Std 1	196.39		fa02293

Std 2	399.25		fa02258

Std 3	360.96		ja02166

Std 4	293.50		fa02255

From July 7, 2005 to April 16, 2006

STD 	CONC    	TANK #

Std 1	196.39		fa02293

Std 2	455.18		fa02435

Std 3	360.96		ja02166

Std 4	293.50		fa02255

From April 16, 2006 to August 28, 2006

STD 	CONC    	TANK #

Std 1	197.74		fa02271

Std 2	455.18		fa02435

Std 3	373.20		ja02282

Std 4	293.50		fa02255

CO2 Sensor						LI-6262 s/n 1241

UW pCO2 system name				"CNN generation 1"

positioned in engine room of Skogafoss  Temperature sensor					Superlogic model 7000 temperature sensor								Sensor inserted through top of equilibrator 								and tip submerged about 6 cm below water 							            surface. For SKO604-608 a Hart thermistor 								was added and logged which is believed to 					be accurate to 0.01 ˚C

Pressure sensor					Vaisala pressure trans PTB 210C6C1M 								connected to headspace of equilibrator 				        Accuracy ±0.20 hPa

Data link:  http://www.aoml.noaa.gov/ocd/gcc/skogafoss_introduction.php

Data reduction of QC procedures for file SKO_312_608:

The XCO2air and XCO2 water values as recorded were retained in the dataset and only the fCO2 values were corrected or deleted.  For lines were XCO2air are presented (xCO2ATM, column 11) the QC flag refers to the air value and is only a reflection of the measurement. It is flagged 2 even if it, for instance, appears to be contaminated by stack gases.

The data file to which this metadata file refers has undergone a revised data reduction and quality control procedure compared to the original  files.  From comparison cross-overs with the Nuka Arctica (Olsen, U. Bergen Norway) and XBT surface temperatures from the Skogafoss (Reverdin and Colbiere, U. Paris) it appears that the SST measured with the TSG (without a remote probe) on the Skogafoss were too high. This is due to the TSG being positioned well away from the intake on a shunt line. Olsen estimated a SST offset ranging from 0.3 ˚C in the wintertime to 0.1 ˚C in the summertime for 2004 and 2005 data.  We refined this estimate for the cruises 312-608.  J. Trinanes co-located Reynolds Optimal interpolated SST (1/4 degree daily resolution) with the Skogafoss and we used this data to estimate the SST by the procedure outlined below.

For cruises SKO312-SKO603 there were issues with the TSG temperature and also the equilibrator temperature.  The TSG is mounted well within the ship's engine room on a shunt about 10 feet from the engine intake and no remote temperature sensor was available.  The equilibrator temperature was measured with a Superlogic model 7000 temperature sensor with an analog to digital converter that showed a drift that appeared related to the (unmeasured) engine room temperature.  To estimate the equilibrator and intake temperature we used two sources of information. The 0.25 degree daily Reynolds optimal interpolated (OI) values were used to estimate the SST.  The difference between the Reynolds OI SST and SST (TSG) for SKO 312-608 was -0.29 +- 1.31 C (n = 51262) confirming the SST (TSG)  bias due to warming of seawater inside the ship.  The equilibrator temperature data were corrected using  data from  SKO 604-721 when both the Superlogic T sensor and Hart T sensors were logging the equilibrator temperature.  The Hart self-contained thermistor and readout are believed accurate to better than 0.01 ˚C. The temperature correction for cruises SKO312-603 was done in the following manner:

1. The equilibrator temperature logged by the Superlogic model 7000 temperature sensor was corrected based on the cruises when the Hart thermistor was in the equilibrator along side the Superlogic probe according to:

Corrected equilibrator temperature (EqTemp) = 0.988936*(Superlogic T)-1.005996

2.  The SST was corrected using an empirical algorithm between equilibrator temperature and the Reynolds OI product.  This procedure bypassed the TSG temperature altogether as there appeared numerous issues with the TSG including [poorly documented] swap out of units, changes in plumbing, and changes in flow.  The resulting equation for cruises SKO312-SKO603 is based on comparing Reynolds OI SST and EqTemp_corrected and excluding Reynolds OI SST for values where (Reynolds OI SST - Eq T) < -2.5 and (Reynolds IO SST - Eq T) > 2 (n = 25799) the relationship is:

Corrected SST = -0.16329+ 0.97849 * Corrected EqTemp. (see above)

This procedure directly links the SST to the equilibrator temperature and thereby eliminates the inherent "noisiness" of the Reynolds's SST product due to inexact temporal and spatial matching of ship and Reynolds's product.   This equation was derived after determining that for every single cruise similar correlations were obtained.

For the data from SKO604-608 when a Hart T probe was in the equilibrator and when the same TSG was in the system as for the cruises SKO 609-721 we applied the correction as for the files SKO 609-721, that is:  SST = SST(TSG)- 0.16 ˚C.

Thus the fCO2 reported for SKO604-608 a constant   correction for SST (SST = SST(TSG)- 0.16 ˚C) is applied.  A comparison of fCO2w values using with the algorithm applied to the cruises SKO312-SKO603 (SST = -0.16329+ 0.97849 * EqTemp) for the cruises SKO604-608 shows a bias of 2.54 ± 0.33 µatm (n=23796) with SKO312-SKO603 correction yielding higher values.

The final screening of fCO2 for SKO312-SKO603 was done by not calculating values if ABS(SST (based on Reynolds)- (T(TSG-0.3))<1.  This decreases the amount of good fCO2w data points from 32331 to 22191. This procedure decreases biases due to errors in Reynolds IO SST but in the process eliminates some of the near shore data where no reliable Reynolds IO SST are available.  All XCO2w are retained.

No such screening was performed for SKO604-608 as no Reynolds SST was used in the calculation and this dataset contains 23088 fCO2w points.

3. XCO2 air values were variable throughout the cruise. Because no relative wind directions were available, screening for stack gas is difficult.  For the fCO2air measurements average values of the NOAA/CMDL stations in Macehead Ireland, the Azores and Reykjavik, Iceland were used for each cruise. These XCO2 values (xCO2_ATM_PPM_assigned) are displayed in column 12 (=column K in Excel).  The xCO2ATM_PPM_measured in column 11 contains the measured air values.  Overall the measured air values are higher but minima correspond to the flask station values.  The notable exceptions are during the summer minima when measured values on the ship are lower than the flask values. The low values are generally encountered near the coast of Canada and attributed to drawdown of CO2 in the boreal forest.  The decent correspondence between the CDMD_GMD flask values and ship's observations suggest that there are no large instrumental biases in the XCO2 measurement during the cruises.

The air values used for each cruise is listed below along with the minimum and median value measured.

Table- Summary of XCO2 air values for the cruises.

| Cruise | Dates | xCO2 assign | Count ship | Avg ship | Std ship | Min ship | Median ship |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 312 | Nov. 27 - Dec. 3, 2003 | 377.8 | 188 | 380.6 | 4.0 | 374.9 | 379.0 |
| 313 | Dec. 5 - Dec. 23, 2003 | 378.8 | 228 | 380.5 | 11.2 | 328.7 | 381.2 |
| 402 | Feb. 17 - March 5, 2004 | 381.4 | 120 | 382.5 | 6.1 | 370.6 | 381.9 |
| 408 | May 1 - May 25, 2004 | 381.0 | 156 | 381.4 | 1.3 | 379.1 | 381.2 |
| 409 | May 29 - June 26, 2004 | 379.4 | 276 | 378.3 | 2.2 | 369.5 | 378.6 |
| 410 | June 25 - July 9, 2004 | 376.9 | 158 | 375.2 | 2.9 | 369.5 | 375.7 |
| 411 | July 24 - August 17, 2004 | 373.6 | 22 | 371.8 | 0.6 | 371.0 | 371.6 |
| 412 | August 21 - Sept. 15, 2004 | 370.1 | 62 | 367.8 | 1.9 | 363.4 | 368.6 |
| 413 | Sept. 15 - Sept. 23, 2004 | 370.7 | 30 | 371.1 | 0.5 | 370.0 | 371.3 |
| 415 | Nov. 12 - Dec. 9, 2004 | 378.8 | 226 | 383.0 | 4.4 | 378.2 | 382.3 |
| 416 | Dec. 9, 2004 - Jan. 6, 2005 | 380.2 | 139 | 385.7 | 3.0 | 379.6 | 385.1 |
| 501 | Jan. 7 - Feb. 2, 2005 | 380.6 | 215 | 384.1 | 1.6 | 380.8 | 384.0 |
| 502 | Feb. 4 - March 4, 2005 | 381.3 | 348 | 385.9 | 1.9 | 382.7 | 385.7 |
| 503 | March 4 - March 29, 2005 | 382.4 | 159 | 386.0 | 1.8 | 382.1 | 385.9 |
| 511 | October 13 - Nov. 7, 2005 | 379.5 | 83 | 381.4 | 3.3 | 377.6 | 380.4 |
| 512 | Nov. 10 - Dec. 6, 2005 | 380.8 | 54 | 381.0 | 1.4 | 379.5 | 380.9 |
| 603 | March 15 - April 1, 2006 | 386.6 | 148 | 388.2 | 3.3 | 372.4 | 388.0 |
| 604 | April 3 - April 28, 2006 | 387.1 | 686 | 387.6 | 2.6 | 380.2 | 387.5 |
| 605 | April 29 - May 23, 2006 | 387.1 | 875 | 388.0 | 2.8 | 383.7 | 387.7 |
| 607 | June 23 - 18 July, 2006 | 380.8 | 717 | 381.0 | 2.9 | 374.4 | 380.4 |
| 608 | July 23 - 13 August, 2006 | 375.5 | 478 | 380.0 | 8.4 | 371.5 | 377.5 |

Legend:

xCO2_ATM_PPM_assigned: Average of flask samples from Azores, Ireland, and Iceland for the

particular month  (see http://www.esrl.noaa.gov/gmd/ccgg/flask.html)

Count: 		Number of air samples taken during the cruise (samples with obvious stack gas 			contamination are excluded)

Average: 	Average XCO2 of air samples taken for the particular cruise

Stdev: 		Standard deviation of XCO2 of air samples taken for the particular cruise

Min: 		Minimum XCO2 of air value for the particular cruise

Median: 	Median XCO2 of air value for the particular cruise

5. Pressure sealevel is Pequil- 3 mB

Based on Takahashi et al (2008) and our experience on the cruise ship Explorer of the Seas, we assume that the pressure outside the ship (sealevel pressure) that was not measured, equals,  (Pequil- 3 mB).  That is, inside the ship there is a slight overpressure.  All fCO2a values were calculated assuming sealevel pressure is (Pequil-3mB).

6. Bad salinities

fCO2 water values were not calculated and flagged as 4 when salinity values were lower than 28 (2240 points).

7. Other QC checks.

For every individual cruise the data was plotted against time and outliers were visually checked. When no apparent cause for the outlier was discerned, or when the outlier was attributed to an erroneous observation, the value was eliminated and fCO2 value was not calculated. The X-Y plots scrutinized included: Long, Lat; JD, Lat: JD, Long; JD, SST; JD, SSS; JD, Pequil; JD, ∆fCO2.

A summary of number of values retained per cruise along with average parameters is given in the table below.

Table: Cruise Statistics.

| Cruise | Dates | Count | AvgEqT | Std | AvgSST | Std | Avg∆fCO2 | Std |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 312 | Nov. 27-Dec. 3, 2003 | 1378 | 8.35 | 2.66 | 8.01 | 2.60 | -6.8 | 21.3 |
| 313 | Dec. 5-Dec. 23, 2003 | 1381 | 6.81 | 2.13 | 6.50 | 2.09 | -9.6 | 20.1 |
| 402 | Feb. 17-March 5, 2004 | 69 | 1.87 | 1.37 | 1.66 | 1.34 | -112.6 | 32.9 |
| 408 | May 1-May 25, 2004 | 2183 | 5.82 | 1.91 | 5.54 | 1.87 | -58.7 | 51.6 |
| 409 | May 29-June 26, 2004 | 2594 | 7.41 | 2.62 | 7.09 | 2.57 | -58.0 | 41.2 |
| 410 | June 25-July 9, 2004 | 1196 | 8.80 | 1.54 | 8.45 | 1.51 | -51.1 | 43.2 |
| 411 | July 24-August 17, 2004 | 2734 | 13.70 | 3.60 | 13.24 | 3.52 | -20.1 | 42.8 |
| 412 | Aug. 21-Sept. 15, 2004 | 834 | 11.90 | 0.62 | 11.48 | 0.61 | -38.9 | 12.9 |
| 413 | Sept. 15-Sept. 23, 2004 | 264 | 11.29 | 0.68 | 10.88 | 0.67 | -33.4 | 16.0 |
| 415 | Nov. 12-Dec. 9, 2004 | 1723 | 7.87 | 2.66 | 7.54 | 2.60 | -10.0 | 24.0 |
| 416 | Dec. 9, 04-Jan. 6, 2005 | 1033 | 6.24 | 2.70 | 5.94 | 2.64 | -6.9 | 18.8 |
| 501 | Jan. 7-Feb. 2, 2005 | 257 | 7.19 | 0.50 | 6.87 | 0.49 | 12.6 | 2.5 |
| 502 | Feb. 4-March 4, 2005 | 2807 | 4.18 | 2.88 | 3.93 | 2.82 | -6.0 | 28.2 |
| 503 | March 4-March 29, 2005 | 1064 | 4.51 | 2.95 | 4.25 | 2.88 | -5.9 | 18.0 |
| 511 | Oct.13-Nov. 7, 2005 | 702 | 9.00 | 2.08 | 8.65 | 2.03 | -6.5 | 16.5 |
| 512 | Nov. 10-Dec. 6, 2005 | 231 | 7.40 | 0.36 | 7.08 | 0.35 | -8.0 | 5.6 |
| 603 | March 15-April 1, 2006 | 1472 | 3.84 | 2.88 | 3.59 | 2.82 | -36.3 | 35.9 |
| 604 | April 3-April 28, 2006 | 5010 | 6.52 | 4.21 | 5.84 | 4.04 | -55.3 | 44.5 |
| 605 | April 29-May 23, 2006 | 7475 | 7.58 | 3.43 | 7.21 | 3.44 | -51.7 | 42.3 |
| 607 | June 23-18 July, 2006 | 5634 | 14.10 | 4.64 | 13.57 | 4.62 | -7.7 | 46.1 |
| 608 | July 23- 3 August, 2006 | 4967 | 16.60 | 5.54 | 16.23 | 5.53 | 9.7 | 55.6 |

Legend:

Count: 		number of fCO2w samples calculated

Avg Eq T:  	Average equilibrator temperature for the samples with calculated fCO2w

Std: 		Standard deviation of Equilibrator temperature

AvgSST: 	Average sea surface temperature for the samples with calculated fCO2w

Std: 		Standard deviation of sea surface temperature

Avg∆fCO2: 	Average  fCO2w

Std: 		Standard deviation for   fCO2w

Other notes:

For SKO 604 the thermistor A/D converter occasionally missed a digit in storing the Teq readings.  This leads to incorrect values that can be difficult to find particularly if in second or third decimal.  When discovered a default of -999 was used.

When air was measured as indicated by a value of other than -999 in column 10 (= J), the QC flag refers to the air value. Since no water is run during this time there is no ∆fCO2 value.

Many of the cruises were run under non-optimal operating conditions.  The summary below lists specific problems that occurred during the transects.  The common problem of low flows is not believed to affect the overall data quality but necessitates greater corrections for warming and will smear out the signals when crossing features such as fronts.

| Cruise | Date | Month | Year | Ports | Problems |
| --- | --- | --- | --- | --- | --- |
| SKO311 | 24-26/10/03 | 10 | 2003 | Nor-Rey | no good stds, low gas flow |
| SKO312 | 17-20/11/03 | 11 | 2003 | Bos-Nor | low water/gas flow |
| SKO312 | 21/11-05/12/03 | 11 | 2003 | Nor-Rey | low water/gas flow; no SSS; excess warming |
| SKO313 | 05-29/12/03 | 12 | 2003 | Rey-Rey | low gas flow |
| SKO402 | 17/02-05/03/04 | 2 | 2004 | New-Rey | low water/gas flow |
| SKO404 | 06-10/03/04 | 3 | 2004 | Arg-Rey | low water/gas flow |
| SKO406 | 12/14/04/04 | 4 | 2004 | Phil-Bos | low gas flow |
| SKO408 | 01-25/05/04 | 5 | 2004 | New-Rey | low water flow |
| SKO409 | 29/05-21/06/04 | 5 | 2004 | New-Rey | low water/gas flow |
| SKO410 | 25/06-20/07/04 | 6 | 2004 | New-Rey | low water/gas flow, bad licor temp |
| SKO411 | 17/08/04 | 7 | 2004 | New-Rey | low water/gas flow |
| SKO412 | 21/08-15/09/04 | 7 | 2004 | Bos-Bos | low gas flow |
| SKO413 | 15-23/09/04 | 8 | 2004 | Arg-Rey | low water/gas flow |
| SKO414 | 14/10-09/11/04 | 10 | 2004 | New-Rey | low water/gas flow |
| SKO415 | 12/11-09/12/04 | 11 | 2004 | New-Rey | low water/gas flow |
| SKO416 | 09/12/04-06/01/05 | 12 | 2005 | Phil-Rey | low water/gas flow |
| SKO501 | 07/01-02/02/05 | 1 | 2005 | New-Rey | low water/gas flow |
| SKO502 | 04/02-04/03/05 | 2 | 2005 | New-Rey | low water/gas flow |
| SKO503 | 04-29/03/05 | 3 | 2005 | New-Rey | low water flow |
| SKO506 | 06-21/06/05 | 6 | 2005 | Bos-Rey | date wrong (to be processed) |
| SKO507 | 24/06-04/07/05 | 6 | 2005 | Bos-Rey | low water/gas flow |
| SKO508 | 02/08-15/08/05 | 8 | 2005 | Bos-Rey | low water/gas flow, bad licor temp |
| SKO510 | 16/09-13/10/05 | 9 | 2005 | Rey-Rey | no TSG data |
| SKO511 | 13/10-07/11/05 | 10 | 2005 | Rey-Rey | low water/gas flow |
| SKO512 | 10/11/-06/12-05 | 11 | 2005 | Rey-Bos | low gas flow |
| SKO601 | 16/01-07/02/06 | 1 | 2006 | Bos-Rey | low gas flow, TSG data missing |
| SKO603 | 17/03-01/04/06 | 3 | 2006 | Bos-Rey | low gas flow |
| SKO604 | 02/04-28/04/06 | 4 | 2006 | Rey-Rey | low water/gas flow |