Flight ID: 070918I

Sensor or system						Number or Name

INE								ine2

Accelerometer							acci2X

Temperature Probe						tt1

Dew Point Probe						tdm2X (Edgetech)

Altitude (for vertical wind)					ra159 (GPS Aided Inertial Altitiude)

Static Pressure							psf (Rosemount Fuselage)

Dynamic Pressure						pqf1 (Rosemount Fuselage)

Time Source							Micro 99

Local Met Data:		Takeoff ( 1441Z)		Landing ( 2000Z)

Aircraft Static Pressure		1007.3	 mb			1013.2 mb

Tower Pressure			1008.0	 mb			1013.2 mb

Notes

Data gaps: Due to failure of both inertials flight data does not start until right after takeoff.

There was a spike in tdm2 at 153525Z-155131Z. tdm1 was substituted in at this time and saved into variable tdm2X.

There were plateaus in both inertial lat and lon variables (lati1/2 and loni1/2) at 154142Z-154205Z. These plateaus are a result of an interruption of data as the happy box was switched at this time. I substituted in the Ashtech GPS altitude at this time and saved them in the variables: lati1X, lati2X, loni1X, and loni2X.

There was a very small spike in the Ashtech Latitude and Longitude variables (latish and lonash) at: 150711Z-150714Z. These spikes were not removed.

There were 5 spikes in the acci2 data at: 154041Z-154044Z, 154055Z-154058Z, 154121Z-154123Z, 154140Z-154205Z, 154505Z-154508Z. These were taken out and saved in the variable acci2X.

Acci1 had spikes at: 154041Z-154044Z, 154055Z-154058Z, 154101Z-154105Z, 154121Z-154123Z, 154140Z-154205Z. These spikes were not removed in favor of using acci2X data for meteorological calculations.

There were periods where the dewpoint temperature exceeded the ambient temperature resulting in RH values > 100%. This was likely due to heavy rain, a wet-bulb effect on the total temperature sensor, and/or an artificial warming of the dewpoint sensor as it tried to burn off excess moisture. Corrections were not made to the data.

Aircraft INE positions were re-navigated with respect to GPS

Radar altitude from the HG9550 radar altimeter is in the RA-232 variable slot. GPS aided INE1 altitude is in the RA-159 variable slot. The RA-232 and RA-159 altimeters are no longer installed on the aircraft.

The HG9550 radar altimeter data has a consistent 1% positive bias above 1,500 feet that was discovered after flight. The correction formula is:

(((reported altitude -  1,500) * 0.988) +1,500) = corrected altitude

This formula should only be needed for this hurricane season’s flight data as the problem should be corrected automatically during next season’s flights.

There is no King Liquid Water Content (KLWC) sensor installed.

There is no Maycomm Water Vapor Sensing System (WVSSII) installed

There is no TT3 installed.

All other instruments appeared to work optimally.