1

N42RF ERROR SUMMARY

KU-SCAT CALIBRATION

Flight ID: 080731H

Sensor or system						Number or Name

Inertial  							INE1

Accelerometer						ACC1

Temperature Probe				                      TT1

Dew Point Probe						TDM2X (EdgeTech)

Static Pressure						PSF

Dynamic Pressure						PQF1

Vert. Wind						           RA159X

Constants File                                                                  n42_hur08v3.adc

Project Directory						/acdata/2008/hur08

Notes:

There were no data gaps.

There were no liquid water sensors available for the flight.

Measured dewpoint temperature #2 (EdgeTech)...TDM2...had erroneous data occur at 152600Z – 152700Z. The erroneous data was removed and patched using statistical techniques and data from TDM3...TDL/Maycomm.

All other instrumentation worked optimally.

Three (3) GPS dropsondes were deployed all being good. No messages were sent to NHC.

Takeoff		Landing

1251Z		1535Z

Aircraft Static Pressure                   1015.4mb	1015.4mb

Corrected Tower Pressure               1015.5mb	           1015.7mb

Flight Director:	A. Barry Damiano       (813) 828-3310 ext. 3073