N42RF ERROR SUMMARY

FERRY TO MACDILL FROM NEW ORLEANS

Flight ID: 080820H

Sensor or system						Number or Name

Inertial  							INE1

Accelerometer						ACC1

Temperature Probe				                      TT1

Dew Point Probe						TDM2X (EdgeTech)

Static Pressure						PSF

Dynamic Pressure						PQF1

Vert. Wind						           RA159X

Constants File                                                                  n42_hur08v3.adc

Project Directory						/acdata/2008/hur08

Notes:

There were no data gaps.  No lag was observed between the two inertial outputs.

There were no liquid water sensors available for the flight.

All other instruments worked optimally during the flight.

No GPS dropsondes were deployed.

Takeoff		Landing

1500Z		1652Z

Aircraft Static Pressure                   1014.0mb	           1008.8mb

Corrected Tower Pressure               1014.4mb	           1009.4mb

Flight Director:	A. Barry Damiano       (813) 828-3310 ext. 3073

# Text boxes

1