1

N43RF ERROR SUMMARY

H. PALOMA NEAR CUBA

Flight ID: 081108H

Sensor or system						Number or Name

Inertial  							INE1

Accelerometer						ACC1

Temperature Probe				                      TT1

Dew Point Probe						TDM2X (EdgeTech)

Static Pressure						PSF

Dynamic Pressure						PQF1

Vert. Wind						           GPS(MSL)

Constants File                                                                  n43_hur08.adc

Project Directory						/acdata/2008/hur08

Notes:

There was one (1) data gap: 180851Z.

No lag was observed between INE1 and INE2 outputs.

The MSL GPS altitude from INE1 (ALTI1) was used.

Measured dewpoint temperature #2 (EdgeTech)...TDM2...exhibited several  time periods of erroneous data during the flight. For 142500Z – 142700Z and 162900Z - 163100Z erroneous TDM2 data was removed using statistical techniques.

All other instruments worked optimally during the flight.

Twenty-eight (28) GPS dropsondes were deployed with 27 being good. Twenty-seven (27) tempdrop messages were sent to NHC. Eighteen (17) AXBTs were deployed.

Takeoff		Landing

1347Z		2121Z

Aircraft Static Pressure                   1014.3mb	1011.5mb

Corrected Tower Pressure               1014.5mb	           1011.8mb

Flight Director:	A. Barry Damiano       (813) 828-3310 ext. 3073