N43RF ERROR SUMMARY

HURRICANE 2009

HURRICANE BILL

Flight ID: 090818I

Sensor or system						Number or Name

INE	(for wind derivation)				INE1

Accelerometer						ACC1

Temperature Probe				                     TT1

Dew Point Probe						TDM2X (EDGETECH)

Static Pressure						PSF

Dynamic Pressure						PQF1

Vert. Wind						          ALTNVL

Constants File                                                           n43_hur09v2.adc

Project Directory						/acdata/2009/hur09/P3

Notes:

There were two instances after takeoff of bad or missing inertial data being skipped in the creation of the netCDF file. Neither caused any subsequent disruption to the data:

20:33:41Z – 20:33:42Z

03:28:41Z

Dew point sensor #2...TDM2 (EdgeTech) had several occurrences where its' value was greater than ambient temperature thus producing humidity values above 100%. For most of these occurrences TDM2 output was not modified. The highest value for RH left in the RXC file (not corrected) was 134.7% at 00:14:05Z. This occurred during penetration of the innermost edge of the eyewall in the northwest quadrant immediately following max FL winds of 120 knots and SFMR rain rates of up to 50 mm/hr. TDM2 values were modified to remove what would have been more extreme RH spikes. Patching was performed during the following intervals using substitution TDM2= TDM3:

21:26:35 – 21:26:55Z (during the first penetration of the storm (inbound through the south quadrant) but well prior to reaching the eyewall)

00:58:45 – 00:59:34Z (outbound through the SE quad after the second center fix, well beyond the eyewall)

All other flight level instruments worked optimally during the flight.

The Novatel GPS altitude output was used for extrapolating sea level pressure from flight altitude. Two eye center sondes were released during the three center fixes (1st and 3rd). The first center dropsonde was released at 21:53:25Z. The extrapolated surface pressure (SP) from flight altitude, 700 mb or 10,000 feet, at the time of this release was 958 mb with a sonde splash SP (with a layer mean wind of 10 knots in the lowest 150 meters sampled from 206 – 56 meters) of 961 mb as calculated using ASPEN 2.8.1 and 966 mb as calculated using Editsonde.  There is no obvious explanation for this 5 mb difference. The final raw sonde value for pressure before splashing was 960.0mb.

On the last fix, at 02:03:07Z, the extrapolated surface pressure (also from 700 mb) was 951 mb. There was more wind on this eye sonde (19 knots at the surface) suggesting it was slightly more offset from the surface center than on the first fix. This still does not explain the difference between ASPEN’s calculated SP value of 958 mb versus Editsonde’s 962 mb (with a raw SP value of 957.3 mb).

Twenty dropsondes (20) were deployed during the mission, all were good.  No AXBT were deployed.

SPECIAL NOTE!!!     The variable names dpj wgs, dpj_was and dpj_wz in the netCDF file represent vertical ground, vertical air and vertical wind speeds, respectively, computed using Dave Jorgensen’s vertical wind algorithm.  It is recommended that these values be used for vertical wind analysis.

Takeoff		Landing

1958Z                    0353Z

Aircraft Static Pressure                1002.9mb	  1004.2mb

Corrected Tower Pressure           1003.7mb	  1004.4mb

Flight Directors: Richard Henning and Jack Parrish (813) 828-3310 ext. 3086

# Text boxes

1