N43RF ERROR SUMMARY

HURRICANE 2009

HURRICANE BILL

Flight ID: 090820I1

Sensor or system						Number or Name

INE	(for wind derivation)				INE1

Accelerometer						ACC1

Temperature Probe				          TT1X

Dew Point Probe						TDM2X (EDGETECH)

Static Pressure						PSF

Dynamic Pressure						PQF1

Vert. Wind						          ALTI1X

Constants File                                                           n43_hur09v2.adc

Project Directory						/acdata/2009/hur09/P3

Notes:

The RINU1550 GPS altitude output was used for extrapolating sea level pressure from flight altitude. For the two center drops....093640Z and 121851Z....the extrapolated sea level pressure from flight altitude, approximately 12000 feet, was approximately 5-6 mbs lower than the two sonde splash pressures.

There was a fifteen-second  data gap at 084010Z-084025Z.  At the end of this gap, the following parameters were corrected for the time 084025Z; alti1, lati1, loni1, gsui1,gsvi1, psf, and tdm2.

There was a fifteen-second data gap at 115239Z-115254Z.  At the end of this gap, the following parameters were corrected for the time 115254Z; alti1, gsui1, gsvi1, hdgi1, lati1, loni1, pqf1, pqaf, pqsf, psf, psw, tdm2, and tt1.

Inertial #1 GPS Altitude  (ALTI1)

Inertial #1 East/West groundspeed (GSUI1)

Inertial #1 North/South groundspeed (GSVI1)

Inertial #1 heading (HDGI1)

Inertial #1 Latitude (LATI1)

Inertial #1 Longitude (LONI1)

Fuselage Dynamic Pressure (PQF1)

Fuselage Dynamic Attack Pressure (PQAF)

Fuselage Dynamic Slip Pressure (PQSF)

Fuselage Static Pressure (PSF)

Wingtip Static Pressure (PSW)

EdgeTech Dewpoint (TDM2)

Total Temperature #1 (TT1)

Dewpoint sensor #2...TDM2 (EdgeTech) had several occurrences where its' value  was greater than ambient temperature thus producing humidity values above 100%, especially from 0941Z-0959Z, 1006Z-1012Z, 1110Z-1119Z, 1138Z-1215Z, and 1228Z-1240Z. For most of these occurrences TDM2 output was not modified. However TDM2 values were modified for the following time periods: 075339Z – 075457Z, 083221Z – 083303Z,  and 133137Z – 133145Z.

The modification of the TDM2 values was done by directly substituting TDM3 (TDL) values using the following equation,

TDM2 = TDM3

There were 15 total dropsondes deployed, 13 were good, 2 failed.

All other instruments worked optimally during the flight.

SPECIAL NOTE!!! The variable names dpj_wgs, dpj_was, and dpj_wz in the netCDF file represent vertical ground, vertical air, and vertical wind speeds respectively, computed using Dave Jorgensen’s vertical wind algorithm.  It is recommended that these values be used for vertical wind analysis.

Takeoff		Landing

0741Z                   1446Z

Aircraft Static Pressure                1003.6mb	  1002.8mb

Corrected Tower Pressure           1006.4mb	            1006.8mb

Flight Director:	A. Barry Damiano/ Ian Sears     (813) 828-3310 ext. 3073/3039

# Text boxes

1