N43RF ERROR SUMMARY

1

HURRICANE 2009

TROPICAL STORM DANNY

Flight ID: 090827I2

Sensor or system						Number or Name

INE	(for wind derivation)				INE1

Accelerometer						ACC1

Temperature Probe				                     TT1

Dew Point Probe						TDM2X (EDGETECH)

Static Pressure						PSF

Dynamic Pressure						PQF1

Vert. Wind						          ALTI1

Constants File                                                           n43_hur09v2.adc

Project Directory						/acdata/2009/hur09/P3

Notes:

There were two instances after takeoff of bad or missing inertial data being skipped in the creation of the netCDF file resulting in data gaps:

22:08:30 - 22:08:45Z

01:13:51 - 01:13:59Z

The second gap did not result in any subsequent disruption to the data in the first second that followed. Following the first gap, calculation of final met parameters in the RXC file does result in erroneous values for vertical winds around 2208Z that should be ignored.

Dewpoint sensor #2...TDM2 (EdgeTech) had several occurrences where its' value was greater than ambient temperature thus producing humidity values above 100% (for example, at 22:23:01Z, 22:38:09Z, and 00:05:50Z). For most of these occurrences TDM2 output was not modified. However TDM2 data were modified to remove what would have been extreme RH spikes from 00:02:23 – 00:02:47Z, 00:05:23 – 00:05:44Z, and 01:06:58 – 01:08:12 Z (where there were three individual spikes during that final interval). Manual patching using statistical methods with a weighting factor of between 0.01 and 0.10 was employed.

All other flight level instruments worked optimally during the flight.

The RINU1550 GPS altitude output was used for extrapolating sea level pressure from flight altitude. For the second day in a row, Danny continued to be a very poorly organized system. Therefore, there were no attempts made at a low level center drop point, but rather at what was estimated to be near the center of the mid-level vortex at 22:23:07Z. The extrapolated sea level pressure from flight altitude, 700 mb or 10,000 feet, at the time of this release was 1010.5 mb with a splash sonde pressure of 1010 mb.

Fifteen dropsondes (15) were deployed during the mission, all but one were good (one failed below 3500 feet).  There were 19 AXBT releases, all of them good.

SPECIAL NOTE!!!     The variable names dpj_wgs, dpj_was and dpj_wz in the netCDF file represent vertical ground, vertical air and vertical wind speeds, respectively, computed using Dave Jorgensen’s vertical wind algorithm.  It is recommended that these values be used for vertical wind analysis.

Takeoff		Landing

2005Z                   0334Z

Aircraft Static Pressure                1012.6mb	  1014.0mb

Corrected Tower Pressure           1013.7mb	  1015.2mb

Flight Directors: Richard Henning and Jack Parrish      (813) 828-3310 ext. 3086