1

N43RF ERROR SUMMARY

HURRICANE 2009

SFMR WIND CAL FLIGHT

Flight ID: 090622I

Sensor or system						Number or Name

INE	(for wind derivation)				INE1

Accelerometer						ACC1

Temperature Probe				          TT1

Dew Point Probe						TDM2 (EDGETECH)

Static Pressure						PSF

Dynamic Pressure						PQF1

Vert. Wind						          ALTI1

Constants File                                                           n43_hur09v1.adc

Project Directory						/acdata/2009/hur09/P3

Notes:

There were two data gaps: 123621Z – 123628Z and 124001Z -124012Z .

Dewpoint sensor #1...TDM1 (Buck)...and TDM3 (TDL) behaved erratically throughout the flight so TDM2 (EDGETECH) was selected.

All other instruments worked optimally during the flight.

SPECIAL NOTE!!!	The variable names dpj_wgs, dpj_was and dpj_wz in the netCDF file represent vertical ground, vertical air and vertical wind speeds, respectively, computed using Dave Jorgensen’s vertical wind algorithm.  It is recommended that these values be used for vertical wind analysis.

Takeoff		Landing

1231Z                   1535Z

Aircraft Static Pressure                1009.5mb	  1009.1mb

Corrected Tower Pressure           1009.7mb	  1009.2mb

Flight Director:	A. Barry Damiano       (813) 828-3310 ext. 3073