1

N42RF ERROR SUMMARY

100909H

OHC

Flight ID: 100909H

Sensor or system						Number or Name

INE	(for wind derivation)				INE1

Accelerometer						ACC1

Temperature Probe				           TT1X

Dew Point Probe						TDM2X (EDGETECH)

Static Pressure						PSFX

Dynamic Pressure						PQF1X

Vert. Wind						          ALTI1

Constants File                                                           n42_hur10v2.adc

Project Directory						/acdata/2010/MET/100909H/

Notes:

There was a data gap from 194931Z – 195002Z

Some parameters at the point data resumed required modifying at 195003Z.  The parameters PQAF, PQF1, PQSF, PSF, TT1, and TDM2 were modified substituting values.  The substitution equations follow:

PQAFX=PQF2+2.5

PQF1X=PQF2+2.0

PQSFX=PQF2+8.0

PSFX=PSW+19.8

TT1X+TT2+0.8

TDM2X=TDM1+2.0

The fuselage static pressure had occurrences where the values were unstable in relation to other pressure sources.  They were modified substituting values from the wingtip static pressure from 145215Z – 145225Z using the equation PSFX=PSW+3.9,  from 181919Z – 181925Z using the equation PSFX=PSW+3.8, and from 181935Z – 182145Z using the equation PSFX=PSW+4.0.

There were 20 total dropsondes deployed, 20 were good and 0 failed..

There were 60 total AXBTs deployed, there were 2 known failures.

There were 20 total AXCTDs deployed, there were 0 known failures.

Takeoff/Landing data:  Data during landing and takeoff are potentially suspect.  It is recommended that ground data not be used for scientific analysis.

SPECIAL NOTE!!! The variable names dpj_wgs, dpj_was, and dpj_wz in the netCDF file represent vertical ground, vertical air, and vertical wind speeds respectively, computed using Dave Jorgensen’s vertical wind algorithm.  It is recommended that these values be used for vertical wind analysis.

Takeoff		Landing

1349Z                   2208Z

Aircraft Static Pressure                1015.9mb	            1012.5mb

Corrected Tower Pressure            1015.0mb	            1011.8mb

Flight Director:	Jack Parrish/ Ian Sears     (813) 828-3310 ext. 3077/3039