NOAA G-IV N49RF ERROR SUMMARY

1

HURRICANE 2011

22 Aug 2011 Irene (NOAA9 0609A IRENE)

NHC (PHS) KMCFKMCF

Flight ID: 20110822N1

Sensor or system						Number or Name

Accelerometer						AccZI.1

Altitude							AltGPS.3

Attack Angle						AA.2

Dew Point Probe						TD.1

Dynamic Pressure						PQF.2

Geopotential Altitude					AltGPS.3

Inertial Selected						INE1

Static Pressure						PS.2

Slip Angle							SA.2

Temperature Probe				                     TTM.1

True Airspeed						TASF.1

Constants File                                                           49cal111

Flight Directory						acdata/2011/MET/20110822N1

Local Met Data			Takeoff (1731z)		Landing (0120z)

Aircraft Static Pressure		  1014.5 mb			     1012.0 mb

Tower Pressure (corrected)	  1015.8 mb			     1013.1 mb

__________________________________________________________________

Notes:

There was an AAMPS data system crash at 22:29:48z that resulted in a nearly seven minute long total data gap of all parameters. The system was initially restored at 22:37:32z but all inertial data (and parameters depending upon it) continued to be missing through 22:47:36z. There continued to be some erroneous calculated parameters which depend upon good inertial data inputs until as late as 23:48z. All analog data inputs and derived parameters based on calculation of analog inputs were fully restored and accurate after 22:47:36z.

Other than the outage listed above: There were two instances of brief data gaps in AltRa.1, the APN-232 radar altimeter, at the following times:

17:49:37-17:50:36z (multiple gaps during this interval)

00:56:10z

TTM.3 displayed an oscillation of around 0.4C (with a period of just over 3 minutes) during cruise above 41K. TTM.1 is the default.

In creation of higher MET parameters, PDAlphaF.2 was selected (under Attack Pressure Probe Selection choices) to utilize AA.2.

GDIFF check: Mean of 1545 meters of drift for INE #1 (with respect to the Novatel) 1885 meters for INE#2. In creation of higher MET parameters, INE #1 selected.

Vertical Winds were very close to zero for most of the cruise portion of flight (with a mean UWZ.1 of +0.04 from 18:33z to 22:20z). However, associated with the AAMPS crash, there were two periods of extreme spiking where vertical wind vector data is unusable:

22:47-22:59z

23:32-23:48z

All other flight level instruments worked optimally during the flight.

- 31 drop points assigned by NHC for ingestion into 23/0000z models

- 32 AVAPS II dropsondes deployed

- Drop #9 at 2005z transmitted no data but backup was good. All other drops were good and transmitted. All 31 good sondes coded surface winds.

Flight Directors: Richard Henning (813) 828-3310 ext. 3086 and LTJG Nick Morgan.