Flight ID: 20120824H1

Sensor or system						Number or Name

Inertial Selected (for wind derivation)			INE 1

Accelerometer							AccZfilterI-GPS.1

Temperature Probe						TTM.1

Dew Point Probe						TDM.2X

Static Pressure							PSF.2

Dynamic Pressure						PQM.2

Altitude (for vertical wind)					AltI-GPS.1

Flight Directory		acdata/MET/2012/20120824H1

Constants File	              	AAMPSConfig/core/n43.xml

Local Met Data:			Takeoff (0744Z) TPBP	Landing (1512Z) KMCF

Aircraft Static Pressure		1005.8  mb			1016.9 mb

Tower Pressure (corrected)		1005.8 mb			1017.9 mb

Notes:

Takeoff/Landing data:  Data during landing and takeoff are suspect.  It is recommended that ground data not be used for scientific analysis.

SPECIAL NOTE:  The variable names GSZ_DPJ, ASZ_DPJ and WSZ_DPJ in the netCDF file represent vertical ground speeds vertical air speeds and vertical wind speeds, respectively, computed using Dave Jorgensen’s vertical wind algorithm.  It is recommended that these values be used for vertical wind analysis.

During approach into KMCF, TDM.2 recorded erroneous data.  They were directly substituted with values recorded by TDM.3 (Maycomm) using the equation TDM.2X = TDM.3 during the following times

15:01:32Z – 15:03:03Z

15:04:28Z  - 15:05:56Z

During heavy precipitation, TDM.2 (Buck) greatly exceeded ambient temperature values.  As a result, RH values significantly rose above 100%.  During these instances, TDM.2 was modified by direction substitution with values recorded by TDM.1 (Edgetech) using the equation TDM.2X = TDM.1 at the following time intervals.

09:39:24Z - 09:39:38Z

10:40:56Z - 10:41:09Z

All other AOC instruments utilized in deriving higher order parameters performed optimally.

There were 12 GPS dropsondes, deployed from the aircraft.

2 GPS dropsondes failed.

Beginning at time 15:02:35Z and continuing until time 15:05:39Z, 1-second data gaps were observed in several derived parameter values (those with the .d extension). These occurrences were very infrequent and greatly varied among the list of derived parameter values. In other words wind direction (WD.d) may show a 1-second gap once during the flight but no other derived parameter values would exhibit a data gap for that same time. Likewise after a period of time elapsed a different derived parameter's value, say true airspeed (TAS.d), would be missing but other derived parameter outputs would be present.
  
Since it would be tedious and time consuming to list all the individual derived parameters values missing for a specific time, it was decided to provide the
the customer the beginning and end times for the time period when these data gaps occurred.