Cloud Physics Scientist

The on-board cloud physics scientist (CPS) is responsible for cloud physics data collection on his/her assigned aircraft. Detailed operational procedures are contained in the cloud physics manual supplied for each aircraft. General procedures follow. (Check off and initial.)

- Preflight

_____	1.	Determine status of cloud physics instrumentation systems and report to the Lead Project Scientist (LPS).

_____	2.	Confirm mission and pattern selection from the LPS.

_____	3.	Select mode of instrument operation.

_____	4.	Complete appropriate instrumentation preflight check as supplied in the cloud physics operator's manual.

- In-Flight

_____	1.	Operate instruments as specified in the cloud physics operator's manual and as directed by the LPS.

- Post flight

_____	1.	Collect cloud physics data on thumb drive.

_____	1.	Complete summary checklist and all other appropriate forms.

_____	2.	Brief the LPS on equipment status and turn in completed checklist, cloud physics data, and other material to the LPS.

[Note: all data removed from the aircraft by HRD personnel should be cleared with the AOC flight director.]

_____	4.	Debrief as necessary at base of operations.

_____	5.	Determine the status of future missions and notify MGOC as to where you can be contacted.

- Cloud Physics Scientist Check List

- Storm or Project Name __________________________ Flight ID ________________

- Cloud Physics Scientist __________________ Data Technician___________________

- A. —Instrument Status and Performance:

Component Systems Status(Up , Down , Not Available N/A, Not Used O):

| System | Pre-Flight | In-Flight | Post-Flight | Downtime |
| --- | --- | --- | --- | --- |
| # Standard Instruments |  |  |  |  |
| NOAA PIP |  |  |  |  |
| NOAA CCP |  |  |  |  |
| NOAA CAS |  |  |  |  |
| HWLWC (SEA) |  |  |  |  |
| Data System (PADS) |  |  |  |  |
| # Optional Instruments |  |  |  |  |
| NOAA CCN Counter |  |  |  |  |
| NOAA PCAS |  |  |  |  |
| DRI Field Mills |  |  |  |  |

- B. —Problems: