Radar Scientist

Flight ID______________ Storm__________________ Radar Scientist____________

The on-board radar scientist is responsible for data collection from all radar systems on his/her assigned aircraft. Detailed operational procedures and checklists are contained in the operator's manual. General supplementary procedures follow. (Check off or initial.)

- Preflight

_____	1.	Determine status of equipment and report results to lead project scientist (LPS).

_____	2.	Confirm mission and pattern selection from the LPS.

_____	3.	Select the operational mode for radar system(s) after consultation with the LPS.

_____	4.	Complete the appropriate preflight check list.

- In-Flight

_____	1.	Monitor the Tail Doppler Radar function regularly, using the realtime TDR display, to make sure the Doppler radar is scanning and working normally.

_____	2.	Maintain the Doppler Wind Parameter form as well as a written commentary in the Radar Event Log of event times, such as ending and restarting of radar recording. Also document any equipment problems or changes in R/T, INE, or signal status.

- Post flight

_____	1.	Complete the summary checklist and all other appropriate forms.

_____	2.	Download all Tail (TA) radar data files to thumb drive.

_____	3.	Brief the LPS on equipment status and turn in completed forms and thumb drives to the LPS.

_____	4.          Debrief at the base of operations.

_____	5.	Determine the status of future missions and notify HFP Director as to where you can be contacted.

- HRD Radar Scientist Check List

Flight ID:

Aircraft Number:

Radar Scientist:

Radar Technician:

Component Systems Status (Up , Down , Not Available N/A, Not Used O):

Radar Computer ________________________________________

Lower Fuselage (LF) Antenna _____________________________

Tail (TA) Antenna ______________________________________

- Time correction between LF radar time and digital time:

TA Radar Parameters:

(Single/Dual) PRF ______     F/AST (Y/N)     Rotation Rate ____ RPM

Sweeps/File _____     Record 2nd Trip (Y/N)  (Circle appropriate status)

- Radar Post flight Summary

Significant down time:

Radar LF ____________________

Radar TA ____________________

- Other Problems:

# HRD Radar Event Log

- Flight ID______________ Aircraft _______________

Radar Scientist ___________________Radar Technician___________________

(Include down time and times of when recording ended and was restarted)

| Time (HHMMSS) | Event |  |  |  |  |
| --- | --- | --- | --- | --- | --- |