Florida Bay SEAKEYS/C-MAN Station Data Quality Report (JAN 2001-NOV 2002)

JAN 2001 - OK

FEB 2001 – DATA ONLY AVAILABLE DAYS 31-44

MAR 2001 – NO SST (63-86); NO SAL (60-86)

APR 2001 - OK

MAY 2001 - OK

JUN 2001 - OK

JUL 2001 - OK

AUG 2001 – OK

SEP 2001 - OK

OCT 2001 – NO REL HUM (294-300)

NOV 2001 – NO REL HUM (ALL)

DEC 2001 - MAR 2002 - NO DATA

APR 2002 – NO REL HUM (ALL); NO SAL (116 – end of month)

MAY 2002 – NO REL HUM (ALL); NO SST, SAL (143 – end of month)

JUN 2002 – NO SST, SAL, REL HUM, PRCP (ALL); NO SPD2, GST2 (154-180)

JUL 2002 – NO SST, SAL, REL HUM, PRCP, SPD2, GST2 (ALL)

AUG 2002 – NO SST, SAL, REL HUM, GST2 (ALL); NO PRCP (212-233)

SEP 2002– NO SST, SAL, REL HUM, SPD1, SPD2, GST2 (ALL); NO GST1 (253-254; 256-263; 272- end of month)

OCT 2002 - NO SST, SAL, REL HUM, SPD, GST (ALL)

NOV 2002 - NO SST, SAL, REL HUM, SPD, GST (304-316); NO WGST2 (319-334)

NOTE – Parentheses indicate julian days in which parameter noted is unavailable.

Variable       	 	Description          	Units

PWL              		Water Level        	m

Spd1             		Wind Speed 1       	m/s

Spd2             		Wind Speed 2       	m/s

Dr1              		Wind Direction 1   	deg. True

Dr2              		Wind Direction 2   	deg. True

Gst1             		Wind Gusts 1       	m/s

Gst2             		Wind Gusts 2       	m/s

Sal              		Salinity           		psu

Temp             		Temperature        	deg. C

Air Temp      		Air Temperature    	deg. C

Press            		Barometric Pres    	mbar

Rel Hum  		Relative Humidity  	%

Prcp             		Precipitation      	mm

Fluor-omet      		Fluorometer        	mV

Trans-miss       	Transmissometer    	mV

Compiled by Derek Manzello (NOAA/AOML/OCD) 2/18/03.