## AB0409 ADCP
NOAA/AOML/PhOD
Post-Processing ADCP Evaluation Sheet
prepared by R. Smith 02JUL2012
While the data described herein have been processed to a final state, investigators should refer
to the specific comments outlined below prior to incorporating the data into any scientific analysis.
DATES: |  | SEPTEMBER 22 - OCTOBER 03, 2004
PROJECT: |  | WBTS/MOCHA/RAPID (Abaco and Florida Straits Sections)
PROJECT / CRUISE ID: |  | AB0409 (RB0408)
SHIP: |  | NOAA Ship Ronald H. Brown
SADCP DATA PROCESSED WITH UNIVERSITY OF HAWAII CODAS3 SOFTWARE
SADCP #1: |  | RD Instruments Narrowband 150 kHz (NB150)
ACQ. SOFTWARE: |  | DAS2.48
ORIGINAL BIN SIZE: |  | 8 meters
RAW FILE TYPE: |  | pingdata
FINAL GRID TIME INT: |  | 5 minutes
FINAL GRID DEPTH INT: |  | 8 meters
NOTES: |  | Instrument heading (gyro, corrected with Seapath) seemed to swing while on station along the Abaco section.
Data were calibrated to the best of our ability and suitable for use with LADCP processing.
Data collected along the Abaco section, contained in AB0409_codas3_sadcp.mat should be used with caution!
SADCP #2: |  | N/A
ACQ. SOFTWARE: |  | N/A
ORIGINAL BIN SIZE: |  | N/A
RAW FILE TYPE: |  | N/A
FINAL GRID TIME INT: |  | N/A
FINAL GRID DEPTH INT: |  | N/A
NOTES: |  | N/A
LADCP DATA PROCESSED WITH IMF-GEOMAR LADCP SOFTWARE v10.8
LADCP #1 (DN-LOOKER): |  | multiple configs, Teledyne RD Instruments Broadband 150 kHz (BB150), Teledyne RD Instruments Workhorse 300 kHz (WH300)
LADCP #2 (UP-LOOKER): |  | multiple configs, Teledyne RD Instruments Workhorse 300 kHz (WH300), none
NOTES: |  | Processed LADCP profiles look good and are suitable for scientific use.
INDIVIDUAL LADCP CAST ASSESSMENT:
CAST # | LADCP config. | LADCP #1 | LADCP #2 | SADCP coverage | NAV coverage | BTM TRK coverage | CTD 1 db | CTD 1 Hz | LADCP tails cut | velfile name | comments (are data usable?)
1 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | AB0409_001d.vel | Profile looks good; use these data.
2 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | AB0409_002d.vel | Profile looks good; use these data.
3 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | AB0409_003d.vel | Profile looks good; use these data.
4 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | AB0409_004d.vel | Profile looks good; use these data.
5 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | AB0409_005d.vel | Profile looks good; use these data.
6 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | AB0409_006d.vel | Profile looks good; use these data.
7 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | AB0409_007d.vel | Profile looks good; use these data.
8 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | AB0409_008d.vel | Profile looks good; use these data.
9 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | AB0409_009d.vel | Profile looks good; use these data.
10 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | AB0409_010d.vel | Profile looks good; use these data.
11 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | AB0409_011d.vel | Profile looks good; use these data.
12 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | AB0409_012d.vel | Profile looks good; use these data.
13 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | AB0409_013d.vel | Profile looks good; use these data.
14 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | AB0409_014d.vel | Profile looks good; use these data.
15 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | AB0409_015d.vel | Profile looks good; use these data.
16 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | AB0409_016d.vel | Profile looks good; use these data.
17 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | AB0409_017d.vel | Profile looks good; use these data.
18 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | AB0409_018d.vel | Profile looks good; use these data.
19 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | AB0409_019d.vel | Profile looks good; use these data.
20 | single BB (b) | BB150 | none | YES | YES | YES | YES | YES | YES | AB0409_020b.vel | Profile looks good; use these data.
21 | single BB (b) | BB150 | none | YES | YES | YES | YES | YES | YES | AB0409_021b.vel | Profile looks good; use these data.
22 | single BB (b) | BB150 | none | YES | YES | YES | YES | YES | YES | AB0409_022b.vel | Profile looks good; use these data.
23 | single BB (b) | BB150 | none | YES | YES | YES | YES | YES | YES | AB0409_023b.vel | Profile looks good; use these data.
24 | single BB (b) | BB150 | none | YES | YES | YES | YES | YES | YES | AB0409_024b.vel | Profile looks good; use these data.
25 | single BB (b) | BB150 | none | YES | YES | YES | YES | YES | YES | AB0409_025b.vel | Profile looks good; use these data.
26 | single BB (b) | BB150 | none | YES | YES | YES | YES | YES | YES | AB0409_026b.vel | Profile looks good; use these data.
27 | single BB (b) | BB150 | none | YES | YES | YES | YES | YES | YES | AB0409_027b.vel | Profile looks good; use these data.
28 | single BB (b) | BB150 | none | YES | YES | YES | YES | YES | YES | AB0409_028b.vel | Profile looks good; use these data.
29 | single BB (b) | BB150 | none | YES | YES | YES | YES | YES | YES | AB0409_029b.vel | Profile looks good; use these data.
30 | single BB (b) | BB150 | none | YES | YES | YES | YES | YES | YES | AB0409_030b.vel | Profile looks good; use these data.
31 | single BB (b) | BB150 | none | YES | YES | YES | YES | YES | YES | AB0409_031b.vel | Profile looks good; use these data.
32 | single BB (b) | BB150 | none | YES | YES | YES | YES | YES | YES | AB0409_032b.vel | Profile looks good; use these data.
33 | single BB (b) | BB150 | none | YES | YES | YES | YES | YES | YES | AB0409_033b.vel | Profile looks good; use these data.
34 | single BB (b) | BB150 | none | YES | YES | YES | YES | YES | YES | AB0409_034b.vel | Profile looks good; use these data.
35 | single BB (b) | BB150 | none | YES | YES | YES | YES | YES | YES | AB0409_035b.vel | Profile looks good; use these data.
36 | single BB (b) | BB150 | none | YES | YES | YES | YES | YES | YES | AB0409_036b.vel | Profile looks good; use these data.
37 | single BB (b) | BB150 | none | YES | YES | YES | YES | YES | YES | AB0409_037b.vel | Profile looks good; use these data.
38 | single BB (b) | BB150 | none | YES | YES | YES | YES | YES | YES | AB0409_038b.vel | Profile looks good; use these data.
39 | single BB (b) | BB150 | none | YES | YES | YES | YES | YES | YES | AB0409_039b.vel | Profile looks good; use these data.
40 | single BB (b) | BB150 | none | YES | YES | YES | YES | YES | YES | AB0409_040b.vel | Profile looks good; use these data.
41 | single BB (b) | BB150 | none | YES | YES | YES | YES | YES | YES | AB0409_041b.vel | Profile looks good; use these data.
42 | single BB (b) | BB150 | none | YES | YES | YES | YES | YES | YES | AB0409_042b.vel | Profile looks good; use these data.