The WHP CTD data quality codes are:
1          		Not calibrated.	
2		Acceptable measurement.	
3		Questionable measurement.	
4		Bad measurement.	
5		Not reported.	
6		Interpolated over >2 dbar interval.	
7		Despiked.	
8		Not assigned for CTD data.	
9		Not sampled.