Table of NCORE moorings in deployment #3 from June 2001 - October 2001
	Mooring
	Latitude

N
	Longitude

W
	Water

Depth
	Instr

Type
	Instr

Depth
	Serial #
	Sample

Interval (min)
	Deploy

length

(days)
	Deploy

Date - Time (z)
	Recovery

Date-Time (z)
	Comments

	A
	25 06.54
	80 22.82
	4.1
	AACM
	2.8
	3620
	10
	
	Jun 19, 2001 1650
	Oct 23, 2001 1914
	not processed yet

	“
	"
	"
	"
	TKSA
	4.1
	TL83
	5
	
	Jun 19, 2001 1646
	Oct 23, 2001 1923
	good

	B
	25 05.59
	80 21.30
	7.0
	AACM
	5.0
	10652
	10
	
	Jun 19, 2001 1605
	Oct 23, 2001 1951
	Mooring damaged – did not redeploy AACM – 10652 had no rotor and van broken – damage occurred halfway through record

	"
	"
	"
	"
	TKSA
	7.0
	TL82
	5
	
	Jun 19, 2001 1604
	Oct 23, 2001 1955
	No data

	TL4
	25 05.27
	80 20.83
	5.6
	TKSA
	5.6
	TL56
	5
	
	Jun 19, 2001 1551
	Oct 23, 2001 1829
	good

	TL3
	25 04.77
	80 20.06
	4.0
	TKSA
	4.0
	TL49
	5
	
	Jun 19, 2001 1539
	Oct 23, 2001 1821
	good

	TL2
	25 04.43
	80 19.47
	7.0
	TKSA
	7.0
	Tl46
	5
	
	Jun 19, 2001 1527
	Oct 23, 2001 1813
	good

	TL1
	25 04.14
	80 19.17
	9.75
	TKSA
	9.75
	TL20
	5
	
	Jun 19, 2001 1514
	Oct 23, 2001 1801
	good

	C
	25 04.04
	80 19.10
	21.8
	Sontek
	4.0
	D157
	10
	
	Jun 19, 2001 2305
	Oct 23, 2001 1444
	good

	"
	"
	"
	"
	TKSA
	12.2
	TL18
	10
	
	Jun 19, 2001 1347
	Oct 23, 2001 1402
	No data

	"
	"
	"
	"
	Sontek
	21.0
	D164
	10
	
	Jun 19, 2001 2305
	Oct 23, 2001 1455
	good

	"
	"
	"
	"
	NAS-2E
	21.8
	
	?
	
	Jun 19, 2001 2256
	~ Jul 19, 2001
	nitrate monitor


Instrument Type Key

	Type
	Name
	Parameters Recorded

	AACM
	Aanderaa current meters
	speed, direction, water temperature at a single depth

	TKSA
	Water temperature loggers
	water temperature at a single depth

	Sontek
	acoustic current meter
	3-D components of current in the selected water column and water temperature at instrument depth


