SEFCAR

Mooring Performance for Deployment # 15

June 1995 - Dec 1995

Note:	 only Looe Key mooring continued

| Mooring Meter | Instr. S/N | Instr. Type | Water Depth (m) | Instr Depth (m) | Deployment Dates | Data Quality |
| --- | --- | --- | --- | --- | --- | --- |
| Looe Key Reef Mooring - 24 32.53N 81 24.13W |  |  |  |  |  |  |
| L1501 | 358 | NWCM 3 | 30. | 7. | 6/10 -12/95 | clock battery died - NO DATA |
| L1502 | 111 | NWCM 1 |  | 17. | " |  |

Instrument Types

NWCM - Niskin Wing Current Meters

1 - MKI  -  speed, direction, temperature

2 - MKII - [in non-averaging mode] - speed, direction, temperature

3-  MKII - [in vector averaging mode] - speed, direction, temperature, conductivity