## Slide 1
KITsonde
Modular Multi Sensor Dropsonde for High Resolution Measurements
Andreas Wieser

## Slide 2: KITsonde Concept
High Resolution
  30 Sondes
  Low fall speed
Modular
  Multi sonde release
  Easy sensor integration
Data Telemetry
  Aircraft (400 MHz)
  Internet (Iridium option)
Compatible
  RD-94 size

## Slide 3: Release Container
Protective sonde casing during release from aircraft
  Operation phases:
  Spin and aerodynamic deceleration
  Stabilization
  Parachute opening
  Sonde release
Multi sonde release
Multi aircraft

## Slide 4: Meteorological Sensor Package EL-08
EL-08 uses sensors of DFM-09 Radiosonde
Very good results at WMO intercomparison 2010
Average score of 4.66 on a range from 1 to 5, minimum score 4.25
1: Minimum acceptable performance, 3 Meets operational requirements, 5 as good as can be expected
including housing and parachute

## Slide 5: Cabin Installations
KVM
Sonde configuration
(8 Release Container)
System control, decoding
Data acquisition
Receiver (32)
Rack space: 26 HU
Weight: 74.7 kg
Power: 28 VDC, 11 A

## Slide 6: Release Container (v1.0)

## Slide 7: Release .

## Slide 8: Release ..

## Slide 9: Release ..

## Slide 10: Release ....

## Slide 11: Release ....

## Slide 12: Release Test

## Slide 13: KITsonde operated on Dornier 128

## Slide 14: Humidity and Temperature Profile Intercomparison

## Slide 15: Fall speed

## Slide 16: High Speed Release with Chase Aircraft

## Slide 17: Aerodynamical Problem
Wake area behind release tube can lead to open flaps for some milliseconds ....

## Slide 18: Structural collapse at FL 400, M0.86
... also observed with AVAPS RD-94 at FL400,M0.75 >

## Slide 19: Release Container Redesign (v3.0)
(1) Sonde Support Insert, (3) Release Container
(5) Electronics (3-axis motion sensor, micro controller *)
(6) Parachute Container (14) Spring Release
(12) Motor Drive
*release detection by combination of acceleration and rotation rate thresholds, programmable delay times

## Slide 20: Test Release Dornier 128-6 D-IBUF

## Slide 21: High Speed Low Budget Flight Test
No cabin installations!
Polystyrene insert fit into underwing pod

## Slide 22: High Speed Flight Test - Learjet
13 April 2017 1 Flight - 4 container released
2 Release containers recovered OK
1 unrecoverable – functional according data
1 not found near village – functional according data
26 July 2017 2 Flights - 8 container released
8 Release containers recovered
6 recovered OK
2 recovered, but parachute cords coiled – faster fall

## Slide 23: Easy Integration of new Sensors
Easy Integration of new Sensors
UCASS
Universal Cloud and Aerosol Sounding System
Joseph Ulanowski
Open path miniature particle counter
Mineral Dust
Volcanic Ash
Cloud Droplets

## Slide 24
EGU, 2015

## Slide 25
EGU, 2015

## Slide 26: Outlook 2018 … 2019
New meteorological sonde EL-18 development and testing
Adaption of KITsonde HW and SW to new met. sonde
Production of 20 rel. containers and 80 met. sondes for HALO
HALO certification flight (slot early 2019 requested)
HALO campaign SOUTHTRAC (autumn 2019)