Flight ID: 070831H

Sensor or system						Number or Name

INE								1

Accelerometer							1

Temperature Probe						1

Dew Point Probe						2 (Edgetech)

Altitude (for vertical wind)					RA159

Static Pressure							Rosemount Fuselage psf

Dynamic Pressure						Rosemount Fuselage pqf1

Time Source							Micro 99

Local Met Data:		Takeoff (1742Z)		Landing (2147Z)

Aircraft Static Pressure		 1012.6 mb		NA mb

Tower Pressure			1013.9 mb		NA mb

Top of Form 1

Notes:

There were no errors noted in the selected sensors.  Total temperature probe #2 had many errors during the flight.

The aircraft and tower pressures were not recorded by the Flight Director on landing.

There were no data gaps noted.

SPECIAL NOTE:  In the netCDF file, 070831H_RC.nc, vertical ground speed (dpj_wgs), vertical air speed (dpj_was), and vertical wind speed (dpj_wz) were computed using Dr. Dave Jorgensen’s vertical wind algorithm.  It is recommended that these values be used for vertical wind analysis.

Flight Director:			Tom Shepherd

Phone #:			(813) 828-3310 ext. 3053