1

N43RF ERROR SUMMARY

HURRICANE 2009

AL92 North of Puerto Rico/TS Danny

Flight ID: 090826I1

Sensor or system						Number or Name

INE	(for wind derivation)				INE1

Accelerometer						ACC1

Temperature Probe				          TT1

Dew Point Probe						TDM2 X(EDGETECH)

Static Pressure						PSF

Dynamic Pressure						PQF1

Vert. Wind						          ALTI1

Constants File                                                           n43_hur09v2.adc

Project Directory						/acdata/2009/hur09/P3

Notes:

Dewpoint sensor #2...TDM2 (EdgeTech) had several occurrences where its' value  was greater than ambient temperature thus producing humidity values above 100%, especially from 1239Z-1303Z.  TDM2 output was not modified. However TDM2 values were modified for the following time periods: 130704Z – 130817Z, and 131207Z – 131421Z.

The modification of the TDM2 values was done by directly substituting TDM3 (TDL) values using the following equation,

TDM2 = TDM3

There were 12 total dropsondes deployed, 11 were good, 1 failed.

There were 10 total AXBTs deployed, 8 were good, 2 failed.

All other instruments worked optimally during the flight.

Takeoff		Landing

0807Z                   1603Z

Aircraft Static Pressure                1015.3mb	  1016.7mb

Corrected Tower Pressure           1015.1mb	            1016.5mb

Flight Director:	A. Barry Damiano/ Ian Sears     (813) 828-3310 ext. 3073/3039