1

N43RF ERROR SUMMARY

HURRICANE 2009

TS Danny

Flight ID: 090827I1

Sensor or system						Number or Name

INE	(for wind derivation)				INE1

Accelerometer						ACC1

Temperature Probe				          TT1

Dew Point Probe						TDM2X (EDGETECH)

Static Pressure						PSF

Dynamic Pressure						PQF1

Vert. Wind						          ALTI1

Constants File                                                           n43_hur09v2.adc

Project Directory						/acdata/2009/hur09/P3

Notes:

Dewpoint sensor #2...TDM2 (EdgeTech) had several occurrences where its' value  was greater than ambient temperature thus producing humidity values above 100%, especially from 1041Z-1140Z.  TDM2 output was not modified. However TDM2 values were modified for the following time periods: 105032Z – 105059Z, 105226Z – 105234Z, 105356Z – 105427Z, 105505Z – 105546Z, 110218Z – 110223Z, 110609Z – 110618Z,  and 110623Z – 110637Z.

The modification of the TDM2 values was done by directly substituting TDM3 (TDL) values using the following equation,

TDM2 = TDM3

There were 14 total dropsondes deployed, 12 were good,  2 lost gps connection.

There were 20 total AXBTs deployed, 17 were good, 3 failed.

All other instruments worked optimally during the flight.

SPECIAL NOTE!!! The variable names dpj_wgs, dpj_was, and dpj_wz in the netCDF file represent vertical ground, vertical air, and vertical wind speeds respectively, computed using Dave Jorgensen’s vertical wind algorithm.  It is recommended that these values be used for vertical wind analysis.

Takeoff		Landing

0755Z                   1510Z

Aircraft Static Pressure                1016.1mb	  1017.3mb

Corrected Tower Pressure           1013.4mb	            1014.8mb

Flight Director:	A. Barry Damiano/ Ian Sears     (813) 828-3310 ext. 3073/3039