[image: image1][image: image2]NOAA WP-3D N42RF ERROR SUMMARY
HURRICANE LESLIE 2012
7 Sept 2012 0212A LESLIE
HRD (PHX) KFLL (KFLL
Flight ID: 20120907H1
Sensor or system





Number or Name
Altitude






AltGPS.1 (RINU)
Accelerometer





AccZfilterI-GPS.1

Dew Point Probe





TDM.2X
Dynamic Pressure





PQM.2
Inertial Selected





INE1
Static Pressure





PSM.2
Temperature Probe



                     TTM.2
Constants File                                                           AAMPSConfig/core/n43.xml
Flight Directory





acdata/2012/MET/20120907H1
Local Met Data


Takeoff (0812z)

Landing (1714z)

Aircraft Static Pressure

  1014.6 mb


     1014.6 mb
Tower Pressure (corrected)
  1013.2 mb


     1015.2 mb
__________________________________________________________________

Notes:
The mission into the storm followed a brief ferry flight from KMCF to KFLL. The HRD web site lists that ferry flight as 20120907H1 and this mission as 20120907H2. 

The storm was flown initially at 10,000 feet absolute altitude then 8,000 feet (IWRAP).
Both the Buck dew pointer (TDM.1) and the Edgetech (TDM.2) spiked during the enroute portion of the flight descending back into Florida. From 16:38:55 to 16:41:55 the values for the Maycomm (TDM.3) were substituted for the reference TDM.2. 
Vertical Winds during the storm portion of the flight from 11:22z to 13:40z showed a mean UWZ of -0.04 m/s. SPECIAL NOTE: The variable names GSZ_DPJ, ASZ_DPJ and WSZ_DPJ in the netCDF file represent vertical ground speeds vertical air speeds and vertical wind speeds, respectively, computed using Dave Jorgensen’s vertical wind algorithm. It is recommended that these values be used for vertical wind analysis.
Beginning at 15:52:41z and continuing until 16:59:51z, 1-second data gaps were observed in several derived parameter values (those with the .d extension). These occurrences were very infrequent and greatly varied among the list of derived parameter values. In other words, wind direction (WD.d) may show a 1-second gap once during the flight but no other derived parameter values would exhibit a data gap for that same time. Likewise after a period of time elapsed a different derived parameter's value, say true airspeed (TAS.d), would be missing but other derived parameter outputs would be present.
  
Since it would be tedious and time consuming to list all the individual derived parameters values missing for a specific time, it was decided to provide the customer the beginning and end times for the time period when these data gaps occurred.
 All other flight level instruments worked optimally during the flight.
· 12 dropsondes were deployed, all good and transmitted 
· 12 externally loaded AXBTs were deployed (2 were bad) 
Flight Directors: Richard Henning (813) 828-3310 ext. 3086 and Ian Sears
�� SEQ "CHAPTER" \*Arabic �1�





�









