[CLAYTON.ARCHIVE_MB9202]MB9202L3.doc

The data file '[CLAYTON.ARCHIVE_MB9202]MB9202L3.dat' contains

spectrophometric pH data collected by Robert Byrne and Tonya Clayton

and hydrographic data from

CRUISE MB-92-02, Leg 3

Papeete, Tahiti --> Balboa, Panama

22 April - 19 May, 1992.

(Chief Scientist:  Richard Feely, NOAA PMEL)

This data set contains only a single pH value per sample collected (i.e.,

no bottle rep data appears here--the full pH data set is stored in

'MB9202L3pH.dat').

Spectrophometric pH measurements were made on all bottles from every

CTD on Leg 3 (10N to 10S, along 140W).  Data from the subsequent

underway sampling program are stored separately in this same directory.

The fields of data in '[CLAYTON.ARCHIVE_MB9202]MB9202L3.dat' are as

follows:

Sample Number 	(from epac.dat master file)

Pressure	(from epac.dat master file)

Bottle Sal	(from epac.dat master file)

Station Number

Sample Number 	(from pH data files)

Cast Number

CTD Number

Latitude

Longitude

Position #

Nominal depth (m)

Cell #

mL of mCP added

Last R

Instrument used (Cary1 or Cary3)

Temperature

Temperature directly measured?  (0 for NO, 1 for YES)

---------------------------------------------------------------------------

A single indicator batch (prepared by Becky Li) was used for all Leg3

PROFILE (140W line, 110 station) station casts:  R(I) = 0.486.  (This dye is

also sometimes identified as "mCP8.2.")  The correction algorithm is as follows:

DeltaR per mL mCP added = 0.101100 - 0.14688*LastR.

For Stations 90 through 93 (inclusive) a different (modified, surface mCP)

indicator was used.  To the "mCP8.2" dye, base was added, in order to raise

R(I).  The results R(I) of the MODIFIED (for surface use) mCP was:

R(I) = 1.56530.  The DeltaR experiments were INCREDIBLY noisy, but as the

correction is so small, we'll use the linear fit anyway (fit of Jan. 28,

1993).  The correction algorithm is as follows:

DeltaR per mL mCP added = 0.47953 - 0.30221*LastR

---------------------------------------------------------------------------

The pH data (specifically, mL_mCP and LastR) were proofed by Jabe Brelend

and Tonya Clayton (4/16/93).  Corrections were made to the archive data

set by Tonya Clayton (4/18/93).

June 3, 1994 the data from mb9202l3.dat were reprocessed by R. Bernstein using a modified program mb9202l3_in.pro.  The r value in mb9202l3_in.pro was

changed from r=lastr+delta_r*mlmcp to r=lastr-delta_r*mlmcp.  Both

correction algorithms for addition of the indicator dye for appropriate

stations were included in mb9202l3_in.pro.  The algorithms are as

indicated above.  Final data set to be sent to NOAA is stored in

mb9202l3.fornoaa.