Hi All, 
    Please find attached an Underway Data Reduction Excel Macro that I wrote after our last data workshop.  I think this macro is a useful tool.  The biggest problem with the macro is that it's not generic, and needs to be slightly modified depending on the configuration of pCO2 system and file format that you're using.   I have 4 different versions of this macro for each of the 4 underway pCO2 systems that we have at PMEL.  Each system differs in file format - we have one G1 system, 1 G1 system updated to G2, one G2 system that has integrated TSG data, and one G2 system that needs to have TSG data merged.  Thus, each macro is slightly different based on the file format being processed.  The core of the macro is the same, though, and I'll be modifying the macro once more to be consistent with the newest version of the software that Craig has recently supplied. 
    The version of the macro attached to this message is used to process the data from the Columbus Waikato/Cap Victor which is our non-modified G1 system.  I'm also attaching the unprocessed data from our last cruise on the Cap Victor - this is all of the data we collected last August, as it came off the ship.  The only thing I've done to the data is merged each of the daily files into one file called CV2006_08.txt. 
    To try out the macro,


 open up the CV2006_08.txt data file, 


open up FormatWaikatoHeader macro, and 


open up pCO2DataReduction_2007 macro. 


 Run FormatWaikatoHeader on the data file to get the column headings consistent with what the macro expects. 
    The pCO2DataReduction_2007 macro is a 9-step macro.  Each of the steps are described in the attached document MacroDescription.doc. 

Please let me know your comments/suggestions, etc. 

Thanks, 

Cathy

