## WS1117 ADCP
NOAA/AOML/PhOD
Post-Processing ADCP Evaluation Sheet
prepared by R. Smith 28JUN2012
While the data described herein have been processed to a final state, investigators should refer
to the specific comments outlined below prior to incorporating the data into any scientific analysis.
DATES: |  | December 6-7, 2011
PROJECT: |  | WBTS Cable Calibration at 27N in the Florida Straits
PROJECT / CRUISE ID: |  | WS01117
SHIP: |  | R/V F.G. Walton Smith
SADCP DATA PROCESSED WITH UNIVERISTY OF HAWAII CODAS3 SOFTWARE
SADCP #1: |  | Teledyne RD Instruments Ocean Surveyor 75 kHz (OS75)
ACQ. SOFTWARE: |  | VMDas
ORIGINAL BIN SIZE: |  | 16 meters
RAW FILE TYPE: |  | ENX
FINAL GRID TIME INT: |  | 5 minutes
FINAL GRID DEPTH INT: |  | 2 meters
NOTES: |  | POSMV heading device was not working properly during WS1117. ADCP data were processed with GYRO for heading.
Data contained in WS1117_codas3_sadcp.mat are suitable for scientific analysis.
SADCP #2: |  | Teledyne RD Instruments Broadband 600 kHz (BB600)
ACQ. SOFTWARE: |  | VMDas
ORIGINAL BIN SIZE: |  | 1 meter
RAW FILE TYPE: |  | N/A
FINAL GRID TIME INT: |  | N/A
FINAL GRID DEPTH INT: |  | N/A
NOTES: |  | BB600 data not processed for use in final data products.
LADCP DATA PROCESSED WITH IMF-GEOMAR LADCP SOFTWARE v10.8
LADCP #1 (DN-LOOKER): |  | Teledyne RD Instruments Workhorse 300 kHz (WH300)
LADCP #2 (UP-LOOKER): |  | Teledyne RD Instruments Workhorse 300 kHz (WH300)
NOTES: |  | Both lowered instruments worked properly.
INDIVIDUAL LADCP CAST ASSESSMENT:
CAST # | LADCP config. | LADCP #1 | LADCP #2 | SADCP coverage | NAV coverage | BTM TRK coverage | CTD 1 db | CTD 1 Hz | LADCP tails cut | velfile name | comments (are data usable?)
8 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | WS1117_008d.vel | Profle looks good; use these data.
7 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | WS1117_007d.vel | Profle looks good; use these data.
6 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | WS1117_006d.vel | Profle looks good; use these data.
5 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | WS1117_005d.vel | Profle looks good; use these data.
4 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | WS1117_004d.vel | Profle looks good; use these data.
3 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | WS1117_003d.vel | Profle looks good; use these data.
2 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | WS1117_002d.vel | Profle looks good; use these data.
1 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | WS1117_001d.vel | Profle looks good; use these data.
0 | dual (d) | WH300 | WH300 | YES | YES | YES | YES | YES | YES | WS1117_000d.vel | Profle looks good; use these data.