DATA  from SEFCAR   ADCP MOORINGS

ADCP MOOR 216 	Looe Key

Start time (YYMMDD HHMMSS): 890813 000000

Stop time (YYMMDD HHMMSS): 891110 060000

Latitude:  24.34

Longitude: -81.25

Water Depth (meters) :  215.000

Transducer: 150kz

Instrument Number:      230

ADCP MOOR 273  Looe Key

Start time (YYMMDD HHMMSS): 900520 000000

Stop time (YYMMDD HHMMSS): 910417 120000

Latitude:  24.47

Longitude: -81.36

Water Depth (meters) :  154.000

Transducer: 300kz

Instrument Number:      382

ADCP MOOR 287  Dry Tortugas

Start time (YYMMDD HHMMSS): 910419 180000

Stop time (YYMMDD HHMMSS): 920426 180000

Latitude:  24.33

Longitude: -82.90

Water Depth (meters) :  199.000

Transducer: 150kz

Instrument Number:      324

Note: ADCP Moor 291 at Looe Key (Aug 91 - Apr 92) - No data

instrument flooded

ADCP MOOR 315  Looe Key

Start time (YYMMDD HHMMSS): 930716 060000

Stop time (YYMMDD HHMMSS): 931028 120000

Latitude:  24.48

Longitude: -81.37

Water Depth (meters) :  146.000

Transducer: 300khz

Instrument Number:      382

ADCP MOOR 319  Looe Key

Start time (YYMMDD HHMMSS): 931028 200000

Stop time (YYMMDD HHMMSS): 941215 000000

Latitude:  24.48

Longitude: -81.37

Water Depth (meters) :  146.000

Transducer:  150 khz

Instrument Number:  245