Cruise Report: WHP Line P13

1a.) WOCE Designation: P13 (partial)

1b.) EXPOCODE:         3220CGC92/0, 3220CGC92/1, 3220CGC92/2

Expedition name:  CGC92

1c.) Chief Scientists:

Leg 0 and Leg 1:

John L. Bullister

NOAA-PMEL

Building #3

7600 Sand Point Way, NE

Seattle, WA 98115   USA

Internet: bullister@pmel.noaa.gov

Tel: 	   (206)526-6741

FAX: 	   (206)526-6744

Leg 2:

Bruce Taft (retired)

NOAA-PMEL

Building #3

7600 Sand Point Way, NE

Seattle, WA 98115   USA

Internet: taft@pmel.noaa.gov

1d.) Ship Name: Research Vessel R/V John Vickers

1e. and 1f.)

Ports of Call and Cruise dates:

Leg 0: Transit from Los Angeles- Dutch Harbor, Alaska

4 August- 14 August 1992

Leg 1: Dutch Harbor- Kwajalein

16 August- 15 September 1992

Leg 2: Kwajalein- Noumea, New Caledonia

26 September- 21 October 1992

2a.) Cruise Track: The station locations are shown in Fig.1 and listed in

Appendix 1 and in the P13.sum file.

The P13 section began at 54 14.7 N, 161 06.6 E and moved southeastward to

51 30 N 165 E.  The section then proceeded southward to 4 44.9 S 164 00.2 E.

Nominal station spacing north of 36 N was 30 nautical miles.  Because of

ship malfunctions and delays, insufficent time was available to complete the

section as planned, and station spacing increased south of 30 N (see discussion below).

2b.) 87 Stations/CTD casts were completed, including 4 on the transit

Leg 0, 51 on Leg 1 and 22 on Leg 2.

Only small volume (10 liter and 2.4 liter) sample bottles were used.

A breakdown of parameters sampled is given in the P13.sea and P13.sum files

2c.) Floats and drifters deployed:

17 RAFOS floats and 1 RAFOS sound source were deployed.

11 ALACE floats were deployed.

17 ADCP profiles were obtained at stations betwen 4 N - 4 S using a

rosette mounted lowered ADCP instrument.

Approximately number of water samples analysed:

2685 salinity

2572 oxygen

2608 nutrients

1728 chlorofluorocarbons (CFCs)

1270 Total CO2

1265 Alkalinity

Approximate number of water samples collected for shore-based analysis:

761 helium-3

296 tritium

778 AMS radiocarbon (C-14) and C-13

Continous underway ADCP measurements were made along the cruise track.

Measurents of surface-layer dissolved gases and atmospheric trace gases

(including nitrous oxide and halocarbons) were made along the entire

ship-track.

Air samples were collected at approximately 5 degrees intervals for

isotopic analysis of carbon monoxide and methane.

Fig. 2 shows the locations where water samples were collected for

analysis of dissolved oxygen and  nutrients.  CFCs, TCO2, alkalinity,

radiocarbon, C-13, helium-3 and tritium were collected at subsets

of these locations (see .sea file for sample locations for each parameter).

3a, 3b, 3c)  List of Principal Investigators for Measurements:

NOAA Pacific Marine Environmental Laboratory (PMEL)

NOAA Climate Modelling and Diagnostics Laboratory (CMDL)

University of Washington (UW)

Battelle Laboratory, Sequim (Bat)

University of Hawaii (UH)

Scripps Institution of Oceanography  (SIO)

Woods Hole Oceanographic Institution (WHOI)

University of South Florida (USF)

Academia Sinica (AS)- Peoples's Republic of China

The following measurements were made:

Measurement 	       		 PI		Inst.   Internet

CTD				B. Taft   	PMEL taft@pmel.noaa.gov

CFCs 				J. Bullister	PMEL bullister@pmel.noaa.gov

Tritium				W. Jenkins 	WHOI wjj@burford.whoi.edu

Helium-3			W. Jenkins	WHOI wjj@burford.whoi.edu

Helium-3 (deep)               	J. Lupton 	PMEL lupton@@pmel.noaa.gov

Oxygen				J. Bullister	PMEL bullister@pmel.noaa.gov

Total CO2			A. Dickson 	SIO  adickson@ucsd.edu

Total CO2                   	J. Downing      Bat

Alkalinity			C. Keeling	SIO  cdkeeling@ucsd.edu

nutrients	        	K. Fanning	USF  KAF@MSL1.Marine.USF.edu

DIC				P. Quay		UW   pdquay@u.washington.edu

C14 (AMS) and C-13		P. Quay		UW   pdquay@u.washington.edu

ADCP 				R. Pinkel       SIO  rpinkel@ucsd.edu

ADCP (Lowered)                  P. Hacker       UH   hacker@soest.hawaii.edu

RAFOS floats/sound source       S. Riser        UW   riser@ocean.washington.edu

ALACE Floats			R. Davis        SIO  davis@nemo.ucsd.edu

Underway atmospheric and        J. Bulter       CMDL butler@cmdl1.cmdl.noaa.gov

/dissolved gas measurements

4.) Scientific Program and Methods:

Leg 0:

Leg 0 of the CGC92 expedition consisted of a transit from Los Angeles

to Dutch Harbor, with 4 stations occupied along the cruise track to

test the CTD/rosette system.  One of these stations was a re-occupation

of Station 'P' (50 N, 145 W).   SIO scientists tested an underway ADCP

system along the cruise track.

Leg 1:

Leg 1 consisted of 51 stations (Sta. 5-55).  The first station on this

leg (Station 5) was a test CTD/rosette cast made in the Bering Sea,

along the transit from Dutch Harbor to the start of the P13 line near

the Kamchatka Peninsula.  Sampling of the P13 section began on 21

August 1992 near the 200 meter isobath off Kamchatka.  A series of

stations were occupied on a southeastward transit down the continental

slope and across the Kamchatka Trench.  The section turned directly

southward at about 51 30 N, 165 E, and continued along the 165 E

meridian for the remainder of Leg 1.  A RAFOS sound source was deployed

at 31 N, 165 E.

Nominal station spacing was 30 nautical miles from the start of the

section to about 40 N.  Due to a series of delays during the first part

of Leg 1 (see discussion below) a decision was made at about 36 N to

stretch nominal station spacing for the remainder of Leg 1 (36 N - 10 N)

to 40 nautical miles.

Due to concerns about possible structural deformation to Vickers, and

concern over failure of a water-tight door to close properly, work on

the P13 CTD/rosette section was halted on 9 September 1992 at about 30

N, and Vickers was ordered to steam directly to Kwajalein.  We were

unable to occupy any stations along the emergency transit to

Kwajalein.

A total of 17 RAFOS floats and 2 ALACE floats were deployed during Leg 1.

Leg 2.

Vickers remained at the dock in Kwajalein for an extended period of time

for evaluation of structural integrity by two marine architects and for

repair. Vickers left Kwajalein on 26 September 1992 and began steaming

back to the break-off point to continue work on the P13 section.

Contact was made with TOGA-COARE investigators (the group scheduled to

use Vickers following the completion of the P13 section) to negotiate an

extension for Leg 2, which would allow us a reasonable chance to

complete the P13 section.  After direct negotiations with TOGA-COARE

investigators over the revised Vickers schedule, we were unable to come

up with a mutually satisfactory agreement.  The position held by

TOGA-COARE at the end of these negotiations (requiring Vickers to be

in port in Noumea on 21 October 1992) did not allow us enough time to

complete the WOCE P13 section to even minimum WHP specifications.

Since an agreement could not be reached between the 2 programs, the

final decison was made by the Director of NOAA's Office of Global

Programs, who sent instructions to USC that Vickers should

arrive in Noumea on 21 October for TOGA-COARE staging.

With the remaining allocated time, Vickers occupied CTD/rosette

stations at a nominal spacing of about 2 degrees from 28 N to 4 N, and

closer spacing from 4 N to 4 30"S.  Lowered ADCP measurements were made on

stations between 4 N and 4 S.  The section was terminated on 17 October

1992 at 4 45 S 164 0 E in order to arrive in Noumea by the 21 October

deadline.  A total of 32 stations (Sta 56-88) were occupied during Leg

2 (one station- Sta. 60 was aborted and not included in the listings).

A total of 9 ALACE floats were deployed during Leg 2.

Discussion:

A NOAA-PMEL designed 36 position, 10-liter rosette frame was used at

84 of the 88 stations on the expediton.  A smaller 12-position, 2.4

liter rosette was used as a bad-weather backup system at several

stations during the cruise.  A General Oceanics (GO) 36 'Intelligent'

underwater array (pylon) and deck unit were used with the PMEL 36

position system, along with a Neil Brown MARK III CTD (NBIS serial #

1111).

We feel that the new 36 position PMEL rosette package performed well

on this expediton.  The newly-designed General Oceanics 36 position

'Intelligent' underwater array also performed relatively well. The GO

system provides real-time information on the position of the release

lever, and allows bottles to be closed in any order desired.  Although

a bottle (or two) often failed to close properly during casts due to

'sticky' release pins on the GO underwater array, these problems could

normally be diagnosed immediately from information sent from the

underwater array to the deck unit.  This information gave the CTD

operator the option of choosing to release another bottle at that depth

if desired.  Overall, the success rate acheived for closing 10-liter

bottles with this new system was about 95%.

5.) Major Problems and Goals not Achieved

We encountered a number of problems which led to delays while at sea,

and longer-than-planned port stops.  Delays were encountered leaving

port in Los Angeles (1.5 days), during an emergency port stop in Port

Huaneme, CA (1 day), and extended port stops in Dutch Harbor (2 days)

and Kwajalein (8 days).  Time was lost due to slowdowns along the

cruise track because of ship mechanical problems and weather.

Additional time was lost on station due to conducting cable and wire

termination problems.

There were problems with logging bottom depth using the shipboard PDR

system.  At several stations (28, 48, 53, 61) no reliable PDR bottom

return could be obtained during the casts, and UNC values for these

stations are not shown in the P13.sum file.  Estimates of UNC bottom

depths for these stations, (for use in showing bottom bathymetry, eg as

shown in Fig. 2) were made by interpolation to adjacent stations,  At a

number of other stations, the PDR signal was too weak to be reliably

deteced upon the approach of the rosette near the bottom, causing such

casts to be stopped a hundred meters or more away from the sea bottom

for safety purposes.

A substantial amount of time was lost (8-10 days) due to the emergency

breakoff of the section at 30 N, and the need to return to this point

to continue the section on Leg 2.  The decision that Vickers would be

dropped off in Noumea for the first phase of COARE staging (rather than

a port closer to the end point of the abbreviated CTD section, eg

Honiara) cost additional ship and station time.

Due to this series of delays, the expedition extended about 19 days

past the originally scheduled completion date of 3 October 1992 in Noumea,

yet a substantial number of planned stations were not occupied.

We feel that the station spacing acheived along the segment north of 30

N and the section near the equator (4 N- 4 S) met WHP guidelines, and

that under normal circumstances, the full P13 section would have been

completed successfully during this expedition.  Preliminary analysis of

the data indicate that they meet WHP quality quidelines for precision

and accuracy. For several chemical tracers (eg. radiocarbon,

helium-tritium, CO2), the total number of samples obtained, and the

average horizontal and vertical sample spacing north of 4 S is

reasonably close to that originally planned for the expedition (see

P13.sea file)

We are disappointed with the overall outcome of the expedition.

Due to the coarse station spacing between 30 N and 4 N, and the gap in

the section south of 4 S, we feel that the expediton DID NOT

successfully fulfill the overall requirements for WHP line P13.

7.) List of Cruise Participants:

Name               Nat Affil.  Program        Leg0  Leg1  Leg2  Internet

John Bullister      US  PMEL   Chief Sci.      x     x          bullister@pmel.noaa.gov

Bruce Taft          US  PMEL   Chief Sci.                  x    taft@pmel.noaa.gov

Dave Wisegarver     US  PMEL   CFCs                  x     x    wise@pmel.noaa.gov

Fred Menzia         US  PMEL   CFCs            x     x          menzia@pmel.noaa.gov

Dana Greeley        US  PMEL   Salinity              x     x    greeley@pmel.noaa.gov

Kirk Hargreaves     US  PMEL   Oxygen          x     x     x    kirh@pmel.noaa.gov

Kristy McTaggert    US  PMEL   CTD             x     x     x    kem@pmel.noaa.gov

Mike Stapp          US  PMEL   CTD/electron.   x                stapp@pmel.noaa.gov

Kevin O'Brien       US  PMEL   CTD                         x    kobrien@pmel.noaa.gov

Howard Rutherford   US  USF    nutrients       x     x     x    HOWARD@msl1.marine.usf.edu

Kevin Riskowitz     US  USF    nutrients       x     x     x

Ron Greene          US  OSU    helium/tritium        x     x

Andrew Dickson      US  SIO    Total CO2                   x    adickson@ucsd.edu

George Anderson     US  SIO    Total CO2             x

Ron Citterman       US  Batt   Total CO2             x     x

Peter Guenther      US  SIO    Alkalinity            x          pguenther@ucsd.edu

Guy Emanuele        US  SIO    Alkalinity            x     x

Lloraine Bell       US  SIO    Alkalinity                  x

Bing-Sun Lee    Taiwan  UW     CFC             x                blee@pmel.noaa.gov

Brian Salem         US  UW     C-13, C-14            x

Stagg King          US  UW     C-13, C-14      x

Beth Plotkin        US  UW     CO              x           x

Dale Ripley         US  UW     Floats- CTD           x

Karl Newyear        US  UW     Floats- CTD           x

Jim Butler          US  CMDL   trace gases     x           x    butler@cmdl1.cmdl.noaa.gov

Jurgen Lobert      Ger. CMDL   trace gases     x     x     x    LOBERT@cmdl1.cmdl.erl.gov

Tom Baring          US  CMDL   trace gases     x     x     x

Rob Pinkel          US  SIO    ADCP            x                rpinkel@ucsd.edu

Eric Slater         US  SIO    ADCP            x

Lloyd Green         US  SIO    ADCP            x

Mike Goldin         US  SIO    ADCP            x

Chris Neely         US  SIO    ADCP            x

Amy Hsu             US  UCSD   ADCP            x

Craig Huhta         US  U.Haw  ADCP                        x

Junshun ZHANG      PRC  AS     CFCs            x     x     x

Lijun HAN          PRC  AS     chemistry       x     x     x

Jeff Benson         US  USC    Marine Tech     x     x     x    jbenson@bbsr.edu

George Onodera      US  USC    Marine Tech     x     x     x

Tony Arnold         US  USC    Electron Tech   x     x     x

Mike Getscher       US  USC    Owner Rep       x

Institution addresses:

NOAA-PMEL

7600 Sand Point Way, NE

Seattle, Wa 98115

USF

University of South Florida

Department of Marine Science

830 First Street South

St. Petersburg, FL. 33702

OSU

Oregon State University

College of Oceanography

Corvallis, OR 97331

SIO

Scripps Institution of Oceanography

La Jolla, CA 92093

UW

University of Washington

School of Oceanography

WB-10

Seattle, WA 98195

NOAA-CMDL

325 Broadway,

Boulder, CO 80303

University of Hawaii

JIMAR

1000 Pope Rd

MSB-312

Honolulu, HA 96822

Academia  Sinica

Institute of Oceanology

7 Nanhai Road

Qingdao, 266071

Shadong

Peoples Republic of China

APPENDIX 1: CGC92 STATION LOCATIONS

Leg0:

STATION

NUMBER   Latitude    Longitude      Date

1    36 37.8 N   123 13.5 W    7 Aug 92

2    38 04.7 N   124 49.9 W    7 Aug 92

3    41 25.7 N   128 52.2 W    8 Aug 92

4    49 59.0 N   144 59.0 W   11 Aug 92

Leg1:

STATION

NUMBER   Latitude    Longitude      Date

5    54 14.7 N   171 44.6 E   17 Aug 92

6    54 14.7 N   161 06.3 E   21 Aug 92

7    54 13.1 N   161 08.0 E   21 Aug 92

8    54 07.7 N   161 09.8 E   21 Aug 92

9    54 02.5 N   161 22.0 E   21 Aug 92

10    53 33.4 N   162 03.7 E   21 Aug 92

11    53 29.0 N   162 10.4 E   22 Aug 92

12    53 26.5 N   162 22.3 E   23 Aug 92

13    53 01.2 N   162 53.8 E   23 Aug 92

14    52 31.3 N   163 35.2 E   23 Aug 92

15    52 00.9 N   164 17.3 E   24 Aug 92

16    51 29.7 N   164 59.1 E   24 Aug 92

17    50 59.1 N   164 57.7 E   25 Aug 92

18    50 30.8 N   164 57.2 E   25 Aug 92

19    49 59.1 N   165 00.1 E   25 Aug 92

20    49 30.1 N   165 00.7 E   26 Aug 92

21    48 59.6 N   164 58.3 E   26 Aug 92

22    48 29.9 N   165 01.0 E   26 Aug 92

23    47 59.4 N   165 00.1 E   26 Aug 92

24    47 30.1 N   165 00.2 E   27 Aug 92

25    46 59.9 N   164 59.2 E   27 Aug 92

26    46 30.0 N   165 01.1 E   27 Aug 92

27    45 59.7 N   164 60.0 E   28 Aug 92

28    45 29.8 N   164 58.7 E   28 Aug 92

29    44 59.4 N   164 58.9 E   30 Aug 92

30    44 29.7 N   165 00.6 E   30 Aug 92

31    44 00.2 N   164 57.8 E   31 Aug 92

32    43 30.2 N   165 01.1 E   31 Aug 92

33    43 00.5 N   164 60.0 E   31 Aug 92

34    42 30.0 N   164 59.4 E    1 Sep 92

35    42 00.7 N   165 01.9 E    1 Sep 92

36    41 29.9 N   165 00.5 E    1 Sep 92

37    41 01.3 N   164 59.4 E    2 Sep 92

38    40 30.4 N   165 00.6 E    2 Sep 92

39    40 00.9 N   165 00.2 E    2 Sep 92

40    39 29.7 N   165 01.1 E    3 Sep 92

41    39 01.2 N   165 01.2 E    3 Sep 92

42    38 28.8 N   165 02.4 E    3 Sep 92

43    37 59.4 N   165 00.4 E    4 Sep 92

44    37 30.9 N   165 01.1 E    4 Sep 92

45    37 00.9 N   164 59.9 E    5 Sep 92

46    36 31.8 N   165 00.3 E    5 Sep 92

47    36 00.8 N   165 00.5 E    5 Sep 92

48    35 21.6 N   165 00.7 E    6 Sep 92

49    34 42.0 N   165 03.2 E    6 Sep 92

50    34 02.5 N   165 03.2 E    7 Sep 92

51    33 22.6 N   165 01.0 E    7 Sep 92

52    32 41.9 N   165 01.5 E    8 Sep 92

53    31 60.0 N   165 00.5 E    8 Sep 92

54    31 19.6 N   164 59.1 E    9 Sep 92

55    30 41.3 N   164 58.5 E   10 Sep 92

Leg 2:

STATION

NUMBER   Latitude    Longitude      Date

56    21 58.0 N   165 00.6 E   30 Sep 92

57    21 19.2 N   165 00.5 E   30 Sep 92

58    20 39.9 N   164 59.2 E    1 Oct 92

59    19 59.3 N   165 00.3 E    1 Oct 92

60    19 19.7 N   165 00.2 E    2 Oct 92

61    19 32.3 N   165 02.2 E    2 Oct 92

62    18 39.9 N   164 35.9 E    2 Oct 92

63    24 02.5 N   164 59.1 E    4 Oct 92

64    26 01.1 N   165 03.9 E    5 Oct 92

65    28 02.0 N   164 59.9 E    5 Oct 92

66    16 00.5 N   164 59.5 E    8 Oct 92

67    14 00.5 N   164 59.4 E    9 Oct 92

68    12 35.4 N   165 22.0 E    9 Oct 92

69    10 00.5 N   165 00.1 E   10 Oct 92

70    08 00.8 N   165 01.3 E   11 Oct 92

71    06 00.2 N   165 01.1 E   12 Oct 92

72    04 00.1 N   165 00.3 E   12 Oct 92

73    03 00.1 N   164 59.6 E   12 Oct 92

74    01 59.8 N   164 59.4 E   13 Oct 92

75    01 30.2 N   164 59.2 E   13 Oct 92

76    00 60.0 N   164 59.2 E   13 Oct 92

77    00 30.3 N   164 59.0 E   14 Oct 92

78    00 01.5 N   164 54.5 E   14 Oct 92

79    00 29.9 S   164 59.9 E   14 Oct 92

80    00 59.5 S   164 59.7 E   15 Oct 92

81    01 29.9 S   163 00.8 E   15 Oct 92

82    01 59.8 S   163 04.5 E   15 Oct 92

83    02 47.8 S   163 05.2 E   16 Oct 92

84    03 11.4 S   163 16.5 E   16 Oct 92

85    03 34.3 S   163 27.6 E   16 Oct 92

86    03 58.5 S   163 38.5 E   16 Oct 92

87    04 21.6 S   163 49.6 E   16 Oct 92

88    04 44.9 S   163 59.8 E   17 Oct 92

C.) Hydrographic Measurement Techniques and Calibrations:

The following reports outline the techniques used for

measuring dissolved nutrients, oxygen, CFCs, alkalinity

and salinity. At the time of the preparation of this report,

data for the total carbon, carbon isotopes, and helium-tritium

measurements have not been reported to the Chief Scientist.

These will be submitted in revised P13.sea and P13.doc reports as they

are received.

C1). NUTRIENTS:

(Discussion provided by E. Howard Rutherford, USF.  July 10  1995)

All analyses were done with an Alpkem RFA/2  320 autoanalyzer.

The methods used were  modified from those recommended by the

Alpkem Corporation.  Working nutrient standards used were a

mixture of phosphate, silica, nitrate and nitrite in a low nutrient

natural seawater matrix.  Simultaneous analyses were run on the

RFA/2 for all of these nutrients.

Silica:  The technique utilizes the reaction of dissolved silicate

with a molybdate solution to produce a silico-molybdate complex

which is then reduced by addition of stannous chloride to form an

intensely blue-colored molybdenum compound that is measured

spectrophotometrically at its absorbance maximum of 815nm. The

primary standard used was prepared from pure silicon dioxide fused

and dissolved in basic solution.

Phosphate: Under acidic conditions orthophosphate reacts with

molybdenum (VI) and antimony (III) to form a phosphoantimonyl-

molybdenum complex which is subsequently reduced by the addition

of ascorbic acid. The  mixed valence complex produced by the

reduction is measured spectrophotometrically at its absorbance

maximum of 880nm.  The primary standard was solid KH2PO4

weighed out before the cruise.

Nitrite:  At pH between 1 and 2 all nitrite undergoes diazotization

with sulfanilamide and subsequent coupling with N-1-

naphthylethylenediamine. The azo dye formed is measured

spectrophotometrically at 540nm.  The primary standard was pre-

weighed NaNO2.

Nitrate+Nitrite:  Nitrate present in the sample was reduced to

nitrite by cadmium metal in an open tubular cadmium reactor.

Nitrate + Nitrite was then measured by the nitrite method described

above.  The primary nitrate standard was pre-weighed KNO3.

Procedure

Samples were analyzed as soon as possible after each cast (usually

within  2-4 hours).    For each chemistry a set of five standards

prepared by additions of known amounts of nutrient to a low

nutrient sea water was analyzed at the beginning and end of each

analytical run. Analytical runs for the 36 bottle rosette cast take

about three hours to complete.  At least every hour the slope of each

standard curve was redetermined by analyzing the low nutrient sea

water and an intermediate standard. The analytical blank used in the

RFA/2 sample runs  (the blank is assumed to contain no analyte for

all four chemistries) was de-ionized water produced onboard the

R/V Vickers.  The voltage resulting from the difference in

refractive index between blank and samples was sufficient to

influence computed sample concentrations in the phosphate and

nitrite analyses.   Magnitudes of these corrections were determined

nine times during the cruise.  Standards and blanks were all run in

triplicate and samples in duplicate.

Calculations

Drift of standard curve slopes has been found to be generally linear

with time (see the "Nutrients" section of the WOCE Operations

Manual, July 1991, section author Lou Gordon).  Slope was re-

determined at least every hour and drift between determinations

was assumed to be linear.  Drift of baseline voltage also was

assumed linear for periods up to one hour.   Each sample peak height

was corrected for refractive index difference between blanks and

samples and for baseline and standard curve drifts, assuming linear

drift between determinations.

c2.) Dissolved Oxygen

(discussion provided by Kirk Hargreaves, PMEL.  15 Dec 1995)

Oxygen samples were drawn immediately after CFC's and Helium.

Calibrated 125ml nominal volume iodine determination flasks (Corning

5400-125) were used for sampling.  Flasks were parially filled with sea

water, capped, shaken, and emptied three time.  Then, sea water was

allowed to flow freely throuh the sampling tube and any air bubbles

tapped away.  The tube was then pinched off, inserted into the flask, and

slowly opened to avoid any turbulence.  Once completely opened, a wrist

watch was used to time the filling rate (typically 7 seconds).  Two more

flask volumes were allowed to overflow the flask using the watch as a

reference.

Regeants were introduced immediately after sampling.  The MnCl2

reagent tube was slowly inserted to the bottom of the flask and the reagent

introduced.  Then the NaOH/NaI regeant tube was inserted halfway into the

flask and the reagent introduced.  Both regeant dispensers were equipped

with Brinkmann Anti-diffusion buret tips (catalog #6.1541.010) to prevent

water exchange with the reagents.  NOTE: more testing should be done to

determine if the buret tips introdiced significant mixing of the surface

water with the low oxygen water in the flask.  The low oxygen data does

not indicate any variation which would be expected from such mixing.

Reagents were made to WOCE specifications as described by Culberson (1992).

Flasks are capped at this point and vigourously shaken. After

station 49, distilled water from a squirt bottle was used to seal the

caps (before station 49 it was assumed expansion due to heating would

maintain the seal.  This was incorrect.  After at least 20 minutes, the

flask would be reshaken and, after station 49, resealed.  Time until

reshake varied from 20 minutes to 2 hours.

Samples were analyzed no earlier than 20 minutes and no later

than 12 hours after being reshaken.  The samples for an entire station

would be acidified, restopped and reshaken.  Before titration of a

sample, its stopper was removed and washed down.  Typically, one or two

open flasks would be waiting for titration.  The previous three steps are

not ideal and probably lead to errors in the oxygen values.  Data

suggests this is on the order to 0.2 umol/kg.

Titration was done using Carpenter's (1965) whole bottle technique with

a modification of the system described by Friederich, et al (1991).  A

Kloehn 50100 Syringe Drive with a 5 ml buret was used to dispense

titrant (nominal 0.05 N) and has a linearity of 0.05%.  New software to

run the system was written by K.Hargreaves in Turbo C++ with Turbo

Vision, but in hindsight it would have been better to use Friederich's

software.

Standardization was done using approxiametly 0.01N potassium

iodate solutions prepared from pre-weighed potassium iodate crystals.

Buoyancy and temperature corrections were applied to get the actual

standard strength at the time of standardization.  Standard was dispensed

with a 1ml Lab Industries Repipet with a calibrated delivery accuracy of

0.03% (under ideal conditions).  Several different total volumes

(typically 1, 3, 5, 7, 9, 11, 13, and 15 ml) were used to generated a

curve.  Also, several 1ml aliquots were used to enure a good blank.  A

linear least squares fit was calculated using the algorith from "Numerical

Recipes in C" (Press, 1988).  The normalized chi-squared parameters was

used to determine goodness of fit.

Each new standard was compared to a reference standard.  All

except one agreed to within 0.3%.  A correction factor was applied to

samples run with the standard that did not agree, on the assumption that

that standard was improperly weighed.  Also, standards were compared to

potassium iodate from a different manufacturer.  No significant difference

was found.

From duplicate oxygen samples drawn, the estimated

reproducibility is 0.5 umol/kg.  The accuracy of the standardization is

estimated to be 0.4%.  This is calculated by adding by quadartures the

repeatability of the standards (0.3%), the drift in the standardization

in half a day (0.25%) and a 0.1% estimate of the accuracy of the

standards.  The total accuracy is esimated to be 0.4% of value + 0.5 umol/kg.

Oxygen were converted from umol/l to umol/kg by dividing by the

density of the water at the time of sampling.  Water temperature was

measured using a Cole-Parmer G-08497-00 Pt-RTD thermometer together with a

Sensing Devices GW2107-01 thin film 100 ohm Pt-RTD (not calibrated,

however).  Density was calculated using the formula in Culberson (1992).

Also, the amount of oxygen present in the reagents (0.0017 ml O2

= 0.076 umol O2, Culberson) was subtracted from the total measured amount

of oxygen in the flask.

1.2  Oxygen References

Culberson, C.H., "Dissolved Oxygen", WHP Operations and Methods, WHP

Office Report WHPO 91-1, July 1992.

Carpenter, J.H., (1965) "The Chesapeake Bay Institute technique for the Winkler

dissolved oxygen method", Limnology and Oceanography, vol. 10, pp.

141-143.

Friederich, G.E., Codispoti, L.A., and Sakamoto, C.M., "An Easy-to-Construct

Automated Winkler Titration System", MBARI Technical Report 91-6,

August 1991.

Press, W.H., Flannery, B.P., Teukolsky, S.A., and Vetterling, W.T.,

Numerical Recipes in C, Cambridge University Press, Cambridge, 1988.

C3.) Bottle Salinity Measurements

(discussion provided by D.Greeley, PMEL. 11 April 1996)

The salinity analysis aboard R/V John Vickers in the fall of 1992

was determined exclusively with a Guildline 8400 Autosal. This

instrument was located in a temperature controlled van located on

the aft end of the ship. The van was kept at 20.5 degrees celsius

+/- 1 degree celsius. The bath of the autosal was kept at 21 degrees

and proved to be very stable throughout the cruise. Standardization

of the autosal was carried out with IAPSO Standard Seawater batch P114.

There were ampoules of standard water which was clearly incorrect by

comparison to the other vials and thus were not used. The P114 standard

water was also compared to 5 ampoules from another batch of IAPSO water,

P90. The results from this comparison agreed favorably with the Scripps

comparison done in 1986 (Mantyla, Arnold: Standard Seawater Comparisons

Updated, Journal of Physical Oceanography, vol 17, 543-548, 1987).

C4.) CFC Measurements

(discussion provided by J.Bullister, PMEL 11 April 1996)

CFCs were usually the first water sample collected from the 10 liter

bottles.  Care was taken to co-ordinate the sampling of CFCs with other

gas samples to minimize the time between the inital opening of each

bottle and the completion of sample drawing.  In most cases, helium,

tritium, dissolved oxygen, total CO2, alkalinity and pH samples were

collected within several minutes of the intial opening of each bottle.

CFC samples were collected in 100 ml precision glass syringes, and held

immersed in a water bath until processing.

The CFC analytical system functioned relatively well during this

expedition.  The CFC system was installed in a specially designed

laboratory van located on deck, and was isolated from possible

contamination from high levels of CFCs which are sometimes present in

air inside ship laboratories.  Concentration of CFCs in air inside this

van were usually close to those of clean marine air.

Concentrations of CFC-11 and CFC-12 in air samples, seawater and gas

standards on the cruise were measured by shipboard electron capture gas

chromatography, according to the methods described by Bullister and

Weiss (1988).  The concentrations of CFC-11 and CFC-12 in air, seawater

samples and gas standards are reported relative to the SIO 1986

calibration scale.  CFC concentrations in air and standard gas are

reported in units of mole fraction CFC in dry gas, and are typically in

parts-per-trillion (ppt) range.  Dissolved CFC concentrations are given

in unit of picomole CFC per kg seawater (pmol/kg). CFC concentrations

in air and seawater samples were determined by fitting their

chromatographic peak areas to multi-point calibration curves, generated

by injecting known volumes of gas from a CFC working standard (PMEL

cylinder 71489) into the analytical instrument.  This concentrations

of CFC-11 and CFC-12 in this working standard were calibrated versus a

primary CFC standard (CC36743) before and after the cruise.  No

measurable drift in the working standard could be detected during this

interval. Full range calibration curves were run at 1 to 2 day

intervals.  Single injections of a fixed volume of standard gas were

run much more frequently (at intervals of 1 to 2 hours) to monitor

short term changes in detector sensitivity.  The estimated

reproducibility of the calibrations is about 1.3% for CFC-11 and 0.5%

for CFC-12.   We estimate a precision (1 standard deviation) for

dissolved CFC measurements of about 1%, or 0.005 pmol/kg, whichever is

greater.

Sample loops filled with CFC-free gas, and syringe samples of

CFC-free water (degassed in a specially designed glass chamber) were

run to check sampling and analytical blanks.   CFC-11 and CFC-12

concentrations measured in deep samples along the section were

typically in the range of 0 to 0.007 pmol/kg, near the detection limit

of the analytical system (~0.004 pmol/kg).  Previous studies (Warner, et al 1996) of

time-dependent tracers in this region of the Pacific indicate that

waters at densities sigma0>27.4 should have CFC concentrations near zero

at present.  We attribute the low level CFC signal in deep samples to

the slow release of CFC from the walls and O-rings of the 10 liter

bottles into the seawater sample during storage, and to contamination

during the transfer and storage of the seawater samples in glass

syringes prior to analysis. Based on the median concentrations observed

in deep water samples along the secion, the following  blank correction

were applied to the seawater measurements:

CFC-11 blank corrections applied (in pmol/kg):

Sta.  1-43:   0.010 pmol/kg

Sta. 44-88:   0.008 pmol/kg

CFC-12 blank corrections applied (in pmol/kg):

Sta. 1-4      0.000

Sta. 5-23     0.021

Sta. 24-27    0.034

Sta. 28-52    0.018

Sta. 53-88    0.009

As a result of this blank correction, some concentrations reported for

deep samples are less than zero.

A number of water samples had anomously high CFC11 and/or CFC11

concentrations relative to adjacent samples.  These high values

appeared to occur more or less randomly, and were not clearly

associated with other features in the water column (eg. elevated oxygen

concentrations).  In most cases, only one of the 2 CFCs measured showed

these anomolously high levels.  This suggests that the high values were

due to analytical variabilty or isolated low-level contamination

events. These samples are included in this report and are flagged as

either 3 (questionable) or 4 (bad) measurements.  Approximately 181

analyses of CFC-11 and  76 analyses of CFC-12 were given flags of

3 or 4.

References:

Bullister, J.L. and R.F. Weiss,  Determination of CCl3F and CCl2F2 in

seawater and air. Deep-Sea Research, 35 (5), 839-853, 1988.

Warner, M. W., J.L. Bullister, D.P. Wisegarver, R.H. Gammon and R.F. Weiss,  Basin wide

Distributions of Chlorofluorocarbons CFC-11 and CFC-12 in the North Pacific:

1985-1989, (submitted to J. Geophysical Research)

f.) Replicate analyses of CFC-11 (relicate analyses of samples from the same

Niskin bottle):

Stnnbr   Sampno  CFC-11 (pmol/kg)

3     103  0.008

3     103 -0.002

4     115  0.019

4     115  0.030

4     125  1.093

4     125  1.081

4     128  2.709

4     128  2.672

4     129  2.906

4     129  3.103

4     130  3.727

4     130  3.725

4     131  4.219

4     131  4.226

4     132  4.733

4     132  4.658

4     134  4.312

4     134  4.219

4     135  3.380

4     135  3.524

4     136  3.553

4     136  3.464

5     134  4.521

5     134  4.501

5     135  4.492

5     135  4.539

8     113  0.904

8     113  0.903

8     119  6.090

8     119  6.045

9     122  2.177

9     122  2.162

9     129  4.902

9     129  4.955

10     105  0.000

10     105  0.001

13     101  0.004

13     101  0.005

13     133  6.043

13     133  6.173

14     122  0.169

14     122  0.174

14     128  1.254

14     128  1.258

14     134  6.053

14     134  6.138

15     121  0.179

15     121  0.180

15     127  1.503

15     127  1.542

15     134  5.868

15     134  5.958

16     122  0.377

16     122  0.372

16     126  1.675

16     126  1.692

16     132  5.507

16     132  5.574

18     102  0.001

18     102 -0.001

18     107  0.005

18     107 -0.002

18     122  0.205

18     122  0.193

19     121  0.127

19     121  0.139

19     131  5.950

19     131  5.928

19     136  4.315

19     136  4.255

20     102 -0.001

20     102 -0.002

20     106  0.001

20     106  0.007

20     110  0.001

20     110  0.000

21     101 -0.001

21     101 -0.002

21     106  0.000

21     106  0.004

23     120  0.083

23     120  0.078

25     108 -0.001

25     108  0.012

25     118  0.116

25     118  0.045

25     122  0.218

25     122  0.200

25     132  6.378

25     132  6.264

26     108  0.001

26     108  0.005

26     112  0.002

26     112 -0.002

27     107 -0.001

27     107  0.001

28     110  5.378

28     110  5.448

29     102  0.003

29     102  0.005

29     118  0.140

29     118  0.136

29     120  0.273

29     120  0.272

30     121  0.334

30     121  0.331

31     133  5.373

31     133  5.455

31     135  4.557

31     135  4.547

32     116  0.100

32     116  0.096

32     120  0.447

32     120  0.461

32     129  4.449

32     129  4.417

32     135  3.219

32     135  3.139

33     117  0.089

33     117  0.093

33     121  0.402

33     121  0.400

34     116  0.092

34     116  0.090

34     122  1.350

34     122  1.352

35     117  0.039

35     117  0.046

35     122  0.412

35     122  0.413

35     129  3.858

35     129  3.887

37     111  0.001

37     111 -0.001

37     113  0.006

37     113  0.006

37     116  0.052

37     116  0.056

37     124  1.988

37     124  2.019

37     124  1.998

37     132  3.733

37     132  3.681

38     116  0.076

38     116  0.073

38     120  0.609

38     120  0.612

39     120  0.329

39     120  0.329

39     130  3.902

39     130  3.829

41     115  0.049

41     115  0.048

41     117  0.242

41     117  0.233

41     130  2.988

41     130  3.067

43     106  1.082

43     106  1.084

47     116  0.094

47     116  0.100

47     129  3.110

47     129  2.868

48     119  0.185

48     119  0.185

48     125  2.500

48     125  2.482

49     117  0.029

49     117  0.030

49     121  0.624

49     121  0.599

49     130  3.013

49     130  3.034

50     105 -0.003

50     105  0.006

50     119  0.539

50     119  0.535

50     127  2.111

50     127  2.104

51     119  0.735

51     119  0.770

51     129  2.402

51     129  2.411

52     103 -0.002

52     103  0.005

52     122  2.340

52     122  2.379

52     130  2.510

52     130  2.504

53     102 -0.001

53     102 -0.001

53     110  2.440

53     110  2.412

54     122  2.148

54     122  2.287

54     135  1.786

54     135  1.795

55     118  0.556

55     118  0.565

55     125  2.417

55     125  2.392

56     101  0.016

56     101  0.018

56     118  0.021

56     118  0.021

56     122  0.484

56     122  0.479

56     126  2.351

56     126  2.302

56     132  2.385

56     132  2.404

57     122  0.497

57     122  0.490

59     120  0.018

59     120  0.016

59     122  0.460

59     122  0.460

59     126  2.443

59     126  2.448

59     130  2.341

59     130  2.363

61     119  0.009

61     119  0.009

61     121  0.311

61     121  0.295

61     129  2.044

61     129  2.053

62     118  0.013

62     118  0.013

62     124  2.367

62     124  2.345

63     120  1.484

63     120  1.562

63     122  2.360

63     122  2.398

63     129  2.486

63     129  2.415

64     120  1.290

64     120  1.276

64     122  2.275

64     122  2.298

64     125  2.484

64     125  2.481

64     135  1.839

64     135  1.825

65     118  0.137

65     118  0.140

65     121  1.599

65     121  1.570

65     124  2.555

65     124  2.484

65     130  2.684

65     130  2.670

66     121  0.006

66     121  0.014

66     130  2.062

66     130  2.082

67     122  0.016

67     122  0.017

67     124  0.362

67     124  0.330

67     130  1.998

67     130  2.075

68     122  0.038

68     122  0.039

68     124  0.132

68     124  0.137

68     126  0.648

68     126  0.662

68     128  2.056

68     128  2.060

68     132  1.739

68     132  1.734

69     116  0.000

69     116 -0.001

69     123  0.071

69     123  0.037

69     125  0.095

69     125  0.094

69     127  0.350

69     127  0.344

69     132  2.001

69     132  2.000

70     122  0.035

70     122  0.038

70     124  0.071

70     124  0.065

70     128  0.503

70     128  0.502

70     131  1.943

70     131  1.938

70     131  1.948

70     132  1.796

70     132  1.811

70     134  1.575

70     134  1.592

71     125  0.194

71     125  0.189

71     128  0.878

71     128  0.885

72     125  0.232

72     125  0.233

73     124  1.299

73     124  1.304

73     129  1.628

73     129  1.633

74     126  0.567

74     126  0.572

74     132  1.480

74     132  1.569

75     128  1.421

75     128  1.453

76     128  1.463

76     128  1.424

76     132  1.548

76     132  1.558

78     122  0.153

78     122  0.155

78     126  0.764

78     126  0.754

78     130  1.509

78     130  1.506

80     126  0.597

80     126  0.604

80     131  1.547

80     131  1.562

82     125  0.352

82     125  0.349

82     131  1.571

82     131  1.585

83     124  0.375

83     124  0.379

83     128  1.102

83     128  1.105

84     124  0.213

84     124  0.209

84     127  0.757

84     127  0.755

84     131  1.469

84     131  1.600

86     119  0.119

86     119  0.119

86     122  0.655

86     122  0.648

86     127  1.564

86     127  1.543

Replicate analyses of CFC-12 (relicate analyses of samples from the same

Niskin bottle):

STNNBR  SAMPNO CFC-12 (pmol/kg)

3     103  0.000

3     103  0.000

4     107  0.000

4     107  0.000

4     110  0.000

4     110  0.000

4     115  0.000

4     115  0.000

4     125  0.472

4     125  0.477

4     128  1.201

4     128  1.207

4     129  1.335

4     129  1.411

4     130  1.737

4     130  1.738

4     131  1.999

4     131  2.023

4     132  2.223

4     132  2.188

4     134  2.032

4     134  1.933

4     135  1.737

4     135  1.790

4     136  1.773

4     136  1.787

5     134  2.112

5     134  2.057

5     135  2.094

5     135  2.047

8     113  0.402

8     113  0.404

8     119  2.732

8     119  2.772

9     122  0.976

9     122  0.951

9     129  2.290

9     129  2.324

12     122  0.079

12     122  0.077

12     133  2.743

12     133  2.773

12     134  2.919

12     134  2.824

13     133  2.772

13     133  2.794

14     128  0.538

14     128  0.534

14     134  2.754

14     134  2.771

15     127  0.652

15     127  0.656

15     134  2.674

15     134  2.723

16     122  0.167

16     122  0.171

16     126  0.740

16     126  0.807

16     132  2.568

16     132  2.616

18     103 -0.021

18     103  0.003

18     107 -0.021

18     107 -0.021

18     111 -0.021

18     111 -0.021

18     136  2.057

18     136  1.989

19     131  2.696

19     131  2.752

19     136  2.098

19     136  2.094

20     106  0.007

20     106  0.003

20     110 -0.021

20     110 -0.001

21     101  0.010

21     101  0.002

21     106 -0.001

21     106  0.004

22     124  0.201

22     124  0.190

23     105  0.000

23     105  0.008

23     120  0.034

23     120  0.035

24     112 -0.003

24     112 -0.009

25     108 -0.002

25     108 -0.003

25     118  0.047

25     118  0.023

25     122  0.100

25     122  0.085

25     132  2.893

25     132  2.878

26     108  0.006

26     108  0.005

26     109  0.006

26     109  0.005

26     112  0.001

26     112 -0.001

27     107 -0.001

27     107 -0.006

28     110  2.548

28     110  2.516

29     102  0.012

29     102  0.010

29     118  0.068

29     118  0.068

29     120  0.131

29     120  0.128

30     121  0.153

30     121  0.151

31     133  2.530

31     133  2.493

31     135  2.143

31     135  2.145

32     116  0.042

32     116  0.039

32     120  0.199

32     120  0.199

32     129  2.077

32     129  2.051

32     135  1.579

32     135  1.552

33     117  0.038

33     117  0.037

33     121  0.178

33     121  0.177

34     116  0.038

34     116  0.040

34     122  0.592

34     122  0.594

35     117  0.010

35     117  0.021

35     122  0.181

35     122  0.184

35     129  1.819

35     129  1.793

37     111 -0.001

37     111 -0.004

37     113  0.002

37     113 -0.004

37     116  0.017

37     116  0.021

37     124  0.882

37     124  0.894

37     124  0.883

37     132  1.691

37     132  1.732

38     116  0.030

38     116  0.032

38     120  0.269

38     120  0.270

39     115  0.024

39     115  0.022

39     120  0.140

39     120  0.146

39     130  1.836

39     130  1.795

41     115  0.023

41     115  0.027

41     117  0.108

41     117  0.104

41     130  1.461

41     130  1.476

42     117  0.094

42     117  0.097

43     106  0.494

43     106  0.518

47     116  0.048

47     116  0.042

47     119  0.310

47     119  0.309

47     129  1.502

47     129  1.359

48     119  0.089

48     119  0.085

48     125  1.129

48     125  1.138

49     117  0.019

49     117  0.014

49     121  0.277

49     121  0.268

49     130  1.468

49     130  1.466

50     105 -0.018

50     105  0.008

50     119  0.250

50     119  0.241

50     127  0.991

50     127  1.021

51     119  0.335

51     119  0.343

51     129  1.215

51     129  1.223

52     103 -0.003

52     103  0.005

52     122  1.048

52     122  1.057

52     130  1.228

52     130  1.234

53     110  1.145

53     110  1.121

54     122  1.050

54     122  1.086

54     135  0.927

54     135  0.939

55     118  0.243

55     118  0.247

55     125  1.186

55     125  1.174

56     101  0.002

56     101  0.003

56     118 -0.009

56     118  0.008

56     122  0.245

56     122  0.261

56     126  1.233

56     126  1.186

56     132  1.278

56     132  1.283

57     120  0.038

57     120  0.022

57     122  0.264

57     122  0.278

59     120  0.020

59     120  0.013

59     122  0.249

59     122  0.244

59     126  1.225

59     126  1.224

59     130  1.221

59     130  1.230

61     119  0.007

61     119  0.005

61     121  0.169

61     121  0.166

61     129  1.123

61     129  1.141

62     118  0.007

62     118  0.010

62     124  1.197

62     124  1.181

63     120  0.745

63     120  0.727

63     122  1.188

63     122  1.211

63     129  1.300

63     129  1.280

64     120  0.611

64     120  0.618

64     122  1.115

64     122  1.139

64     125  1.282

64     125  1.266

64     135  1.009

64     135  1.027

65     118  0.065

65     118  0.071

65     121  0.772

65     121  0.764

65     124  1.272

65     124  1.242

65     130  1.375

65     130  1.381

66     121  0.002

66     121  0.009

66     123  0.028

66     123  0.030

66     130  1.103

66     130  1.074

67     122  0.006

67     122  0.006

67     124  0.188

67     124  0.179

67     130  1.086

67     130  1.131

68     122  0.016

68     122  0.017

68     124  0.073

68     124  0.070

68     126  0.349

68     126  0.351

68     128  1.121

68     128  1.093

68     132  0.971

68     132  0.999

69     116  0.002

69     116 -0.003

69     123  0.023

69     123  0.019

69     125  0.049

69     125  0.052

69     127  0.180

69     127  0.188

69     132  1.088

69     132  1.073

70     122  0.022

70     122  0.018

70     124  0.032

70     124  0.038

70     128  0.266

70     128  0.268

70     131  1.039

70     131  1.036

70     131  1.046

70     132  0.963

70     132  0.983

70     134  0.908

70     134  0.902

71     125  0.108

71     125  0.113

71     128  0.450

71     128  0.475

72     125  0.129

72     125  0.135

73     124  0.728

73     124  0.667

73     129  0.894

73     129  0.871

74     126  0.337

74     126  0.322

74     132  0.851

74     132  0.899

75     128  0.754

75     128  0.740

76     128  0.788

76     128  0.765

76     132  0.851

76     132  0.851

78     122  0.097

78     122  0.097

78     126  0.430

78     126  0.426

78     130  0.828

78     130  0.846

80     126  0.327

80     126  0.339

80     131  0.834

80     131  0.871

82     125  0.202

82     125  0.190

82     131  0.852

82     131  0.872

83     124  0.214

83     124  0.206

83     128  0.596

83     128  0.595

84     124  0.121

84     124  0.119

84     127  0.420

84     127  0.418

84     131  0.795

84     131  0.881

86     119  0.069

86     119  0.062

86     122  0.362

86     122  0.363

86     127  0.849

86     127  0.853

B)    Underway Measurements

B6.) Underway Measurements of Atmospheric CFCs:

(see Section above for discussion of CFC analysis techniqes

and units)

Time                             F11     F12

Date     (hhmm)   Latitude    Longitude    PPT     PPT

7 Aug 92    0209   36 37.0 N   123 13.5 W   268.0   509.8

7 Aug 92    0231   36 37.0 N   123 13.5 W   271.2   509.6

7 Aug 92    0242   36 37.0 N   123 13.5 W   271.6   510.9

7 Aug 92    0252   36 37.0 N   123 13.5 W   270.6   510.5

9 Aug 92    2247   44 29.0 N   133 41.0 W   275.1   505.0

9 Aug 92    2257   44 29.0 N   133 41.0 W   266.8   503.1

9 Aug 92    2305   44 29.0 N   133 41.0 W   269.7   505.0

9 Aug 92    2316   44 29.0 N   133 41.0 W   270.2   505.6

13 Aug 92    2301   53 10.8 N   157 53.8 W   265.2   503.2

18 Aug 92    2334   53 10.8 N   157 53.8 W   272.9   511.7

18 Aug 92    2345   53 10.8 N   157 53.8 W   273.4   510.0

18 Aug 92    2356   53 10.8 N   157 53.8 W   273.1   513.7

19 Aug 92    0007   53 10.8 N   157 53.8 W   272.1   511.1

19 Aug 92    2124   54 00.0 N   165 00.0 W   270.4   509.8

19 Aug 92    2219   54 00.0 N   165 00.0 W   275.5   517.3

19 Aug 92    2230   54 00.0 N   165 00.0 W   275.7   513.3

19 Aug 92    2241   54 00.0 N   165 00.0 W   275.0   512.2

19 Aug 92    2256   54 00.0 N   165 00.0 W   276.4   518.7

20 Aug 92    0937   54 15.0 N   167 15.5 W   272.8   511.6

20 Aug 92    0948   54 15.0 N   167 15.5 W   272.7   511.9

20 Aug 92    0959   54 15.0 N   167 15.5 W   272.5   513.5

20 Aug 92    1012   54 15.0 N   167 15.5 W   271.5   527.6

23 Aug 92    0431   53 29.0 N   162 10.0 E   272.0   509.6

23 Aug 92    0442   53 29.0 N   162 10.0 E   273.3   512.3

23 Aug 92    0453   53 29.0 N   162 10.0 E   272.8   514.1

25 Aug 92    1533   50 30.0 N   165 00.0 E   272.8   520.2

25 Aug 92    1543   50 30.0 N   165 00.0 E   275.7   515.7

25 Aug 92    1552   50 30.0 N   165 00.0 E   274.5   513.4

29 Aug 92    1440   44 45.0 N   164 57.0 E   270.8   514.3

29 Aug 92    1451   44 45.0 N   164 57.0 E   271.1   517.8

29 Aug 92    1502   44 45.0 N   164 57.0 E   272.0   515.1

29 Aug 92    1515   44 45.0 N   164 57.0 E   273.1   512.6

29 Aug 92    1552   44 45.0 N   164 57.0 E   271.4   511.6

29 Aug 92    1604   44 45.0 N   164 57.0 E   271.9   511.8

29 Aug 92    1617   44 45.0 N   164 57.0 E   273.5   513.1

29 Aug 92    1628   44 45.0 N   164 57.0 E   270.3   514.5

1 Sep 92    0133   43 30.0 N   165 00.0 E   271.1   519.4

1 Sep 92    0147   43 30.0 N   165 00.0 E   272.6   516.9

1 Sep 92    0158   43 30.0 N   165 00.0 E   271.0   515.8

1 Sep 92    0210   43 30.0 N   165 00.0 E   273.3   516.2

5 Sep 92    0534   37 01.7 N   164 59.7 E   276.7   508.2

5 Sep 92    0545   37 01.7 N   164 59.7 E   272.4   511.5

5 Sep 92    0558   37 01.7 N   164 59.7 E   273.6   513.1

7 Sep 92    0918   33 57.8 N   165 25.4 E   269.4   513.4

7 Sep 92    0929   33 57.8 N   165 25.4 E   269.3   515.1

7 Sep 92    0940   33 57.8 N   165 25.4 E   269.1   514.7

7 Sep 92    0952   33 57.8 N   165 25.4 E   270.3   516.5

8 Sep 92    0751   32 47.0 N   165 03.0 E   269.4   509.8

8 Sep 92    0803   32 47.0 N   165 03.0 E   269.8   513.0

8 Sep 92    0814   32 47.0 N   165 03.0 E   270.0   512.6

8 Sep 92    0825   32 47.0 N   165 03.0 E   270.0   512.1

8 Sep 92    0836   32 47.0 N   165 03.0 E   270.8   511.3

9 Sep 92    0703   30 43.0 N   164 59.7 E   271.8   510.2

9 Sep 92    0714   30 43.0 N   164 59.7 E   270.3   511.3

9 Sep 92    0725   30 43.0 N   164 59.7 E   270.8   511.0

9 Sep 92    0737   30 43.0 N   164 59.7 E   273.5   511.5

28 Sep 92    0241   14 44.2 N   165 50.3 E   273.6   508.4

28 Sep 92    0252   14 44.2 N   165 50.3 E   270.6   509.9

28 Sep 92    0302   14 44.2 N   165 50.3 E   270.7   507.1

28 Sep 92    0342   14 44.2 N   165 50.3 E   268.9   509.7

29 Sep 92    0341   19 49.5 N   165 35.3 E   272.5   519.6

29 Sep 92    0354   19 49.5 N   165 35.3 E   273.5   519.4

29 Sep 92    0406   19 49.5 N   165 35.3 E   272.1   515.5

29 Sep 92    0419   19 49.5 N   165 35.3 E   273.1   515.8

30 Sep 92    0451   22 53.0 N   165 07.1 E   272.6   521.9

30 Sep 92    0503   22 53.0 N   165 07.1 E   271.6   521.4

30 Sep 92    0514   22 53.0 N   165 07.1 E   272.4   519.2

30 Sep 92    0526   22 53.0 N   165 07.1 E   272.1   516.9

1 Oct 92    2104   19 49.0 N   165 00.0 E   271.0   511.9

1 Oct 92    2132   19 49.0 N   165 00.0 E   270.2   511.0

1 Oct 92    2143   19 49.0 N   165 00.0 E   271.8   512.6

1 Oct 92    2153   19 49.0 N   165 00.0 E   271.7   512.1

4 Oct 92    0334   19 49.0 N   165 00.0 E   271.6   510.0

4 Oct 92    0346   23 26.5 N   164 57.7 E   271.5   510.4

4 Oct 92    0357   23 26.5 N   164 57.7 E   271.7   512.6

4 Oct 92    0409   23 26.5 N   164 57.7 E   271.8   510.4

6 Oct 92    0018   23 26.5 N   164 57.7 E   272.0   510.5

6 Oct 92    0029   23 26.5 N   164 57.7 E   271.1   511.8

6 Oct 92    0043   23 26.5 N   164 57.7 E   270.9   512.3

8 Oct 92    0350   17 57.9 N   164 57.6 E   268.9   509.3

8 Oct 92    0401   17 57.9 N   164 57.6 E   267.5   503.1

8 Oct 92    0415   17 57.9 N   164 57.6 E   263.9   498.8

8 Oct 92    0426   17 57.9 N   164 57.6 E   268.1   506.6

8 Oct 92    0452   17 57.9 N   164 57.6 E   270.9   513.5

8 Oct 92    0503   17 57.9 N   164 57.6 E   270.8   514.3

8 Oct 92    0516   17 57.9 N   164 57.6 E   271.9   513.2

8 Oct 92    0527   17 57.9 N   164 57.6 E   270.1   512.0

10 Oct 92    0057   12 35.5 N   165 22.0 E   270.7   502.8

10 Oct 92    0108   12 35.5 N   165 22.0 E   266.2   504.1

10 Oct 92    0119   12 35.5 N   165 22.0 E   265.2   505.9

10 Oct 92    2322   10 01.3 N   165 00.0 E   267.6   502.2

10 Oct 92    2334   10 01.3 N   165 00.0 E   267.0   505.4

10 Oct 92    2345   10 01.3 N   165 00.0 E   267.6   506.3

15 Oct 92    0311   01 00.0 S   164 59.8 E   266.8   502.8

15 Oct 92    0327   01 00.0 S   164 59.8 E   266.2   504.3

15 Oct 92    0342   01 00.0 S   164 59.8 E   266.2   504.6

15 Oct 92    0356   01 00.0 S   164 59.8 E   266.0   504.8

17 Oct 92    2237   08 11.0 S   163 33.0 E   265.0   502.7

17 Oct 92    2249   08 11.0 S   163 33.0 E   264.5   500.8

17 Oct 92    2301   08 11.0 S   163 33.0 E   264.5   499.4

17 Oct 92    2312   08 11.0 S   163 33.0 E   265.7   501.3

Underway Measurements of Atmospheric CFCs, interpolated to

Station Locations:

(see section above  for discussion of CFC analysis techniqes

and units)

STATION                                        F11     F12

NUMBER   Latitude    Longitude      Date      PPT     PPT

1   36 37.9 N   123 13.5 W    7 Aug 92   270.4   507.4

2   38 04.7 N   124 49.9 W    7 Aug 92   270.4   507.4

3   41 25.7 N   128 52.2 W    8 Aug 92   270.4   507.4

4   49 59.0 N   144 59.0 W   11 Aug 92   270.0   505.6

5   54 14.7 N   171 44.6 W   17 Aug 92   273.6   515.1

6   54 14.6 N   161 06.6 E   21 Aug 92   273.5   514.2

7   54 13.1 N   161 08.0 E   21 Aug 92   273.5   514.2

8   54 07.7 N   161 09.8 E   21 Aug 92   273.5   514.2

9   54 02.4 N   161 20.5 E   21 Aug 92   273.5   514.2

10   53 33.4 N   162 03.7 E   21 Aug 92   273.5   514.2

11   53 29.0 N   162 10.4 E   22 Aug 92   273.5   514.2

12   53 26.5 N   162 22.3 E   23 Aug 92   273.5   514.2

13   53 01.2 N   162 53.8 E   23 Aug 92   273.5   514.2

14   52 31.3 N   163 35.2 E   23 Aug 92   273.5   514.2

15   52 01.0 N   164 17.3 E   24 Aug 92   273.5   514.2

16   51 29.6 N   164 59.1 E   24 Aug 92   273.5   514.2

17   50 59.1 N   164 57.7 E   25 Aug 92   273.5   514.2

18   50 30.8 N   164 57.2 E   25 Aug 92   273.5   514.2

19   49 59.1 N   165 00.1 E   25 Aug 92   273.5   514.2

20   49 30.1 N   165 00.7 E   26 Aug 92   272.5   514.0

21   48 59.6 N   164 58.3 E   26 Aug 92   272.5   514.0

22   48 29.9 N   165 01.0 E   26 Aug 92   272.5   514.6

23   47 59.3 N   165 00.1 E   26 Aug 92   272.5   514.6

24   47 30.1 N   165 00.2 E   27 Aug 92   272.5   514.6

25   46 59.9 N   164 59.2 E   27 Aug 92   271.8   513.9

26   46 30.0 N   165 01.1 E   27 Aug 92   271.8   513.9

27   45 59.7 N   165 00.0 E   28 Aug 92   271.8   513.9

28   45 29.8 N   164 58.7 E   28 Aug 92   271.8   513.9

29   44 59.5 N   164 58.9 E   30 Aug 92   271.8   513.9

30   44 29.7 N   165 00.5 E   30 Aug 92   271.8   514.9

31   44 00.2 N   164 57.8 E   31 Aug 92   271.8   514.9

32   43 30.2 N   165 01.1 E   31 Aug 92   271.8   514.9

33   43 00.5 N   165 00.0 E   31 Aug 92   271.8   514.9

34   42 30.5 N   165 00.1 E    1 Sep 92   271.8   514.9

35   42 00.7 N   165 01.9 E    1 Sep 92   271.8   514.9

36   41 30.4 N   165 00.7 E    1 Sep 92   271.8   514.9

37   41 02.6 N   165 00.3 E    2 Sep 92   271.8   514.9

38   40 30.4 N   165 00.6 E    2 Sep 92   273.0   514.5

39   40 00.9 N   165 00.2 E    2 Sep 92   273.0   514.5

40   39 29.8 N   165 01.1 E    3 Sep 92   273.0   514.5

41   39 01.2 N   165 01.3 E    3 Sep 92   273.0   514.5

42   38 28.9 N   165 04.8 E    3 Sep 92   271.5   513.2

43   37 56.7 N   164 59.3 E    4 Sep 92   271.5   513.2

44   37 30.1 N   165 01.3 E    4 Sep 92   271.5   513.2

45   37 02.3 N   164 59.5 E    5 Sep 92   271.5   513.2

46   36 31.8 N   165 00.4 E    5 Sep 92   271.5   513.2

47   36 00.8 N   165 00.5 E    5 Sep 92   271.5   513.2

48   35 21.6 N   165 00.7 E    6 Sep 92   271.5   513.2

49   34 42.0 N   165 03.2 E    6 Sep 92   269.8   513.2

50   34 02.5 N   165 03.2 E    7 Sep 92   269.8   513.2

51   33 22.6 N   165 01.0 E    7 Sep 92   269.8   513.2

52   32 41.9 N   165 01.5 E    8 Sep 92   270.3   512.5

53   32 00.0 N   165 00.5 E    8 Sep 92   270.3   512.5

54   31 19.6 N   164 59.0 E    9 Sep 92   270.7   511.4

55   30 41.3 N   164 58.5 E   10 Sep 92   270.7   511.4

56   21 56.0 N   165 00.0 E   30 Sep 92   271.8   514.7

57   21 19.2 N   165 00.5 E   30 Sep 92   272.0   515.9

58   20 39.9 N   164 59.2 E    1 Oct 92   271.9   514.2

59   19 59.3 N   165 00.3 E    1 Oct 92   271.9   514.2

61   19 32.3 N   165 02.2 E    2 Oct 92   271.9   514.2

62   18 39.9 N   164 35.9 E    2 Oct 92   269.0   508.8

63   24 00.4 N   165 00.2 E    4 Oct 92   271.5   511.3

64   26 00.8 N   165 02.0 E    5 Oct 92   271.5   511.3

65   28 02.0 N   164 59.9 E    5 Oct 92   271.5   511.3

66   16 00.5 N   164 59.5 E    8 Oct 92   269.0   508.8

67   14 00.5 N   164 59.4 E    9 Oct 92   268.3   507.0

68   12 35.4 N   165 22.0 E    9 Oct 92   267.4   504.5

69   10 00.5 N   165 00.1 E   10 Oct 92   267.4   504.5

70   08 00.8 N   165 01.3 E   11 Oct 92   267.4   504.5

71   06 00.2 N   165 01.1 E   12 Oct 92   267.4   504.5

72   04 00.1 N   165 00.3 E   12 Oct 92   266.8   504.3

73   03 00.1 N   164 59.6 E   12 Oct 92   266.8   504.3

74   01 59.8 N   164 59.4 E   13 Oct 92   266.8   504.3

75   01 30.2 N   164 59.2 E   13 Oct 92   266.8   504.3

76   01 00.0 N   164 59.2 E   13 Oct 92   266.1   503.1

77   00 30.3 N   164 59.0 E   14 Oct 92   265.6   502.6

78   00 01.4 N   164 54.5 E   14 Oct 92   265.6   502.6

79   00 29.9 S   164 59.9 E   14 Oct 92   265.6   502.6

80   00 59.5 S   164 59.6 E   15 Oct 92   265.6   502.6

81   01 29.9 S   164 59.2 E   15 Oct 92   265.6   502.6

82   01 59.8 S   164 55.5 E   15 Oct 92   265.6   502.6

83   02 47.8 S   164 54.8 E   16 Oct 92   265.6   502.6

84   03 11.5 S   164 43.6 E   16 Oct 92   265.6   502.6

85   03 34.3 S   164 32.3 E   16 Oct 92   265.6   502.6

86   03 58.5 S   164 21.5 E   16 Oct 92   265.6   502.6

87   04 21.6 S   164 10.4 E   16 Oct 92   265.6   502.6

88   04 44.9 S   164 00.2 E   17 Oct 92   265.6   502.6

D. ACKNOWLEDGEMENTS:

Funds for shiptime and measurment programs was supplied by

NOAA's Climate and Global Change Program (NOAA-C&GC).

Funds for the nutrient measurment program was supplied by

the US National Science Foundation and NOAA-C&GC.

APPENDIX 1.  P13 (CGC96) Station locations:

Leg 0

STNNBR   Latitude    Longitude      Date

1   36 37.9 N   123 13.5 W    7 Aug 92

2   38 04.7 N   124 49.9 W    7 Aug 92

3   41 25.7 N   128 52.2 W    8 Aug 92

4   49 59.0 N   144 59.0 W   11 Aug 92

Leg 1

STNNBR   Latitude    Longitude      Date

5   54 14.7 N   171 44.6 W   17 Aug 92

6   54 14.6 N   161 06.6 E   21 Aug 92

7   54 13.1 N   161 08.0 E   21 Aug 92

8   54 07.7 N   161 09.8 E   21 Aug 92

9   54 02.4 N   161 20.5 E   21 Aug 92

10   53 33.4 N   162 03.7 E   21 Aug 92

11   53 29.0 N   162 10.4 E   22 Aug 92

12   53 26.5 N   162 22.3 E   23 Aug 92

13   53 01.2 N   162 53.8 E   23 Aug 92

14   52 31.3 N   163 35.2 E   23 Aug 92

15   52 01.0 N   164 17.3 E   24 Aug 92

16   51 29.6 N   164 59.1 E   24 Aug 92

17   50 59.1 N   164 57.7 E   25 Aug 92

18   50 30.8 N   164 57.2 E   25 Aug 92

19   49 59.1 N   165 00.1 E   25 Aug 92

20   49 30.1 N   165 00.7 E   26 Aug 92

21   48 59.6 N   164 58.3 E   26 Aug 92

22   48 29.9 N   165 01.0 E   26 Aug 92

23   47 59.3 N   165 00.1 E   26 Aug 92

24   47 30.1 N   165 00.2 E   27 Aug 92

25   46 59.9 N   164 59.2 E   27 Aug 92

26   46 30.0 N   165 01.1 E   27 Aug 92

27   45 59.7 N   165 00.0 E   28 Aug 92

28   45 29.8 N   164 58.7 E   28 Aug 92

29   44 59.5 N   164 58.9 E   30 Aug 92

30   44 29.7 N   165 00.5 E   30 Aug 92

31   44 00.2 N   164 57.8 E   31 Aug 92

32   43 30.2 N   165 01.1 E   31 Aug 92

33   43 00.5 N   165 00.0 E   31 Aug 92

34   42 30.5 N   165 00.1 E    1 Sep 92

35   42 00.7 N   165 01.9 E    1 Sep 92

36   41 30.4 N   165 00.7 E    1 Sep 92

37   41 02.6 N   165 00.3 E    2 Sep 92

38   40 30.4 N   165 00.6 E    2 Sep 92

39   40 00.9 N   165 00.2 E    2 Sep 92

40   39 29.8 N   165 01.1 E    3 Sep 92

41   39 01.2 N   165 01.3 E    3 Sep 92

42   38 28.9 N   165 04.8 E    3 Sep 92

43   37 56.7 N   164 59.3 E    4 Sep 92

44   37 30.1 N   165 01.3 E    4 Sep 92

45   37 02.3 N   164 59.5 E    5 Sep 92

46   36 31.8 N   165 00.4 E    5 Sep 92

47   36 00.8 N   165 00.5 E    5 Sep 92

48   35 21.6 N   165 00.7 E    6 Sep 92

49   34 42.0 N   165 03.2 E    6 Sep 92

50   34 02.5 N   165 03.2 E    7 Sep 92

51   33 22.6 N   165 01.0 E    7 Sep 92

52   32 41.9 N   165 01.5 E    8 Sep 92

53   32 00.0 N   165 00.5 E    8 Sep 92

54   31 19.6 N   164 59.0 E    9 Sep 92

55   30 41.3 N   164 58.5 E   10 Sep 92

Leg 3

STNNBR   Latitude    Longitude      Date

56   21 56.0 N   165 00.0 E   30 Sep 92

57   21 19.2 N   165 00.5 E   30 Sep 92

58   20 39.9 N   164 59.2 E    1 Oct 92

59   19 59.3 N   165 00.3 E    1 Oct 92

61   19 32.3 N   165 02.2 E    2 Oct 92

62   18 39.9 N   164 35.9 E    2 Oct 92

63   24 00.4 N   165 00.2 E    4 Oct 92

64   26 00.8 N   165 02.0 E    5 Oct 92

65   28 02.0 N   164 59.9 E    5 Oct 92

66   16 00.5 N   164 59.5 E    8 Oct 92

67   14 00.5 N   164 59.4 E    9 Oct 92

68   12 35.4 N   165 22.0 E    9 Oct 92

69   10 00.5 N   165 00.1 E   10 Oct 92

70   08 00.8 N   165 01.3 E   11 Oct 92

71   06 00.2 N   165 01.1 E   12 Oct 92

72   04 00.1 N   165 00.3 E   12 Oct 92

73   03 00.1 N   164 59.6 E   12 Oct 92

74   01 59.8 N   164 59.4 E   13 Oct 92

75   01 30.2 N   164 59.2 E   13 Oct 92

76   01 00.0 N   164 59.2 E   13 Oct 92

77   00 30.3 N   164 59.0 E   14 Oct 92

78   00 01.4 N   164 54.5 E   14 Oct 92

79   00 29.9 S   164 59.9 E   14 Oct 92

80   00 59.5 S   164 59.6 E   15 Oct 92

81   01 29.9 S   164 59.2 E   15 Oct 92

82   01 59.8 S   164 55.5 E   15 Oct 92

83   02 47.8 S   164 54.8 E   16 Oct 92

84   03 11.5 S   164 43.6 E   16 Oct 92

85   03 34.3 S   164 32.3 E   16 Oct 92

86   03 58.5 S   164 21.5 E   16 Oct 92

87   04 21.6 S   164 10.4 E   16 Oct 92

88   04 44.9 S   164 00.2 E   17 Oct 92