A.  ORIGINATOR IDENTIFICATION

1.  NAME AND ADDRESS OF INSTITUTION, LABORATORY WITH WHICH SUBMITTED DATA

ARE ASSOCIATED:

STS/Oceanographic Data Facility

Scripps Institution of Oceanography

University of California, San Diego  A-014

La Jolla, CA 92093

2.  EXPEDITION DURING WHICH DATA WERE COLLECTED:

GEOSECS Atlantic, Pacific and Indian Oceans

3.  CRUISE NUMBER USED BY ORIGINATOR TO IDENTIFY DATA IN THIS SHIPMENT:

30  = Atlantic

31  = Pacific

135 = Indian Ocean

4.  PLATFORM NAME:

KNORR

MELVILLE

MELVILLE

5.  PLATFORM TYPE:

Research Vessel

6.  PLATFORM AND OPERATOR NATIONALITY:

PLATFORM: U.S.A.

OPERATOR: U.S.A.

7.  DATES: MO/DA/YR

Atlantic     Pacific    Indian Ocean

FROM:  07/18/72     08/22/73    12/04/77

TO:    04/01/73     06/10/74    04/24/78

8.  RELEASE DATE IF DATA PROPRIETARY:

N.A.

9.  ARE DATA DECLARED NATIONAL PROGRAM (DNP)?

Yes

10.  PERSON TO WHOM INQUIRIES CONCERNING DATA SHOULD BE ADDRESSED:

ADDRESS SAME AS # 1.

Robert T. Williams    or   Kristin M. Sanborn

(619) 534-4426             (619) 534-1904

********DATA FORMAT

1.  RECORD TYPES

MASTER INFORMATION (AS PER NODC STATION DATA II) - IDENTIFIED BY A 1 IN

LAST CHARACTER OF LOGICAL RECORD OF 80 CHARACTERS

MASTER INFORMATION (AS PER NODC STATION DATA II) - IDENTIFIED BY A 2 IN

LAST CHARACTER OF LOGICAL RECORD OF 80 CHARACTERS

DATA RECORD (MODIFIED VERSION OF NODC STATION DATA II)  - IDENTIFIED BY A 3

IN LAST CHARACTER OF LOGICAL RECORD OF 80 CHARACTERS

DATA RECORD - IDENTIFIED BY A 4 IN

LAST CHARACTER OF LOGICAL RECORD OF 80 CHARACTERS

DATA RECORD - IDENTIFIED BY A 5 IN

LAST CHARACTER OF LOGICAL RECORD OF 80 CHARACTERS

DATA RECORD - IDENTIFIED BY A 6 IN

LAST CHARACTER OF LOGICAL RECORD OF 80 CHARACTERS

DATA RECORD - IDENTIFIED BY A 7 IN

LAST CHARACTER OF LOGICAL RECORD OF 80 CHARACTERS

2. DESCRIPTION OF FILE ORGANIZATION

LOGICAL RECORD LENGTH OF 80 CHARACTERS

PHYSICAL RECORD LENGTH OF 3200 CHARACTERS

FOR EACH STATION, TWO MASTER RECORD FOLLOWED BY AT LEAST ONE DATA

RECORD (RECORD 3)FOR EACH LEVEL THEN MAXIMUM OF 4 DATA RECORDS FOR

THE NISKINS AND MAXIMUM OF 2 FOR GERARDS

FOR EACH OCEAN 2 FILES ONE NISKIN DATA SECOND GERARD FILE

ATLANTIC FIRST 2 FILES FOLLOWED BY PACIFIC THEN INDIAN OCEAN

FILE 1 = ATLANTIC NISKIN DATA

FILE 2 = ATLANTIC GERARD DATA

FILE 3 = PACIFIC NISKIN DATA

FILE 4 = PACIFIC GERARD DATA

FILE 5 = INDIAN OCEAN NISKIN DATA

FILE 6 = INDIAN OCEAN GERARD DATA

FILE 7 = DOCUMENTATION

3. ATTRIBUTES AS EXPRESSED IN FORTRAN

4.  LABEL

SCRIPPS INSTITUTION OF OCEANOGRAPHY

STS/OCEANOGRAPHIC DATA FACILITY    TAPE # 2

ASCII;1600BPI NRZI;9-TRACK;PARITY ODD;

FILES=7;BLOCK=3200;RECORD LENGTH=80

PROJECT: GEOSECS SHIPBOARD/SHOREBASED DATA

DATE: 5 FEBRUARY 1986

MASTER INFORMATION #1

STARTING FIELD

COLUMN  WIDTH ATTRIBUTES  USAGE DESCRIPTION

1     (1)      I1      NON-ZERO INDICATES MULTI-RECORD STATION

2     (3)      A3      ORIGINATIOR'S NATIONALITY

14     (2)      I2      19 = ROSETTE/NISKIN ID

18     (4)      I4      CANADIAN 10-DEGREE SQUARE

22     (2)      I2      ONE-DEGREE SQUARE;  CANADIAN SYSTEM

24     (2)      I2      TWO-DEGREE SQAUARE; CANADIAN

26     (1)      I1      FIVE-DEGREE SQUARE; CANADIAN

27     (1)      A1      HEMISPHERE OF LATITUDE N OR S

28     (2)      I2      DEGREES LATITUDE

30     (2)      I2      MINUTES LATITUDE

32     (1)      I1      MINUTES LATITUDE, TENTHS

33     (1)      A1      HEMISPHERE OF LONGITUDE E OR W

34     (3)      I3      DEGREES LONGITUDE

37     (2)      I2      MINUTES LATITUDE

39     (1)      I1      MINUTES LATITUDE, TENTHS

41     (2)      I2      YEAR

43     (2)      I2      MONTH OF YEAR, GMT

45     (2)      I2      DAY OF MONTH, GMT

50     (6)      A6      ALPHANUMERIC SHIP CODE; LEFT JUSTIFIED

56     (5)      I5      DEPTH TO BOTTOM, METERS

71     (4)      I4      FIRST OBSERVED DEPTH

75     (4)      I4      MAXIMUM SAMPLING DEPTH

79     (1)      I1      NEXT RECORD INDICATOR - ALWAYS 2

80     (1)      I1      RECORD INDICATOR - ALWAYS 1

MASTER INFORMATION #2

STARTING FIELD

COLUMN  WIDTH ATTRIBUTES  USAGE DESCRIPTION

15     (3)      A3      ORIGINATOR'S CRUISE

18     (9)      A9      ORIGINATOR'S STATION (SEQUENCE #)

62     (3)      I3      NUMBER OF OBSERVED DEPTH

67     (3)      I3      NUMBER OF DETAIL DEPTHS

79     (1)      I1      NEXT RECORD INDICATOR - ALWAYS 3

80     (1)      I1      RECORD INDICATOR - ALWAYS 2

OBSERVED DEPTH INFORMATION

STARTING FIELD  ATTRIBUTES

COLUMN  WIDTH             USAGE DESCRIPTION

1     (5)      I5      DEPTH, METERS

6     (1)      A1      PRESSURE QUALITY INDICATOR

7     (1)      A1      TOTAL CO2 QUALITY INDICATOR

8     (5)    F5.3      TEMPERATURE, CELSIUS

13     (1)      I1      TEMPERATURE, PRECISION

14     (1)      A1      TEMPERATURE QUALITY INDICATOR

15     (5)    F5.3      SALINITY, PER MIL

20     (1)      I1      SALINITY PRECISION

21     (1)      A1      SALINITY QUALITY INDICATOR

22     (1)      A1      OXYGEN QUALITY INDICATOR

23     (1)      A1      PHOSPHATE QUALITY INDICATOR

24     (1)      A1      NITRITE QUALITY INDICATOR

25     (1)      A1      NITRATE QUALITY INDICATOR

26     (1)      A1      ALKALINITY QUALITY INDICATOR

27     (5)      I5      PRESSURE,DECIBARS

32     (1)      A1      SILICATE QUALITY INDICATOR

33     (4)      I4      OXYGEN, MICROMOLES/KILOGRAM

37     (4)      I4      ALKALINITY, MICROEQUIVALENTS/KILOGRAM

41     (4)      I4      TOTAL CO2, MICROMOLES/KILOGRAM

45     (2)      I2      CAST NUMBER

47     (2)      I2      BOTTLE NUMBER

49     (4)    F4.2      PHOSPHATE, MICROMOLES/KILOGRAM

53     (1)      I1      PHOSPHATE PRECISION

54     (4)     F4.0     GC CO2, MICROMOLES/KILOGRAM

58     (1)      I1      GC CO2, QUALITY INDICATOR

59     (4)    F4.1      SILICATES, MICROMOLES/KILOGRAM

63     (1)      I1      SILICATES PRECISION

64     (3)    F3.2      NITRITES, MICROMOLES/KILOGRAM

67     (1)      I1      NITRITES PRECISION

68     (3)    F3.1      NITRATES, MICROMOLES/KILOGRAM

71     (1)      I1      NITRATE PRECISION

72     (3)     F3.2     PH

75     (1)      I1      PH, PRECISION

76     (3)      3X

79     (1)      I1      NEXT RECORD TYPE

80     (1)      I1      RECORD TYPE - ALWAYS 3

IF DATA NOT PRESENT, PRECISION FIELD = 9

QUALITY INDICATOR = FOOTNOTE (SEE ATTACHMENT #1)

PRECISION = NUMBER OF ACCEPTABLE DECIMAL PLACES

ATTACHMENT #1

ALPHABETIC CHARACTERS FOUND IN DATA RECORD 1 DESIGNATED AS QUALITY INDICATORS,

INDICATE THE FOLLOWING:

A DATA TAKEN FROM CTD DOWN TRACE

B TEMPERATURE CALCULATED FROM UNPROTECTED THERMOMETER

C DEPTH CALCULATED FROM WIRE OUT

D DATA EXTRACTED FROM CTD RECORDS (NORMALLY TAKEN BY DISRETE MEASUREMENTS;

AS IS THE CASE FOR SALINITIES)

E VALUES ORIGINALLY REPORTED IN REVERSE ORDER

G DATA APPEARING TO BE IN ERROR, BUT WHICH HAS BEEN VERIFIED BY OTHER

MEASUREMENTS

H THERMOMETRIC DATA (NORMALLY MEASURED BY CTD; AS IS THE CASE FOR

TEMPERATURES)

K KNOWN ERROR

P PRETRIP OR POSTTRIP

U UNCERTAIN DATA

PRECISION INDICATORS REFER TO ACCURACY AS RECOMMENDED BY OUR DATA FACILITY

NISKIN SHOREBASED DATA DATA RECORD 4

STARTING FIELD  ATTRIBUTES

COLUMN  WIDTH             USAGE DESCRIPTION

1    (3)       F3.0   #PARTICULATE CONCENTRATION    (UG/KG)    LDGO

4    (1)         1X

5    (2)       F2.1   #PARTICULATE CONC. PRECISION  (2 SIGMA)   LDGO

7    (3)       F3.0   #PARTICULATE CONCENTRATION    (UG/KG)     WHOI

10    (4)       F4.1   #BARIUM                       (NM/KG)     LSU

14    (4)       F4.1   #BARIUM                       (NM/KG)     MIT

18    (1)         1X

19    (5)       I5     #TOTAL ORGANIC CARBON         (UM/KG)     OSU

24    (4)       I4     #T ORGANIC CARBON PRECISION   (UM/KG)     OSU

28    (1)         1X

29    (4)       F4.2   #delta C13                    (PER MIL)   UH

33    (1)         1X

34    (4)       F4.2   #delta C13                    (PER MIL)   SIO

38    (2)

40    (3)       F3.1   #delta O-18 (DIS O2)          (PER MIL)   UH

43    (4)       F4.2   #delta 18-O                   (PER MIL)   SIO

47    (4)       F4.1   #DEUTERIUM                    (PERCENT)   SIO

51    (3)       F4.1   #RA226                        (DPM/100KG) LDGO

55    (2)         2X

57    (2)       F2.1   #RA226  PRECISION             (DPM/100KG) LDGO

59    (4)       F4.1   #RA226                        (DPM/100KG) SIO

63    (2)         2X

65    (2)       F2.1   #RA226  PRECISION             (DPM/100KG) SIO

67    (2)       A2     #RA226  FOOTNOTE                          SIO

69    (4)       F4.1   #RA226                        (DPM/100KG) USC

73    (2)         2X

75    (2)       F2.1   #RA226 PRECISION              (DPM/100KG) USC

77    (2)         2X

79    (1)       I1      NEXT RECORD TYPE

80    (1)       I1      RECORD TYPE - ALWAYS 4

NISKIN SHOREBASED DATA DATA RECORD 5

STARTING FIELD  ATTRIBUTES

COLUMN  WIDTH             USAGE DESCRIPTION

1    (1)         1X

2    (3)       F3.1    #PB210 (SOL)                 (DPM/100KG) SIO

5    (2)         2X

7    (2)       F2.1    #PB210 (SOL) PRECISION       (DPM/100KG) SIO

9    (2)       A2      #PB210 (SOL) FOOTNOTE                    SIO

11    (1)         1X

12    (3)       F3.1    #PB210 (SOL)                 (DPM/100KG) WHOI

15    (2)         2X

17    (2)       F2.1    #PB210 (SOL) PRECISION       (DPM/100KG) WHOI

19    (1)         1X

20    (3)       F3.1    #PB210 (SOL)                 (DPM/100KG) YALE

23    (2)         2X

25    (2)       F2.1    #PB210 (SOL) PRECISION       (DPM/100KG) YALE

27    (1)         1X

28    (3)       F3.1    #PB210 (TOT)                 (DPM/100KG) SIO

31    (2)         2X

33    (2)       F2.1    #PB210 (TOT) PRECISION       (DPM/100KG) SIO

35    (2)       A2      #PB210 (TOT) FOOTNOTE                    SIO

37    (1)         1X

38    (3)       F3.1    #PB210 (TOT)                 (DPM/100KG) YALE

41    (2)         2X

43    (2)       F2.1    #PB210 (TOT) PRECISION       (DPM/100KG) YALE

45    (1)         1X

46    (3)       F3.2    #PB210 (PAR)                 (DPM/100KG) SIO

49    (1)         1X

50    (3)       F3.2    #PB210 (PAR) PRECISION       (DPM/100KG) SIO

53    (2)       A2      #PB210 (PAR) FOOTNOTE                    SIO

55    (1)         1X

56    (3)       F3.2    #PB210 (PAR)                 (DPM/100KG) YALE

59    (1)         1X

60    (3)       F3.2    #PB210 (PAR) PRECISION       (DPM/100KG) YALE

63    (1)         1X

64    (3)       F3.1    #PO210 (SOL)                 (DPM/100KG) SIO

67    (2)         2X

69    (2)       F2.1    #PO210 (SOL) PRECISION       (DPM/100KG) SIO

71    (2)       A2      #PO210 (SOL) FOOTNOTE                    SIO

73    (6)         6X

79    (1)       I1      NEXT RECORD TYPE

80    (1)       I1      RECORD TYPE - ALWAYS 5

NISKIN SHOREBASED DATA DATA RECORD 6

STARTING FIELD  ATTRIBUTES

COLUMN  WIDTH             USAGE DESCRIPTION

1    (1)         1X

2    (3)       F3.1    #PO210 (SOL)                 (DPM/100KG) WHOI

5    (2)         2X

7    (2)       F2.1    #PO210 (SOL) PRECISION       (DPM/100KG) WHOI

9    (5)         5X

14    (3)       F3.1    #PO210 (SOL)                 (DPM/100KG) YALE

17    (4)         4X

21    (2)       F2.1    #PO210 (SOL) PRECISION       (DPM/100KG) YALE

23    (1)         1X

24    (3)       F3.2    #PO210 (PAR)                 (DPM/100KG) SIO

27    (1)         1X

28    (3)       F3.2    #PO210 (PAR) PRECISION       (DPM/100KG) SIO

31    (2)       A2      #PO210 (PAR) FOOTNOTE                    SIO

33    (1)         1X

34    (4)       F4.2    #TRITIUM                     (TU)        UM

38    (2)         2X

40    (3)       F3.2    #TRITIUM    PRECISION        (SIGMA)     UM

43    (2)         2X

45    (3)       F3.2    #HELIUM                      (CC/KG * 10**-5) MCM

48    (1)         1X

49    (3)       F3.2    #HELIUM PRECISION            (CC/KG * 10**-5) MCM

52    (2)       A2      #HELIUM FOOTNOTE                              MCM

54    (2)         2X

56    (3)       F3.2    #HELIUM                      (CC/KG * 10**-5) SIO

59    (1)         1X

60    (3)       F3.2    #HELIUM PRECISION            (CC/KG * 10**-5) SIO

63    (2)       A2      #HELIUM FOOTNOTE                              SIO

65    (2)         2X

67    (3)       F3.2    #HELIUM                      (CC/KG * 10**-5) WHOI

70    (1)         1X

71    (2)       F2.1    #HELIUM PRECISION            (CC/KG * 10**-5) WHOI

73    (6)         6X

79    (1)       I1      NEXT RECORD TYPE

80    (1)       I1      RECORD TYPE - ALWAYS 6

NISKIN SHOREBASED DATA DATA RECORD 7

STARTING FIELD  ATTRIBUTES

COLUMN  WIDTH             USAGE DESCRIPTION

1    (1)         1X

2    (3)       F3.1     #delta 3HE                  (PERCENT)        MCM

5    (1)         1X

6    (2)       F2.1     #delta 3HE PRECISION        (PERCENT)        MCM

8    (2)       A2       #delta 3HE FOOTNOTE                          MCM

10    (1)         1X

11    (3)       F3.1     #delta 3HE                  (PERCENT)        SIO

13    (1)         1X

15    (2)       F2.1     #delta 3HE PRECISION        (PERCENT)        SIO

17    (2)       A2       #delta 3HE FOOTNOTE                          SIO

19    (1)         1X

20    (3)       F3.1     #delta 3HE                  (PERCENT)        WHOI

23    (3)       F3.2     #delta 3HE PRECISION        (PERCENT)        WHOI

26    (1)         1X

27    (3)       F3.1     #DELTA HE/NE                (PERCENT)        MCM

30    (2)         2X

32    (2)       F2.1    #DELTA HE/NE PRECISION       (PERCENT)        MCM

34    (1)         1X

35    (3)       F3.1    #DELTA HE/NE                 (PERCENT)        SIO

38    (1)         1X

39    (2)       F2.1    #DELTA HE/NE PRECISION       (PERCENT)        SIO

41    (2)       A2      #DELTA HE/NE FOOTNOTE                         SIO

43    (2)         2X

45    (4)       F4.2    #NEON                        (CC/KG * 10**-5) MCM

49    (1)         1X

50    (3)       F3.2    #NEON PRECISION              (CC/KG * 10**-5) MCM

53    (2)       A2      #NEON FOOTNOTE                                MCM

55    (2)         2X

57    (4)       F4.2    #NEON                        (CC/KG * 10**-5) SIO

62    (3)       F3.2    #NEON PRECISION              (CC/KG * 10**-5) SIO

65    (2)       A2      #NEON FOOTNOTE                                SIO

67    (12)       12X

79    (1)       I1      NEXT RECORD TYPE

80    (1)       I1      RECORD TYPE - ALWAYS 7

GERARD SHOREBASED DATA DATA RECORD 4

STARTING FIELD  ATTRIBUTES

COLUMN  WIDTH             USAGE DESCRIPTION

1     (1)         1X

2     (3)       F3.1     SR-90                       (DPM/100KG)  WHOI

5     (2)         2X

7     (2)       F2.1     SR-90 PRECISION             (DPM/100KG)  WHOI

9     (1)         1X

10     (3)       F3.1     CS-137                      (DPM/100KG)  WHOI

13     (1)         1X

14     (2)       F2.1     CS-137 PRECISION            (DPM/100KG)  WHOI

16     (5)       F5.3     239,240 PU                  (DPM/100KG)  WHOI

21     (4)       F4.3     239,240 PU PRECISION        (DPM/100KG)  WHOI

25     (1)         1X

26     (3)       F3.1     PB-210 (SOL)                (DPM/100KG) SIO

29     (2)         2X

31     (2)       F2.1     PB-210 (SOL) PRECISION      (DPM/100KG) SIO

33     (2)       A2       PB-210 (SOL) FOOTNOTE                   SIO

35     (5)         5X

40     (3)       F3.2     PB-210 (PAR)                (DPM/100KG) SIO

43     (1)         1X

44     (3)       F3.2     PB-210 (PAR) PRECISION      (DPM/100KG) SIO

47     (2)       A2       PB-210 (PAR) FOOTNOTE                   SIO

49     (5)         5X

54     (3)       F3.1     PB-210 (TOT)                (DPM/100KG) SIO

57     (2)         2X

59     (2)       F2.1     PB-210 (TOT) PRECISION      (DPM/100KG) SIO

61     (2)       A2       PB-210 (TOT) FOOTNOTE                   SIO

63     (4)         4X

67     (4)       F4.1     RA-226                      (DPM/100KG) LDGO

71     (2)         2X

73     (2)       F2.1     RA-226 PRECISION            (DPM/100KG) LDGO

75     (4)         4X

79     (1)       I1      NEXT RECORD TYPE

80     (1)       I1      RECORD TYPE - ALWAYS 4

GERARD SHOREBASED DATA DATA RECORD 5

STARTING FIELD  ATTRIBUTES

COLUMN  WIDTH             USAGE DESCRIPTION

1    (4)       F4.1    #RA-226                      (DPM/100KG) SIO

5    (2)         2X

7    (2)       F2.1    #RA-226 PRECISION            (DPM/100KG) SIO

9    (2)       A2       RA-226 FOOTNOTE                         SIO

11    (4)         4X

15    (4)       F4.1    #RA-226                      (DPM/100KG) USC

19    (2)         2X

21    (2)       F2.1    #RA-226 PRECISION            (DPM/100KG) USC

23    (4)       F4.2    #RA-228                      (DPM/100KG) LDGO

27    (4)       F4.2    #RA-228 PRECISION            (DPM/100KG) LDGO

31    (1)         1X

32    (3)       F3.2    #RA-228                      (DPM/100KG) NOOW

35    (1)         1X

36    (3)       F3.2    #RA-228 PRECISION            (DPM/100KG) NOOW

39    (2)       A2      #RA-228 FOOTNOTE                         NOOW

41    (6)         6X

47    (3)       F3.2    #TH-228                      (DPM/100KG) LDGO

50    (1)         1X

51    (3)       F3.2    #TH-228 PRECISION            (DPM/100KG) LDGO

54    (1)         1X

55    (4)       F4.2    #TRITIUM                     (TU)        UM

59    (2)         2X

61    (3)       F3.2    #TRITIUM PRECISION           (SIGMA)     UM

64    (1)         1X

65    (5)       F5.1    #BIG DELTA C-14              (PER MIL)   UW

70    (1)         1X

71    (5)       F5.1    #BIG DELTA C-14              (PER MIL)   UM

76    (3)         3X

79    (1)       I1      NEXT RECORD TYPE

80    (1)       I1      RECORD TYPE - ALWAYS 5

ATTACHMENT #2 FOOTNOTE EXPLANATION FOR NISKIN SHOREBASED DATA

INSTITUTION   PROPERTY  FOOTNOTE

SIO           HELIUM    E = ANALYZED, BUT BAD NUMBER - LEAKED DURING STORAGE

HE-3      F = DUPLICATE SAMPLES ANALYZED

NEON      L=LEAKED DURING ANALYSIS - SAMPLE LOST

PB-210    G=UNRELIABLE OR QUESTIONABLE, PROBABLY DUE TO

MEASUREMENTS

RA-226    H=SUSPECT

MCM           NEON      W=MCM CONSIDERS WRONG DUE TO SAMPLER LEAKS

HE-3

HELIUM

FOOTNOTE EXPLANATION FOR GERARD SHOREBASED DATA

INSTITUTION   PROPERTY   FOOTNOTE

NOOW           RA-228    <=LESS THAN

SIO            PB-210    S=UNRELIABLE OR QUESTIONABLE, DUE TO SAMPLE

COLLECTED SPECIFICALLY FROM SOME GERARD BOTTLES

WHICH COLLECTED UNRELIABLE SAMPLES REPEATEDLY AS

INDICATED BY THE DATA

G=UNRELIABLE OR QUESTIONABLE, PROBABLY DUE TO

MEASUREMENTS