_____________________  GASEX 98 CARBON BUOY DATA  ____________________________files:___Noaa data___leg2noaa.datleg3noaa.datposnoaa.dat___LODYC data___leg2lodyc.datposlodyc.dat___pictures___pos1a.ps and pos1b.ps -- buoy trajectoriessst.ps -- ship and buoy temps, leg 2sst3.ps -- ship and buoy temps, leg 3nlsis2.ps -- ship and buoy fCO2 at in situ temp, leg 2nls152.ps -- ship and buoy fCO2 at 15 C, leg 2nsst3.ps -- buoy and ship fco2 at ship temps, leg 3nsstline3.ps -- buoy vs ship fco2 at ship temp, leg 3winds.ps -- buoy and ship winds, leg 2fluxcomp1.eps -- buoy fluxes using Wanninkhof 1992______________________________________________________________________________				NOAA BUOY DATA_________________________________________________________________________________leg2noaa.dat___main experiment (Julian Day 150-1709fliers and buoy retrievals removed from data setdata is calibrated using shipboard fCO2 measurementsColumn1	Julian Day2	wind speed, m/s at 10m (from LODYC buoy)3	atmospheric fCO2 (using 369 ppm and atmos pressure from LODYC buoy)4	SST5	fCO2, in situ6	fCO2 at 15 C7	chlorophyll at 0 hr  (relative units)8	chlorophyll at 1 hr  (relative units)9	air temp10	Flux (Liss and Merlivat)  mol m-2 d-111	Flux (Wanninkhof)	  mol m-2 d-1___leg3noaa.dat___NOAA buoy data from Ponta Delgata to MiamiColumn1	Julian Day2	atmos. pressure (not good for NOAA buoy)3	SST4	chlorophyll at 0 hr5	chlorophyll at 1 hr6	fCO2 at 15 C7	fCO2 at in situ temp___posnoaa.dat___positions for NOAA buoy from 5/29 - 6/28Column1	year & month2	day3	hour4	minute5	second6	Latitude7	Longitude_______________________________________________________________________________				LODYC BUOY DATA__________________________________________________________________________________leg2lodyc.dat___main experimentfliers and buoy retrievals removed from data setraw data has been detrended to correct for biological growth (see figures)Column1	Julian Day2	wind speed, m/s at 10m (from LODYC buoy)3	atmospheric fCO2 (using 369 ppm and atmos pressure from LODYC buoy)4	SST5	fCO2, in situ  (detrended data)6	fCO2 at 15 C   (detrended data)7	chlorophyll at 0 hr  (relative units)8	chlorophyll at 1 hr  (relative units)9	air temp10	flux (Liss and Merlivat)   mol m-2 d-111 	flux (Wanninkhof)	   mol m-2 d-1___poslodyc.dat___positions for LODYC buoy from 5/27 - 6/29same headers as for NOAA buoy________________________________________________________________________________				     NOTES                                       ________________________________________________________________________________1.The leg3 data from the LODYC buoy are not good and show evidence of bubblesin the sensor.  The SST data between the two buoys are identical, but the fCO2data from the LODYC buoy is very noisy and eratic.  We are continuing to investigate the cause of the problems.2.  Buoy positions were received every 2 days.  At the beginning of the deployment,the two buoys emitted positions on the same day, on even-numbered days.  OnJune 7th, the LODYC buoy began emitting data every 2 days on odd-numbered days.3.Data reduction for noaa buoy data:The obvious 'fliers' have been removed, as well as the measurements made during the buoy retrievals.  The data were linearly interpolated over the removed datapoints.  There is a constant (ratio) offset between the buoy fCO2 and the ship fCO2 during the experiment.  The cause of the offset is most likely a physical problem with the sensor.  Wehave seen this same direction and magnitude of offset from other buoys afterthe buoys have been 'substantially jarred'.  These problems only occur in buoyshaving sensors made by the factory.  Sensors made in the laboratory show noproblems even after very rough conditions over long time periods at sea.  We areinvestigating this problem further.The ratio used is:ship/buoy = 0.9140 +/- 0.0126Raw data and ship vs buoy information is available upon request.  A more detailed report is forthcoming.4.Data reduction for lodyc buoy data:Due to a large trend in the fCO2 data, which most likely was due to biologicalgrowth, the lodyc data have been detrended to account for this effect.  Using a non-linear least squares fit to the data (y= 560 - 8t - 220 exp(-t), where t = time), this trend was removed.  The residuals were then adjusted to the average ofthe 4-5 fCO2 measurements made before the trend(growth) began.  (i.e.  after thedetrending process, the residuals have a mean of approximately zero, so in orderto re-adjust the values after the detrending process, the 1st detrended data pointwas set equal to the average of the 4 data points before the detrending wasstarted.  The time difference between the 1st detrended data point and the averageof the 4-5 data points of the non-detrended data is approx. 3 hours.)  The datawere then treated in the same manner as for the noaa buoy; i.e. a calibration tothe ship points was used to bring the ship and buoy data points into agreement.As with the noaa buoy, we used a ratio relationship between the ship fCO2 and the detrended lodyc buoy data.  The ratio used was:ship/buoy = 0.7771 +/- 0.005 5.From the comparison of the positions of the two buoys and from the estimation ofthe distance between the buoys, it appears that the LODYC buoy lost its drogue onabout day 162 (+/- 2 days ?).6.  The atmospheric fCO2 data are calculated from ship measurements of atmospheric fCO2(369 ppm) and the atmospheric pressure measured by the LODYC buoy.  The atmosphericpressure measured by the NOAA buoy was very noisy.7.The wind data used in calculating fluxes are from the LODYC buoy only.  The NOAAbuoy lost its anemometer early in the experiment.  The data are measured at approx.2 m height, and converted to 10m wind speeds using the equation:Uz/U10 = 1 + sqrt(Cd) x 1/0.4 x ln Z/10where Z = height in metersCd = drag coefficient: we used 1.3 x 10-3giving an average conversion coefficient of  U10 = U2 x 1.2 ________________________A more extensive report of the data analysis / reduction used for the buoys isforthcoming.________________________