SOLO – SEASCAN – FSI –ARGOS Dual Mission Message Format

August 30, 2004

This document describes the Argos format for a dual mission float.   During the first phase, it acts primarily as an acoustically tracked float, only profiling when it comes to the surface to send data.   After a prescribed number of dives, the float initiates a second phase, it acts as a conventional Argo float, profiling on a 10 day repeat.  Under pressure from the other users of the acoustic tracking network in the North Atlantic, the float sends acoustic data during both phases.   The data format for the profile data will be the same as the SOLO-SEASCAN-FSI-Argo float (SOLO_TS16).   The engineering data will also be the same.   The format for the drift data will include acoustic data embedded with in situ pressure, temperature, and conductivity measurements that are transmitted in the same way as the Argo float format.

The SEASCAN controller initiates actions at depth based on a look up table.   After submerging, it waits until the internal clock indicates that it is the next day.   This means that if the floats reaches its target depth shortly after midnight, it will not start its at depth tasks until after the next midnight.  For the two floats launched in July, 2004, the first phase consists of 4 dives, each dive will be at depth for 40 days.   Because of the the time on the surface and the time to go to depth, the last 3 drifts will actually be for ~41 days.   The floats will spend a time on the surface that equals 12 hours + 1 additional hour for each listening window.   For the present floats, this is an additional 10 hours.  This means that the floats will spend a total of 22 hours on the surface.   The parameters for leaving the surface are the same as the previous SEASCAN floats.

The profile data will be sent starting at the shallowest bin and working down through the water column.   The pressure bin averaging is preset and not transmitted.  There are unlikely situations where the first bin may not be for the shallowest prescribed bin, but the engineering data can be used to check this.  The total number of bins is also transmitted in the engineering message which will determine which of the values in the last message containing the profile are padded values.  That is, if the number of bins is 52 (there are up to 9 values per message), then the 6th profile message will have two pad values at the end.

All CTD data temperature and salinity (conductivity anomaly) pairs are stored to a resolution of 0.001 psu and degrees C.   Each data record is designed to be unpacked without depending on other data records.  Pressure will be an implicit value.  This means that the first value in the series will have to be specified a priori and kept fixed.  Only up profiles are collected and transmitted from the top down, i.e. in the reverse order that the profile data was collected.

For the FSI CTD temperature and conductivity data will be sent as:

Ta = (T+3.0) * 1000.

Ta = (T+5.0) * 10000

Ca = (C-T+10)*1000 for FSI CTD, or

Ca = (S+10)*10000 for Seabird CTD

Pa = (P+20)*1000

Each Argos message will have a 4 byte header, followed by 28 bytes of data.  The data header will be of the form:

Message Header:  4 bytes

| ID # | CRC hi | CRC low | Type/Mes # |
| --- | --- | --- | --- |

ID #		 -  extended byte of Argos ID #

CRC		 - cyclic redundancy code (Check sum), 2 bytes.

Type 		 -  0 = CTD up profile, 1= Engineering data, 2= Rafos Data, 3= Surface Data

unsigned 3 bits

# Message #	 - 0 to 31 sequence number unsigned: unsigned  5 bits

For the CRC check, see the ARGOS PTT General Specifications document ADII-SP-423-601-CNES, dated July 30, 1999, Section 4.1.2.4.  Following the CLS specification, the CRC check is made on the string that includes the 28 bit ID and the 29 bytes of data.  This check is a 16 bit CRC check using the polynomial division x^16 + x^12 + x^5 + 1

Message type 0: up profile.

Values of T and  C (S) will be 4 bytes for reference values and 24 bytes for first differences.

Reference Values (4 bytes).  Bytes 5 to 8 of the message will contain:

| T high | T low | C high | C low |
| --- | --- | --- | --- |

Forward-differences are stored as 13 bit Temperature difference and  11 bit Conductivity anomaly or salinity difference..  Each Argos message will contain 9 T/S data pairs, sent as the first value and eight forward-differences.

Thigh, Tlow - 2 byte value of first temperature value

Chigh, Clow - 2 byte value of first conductivity (FSI) value or first salinity value

(Seabird)

.

(DT=13bits, +/-4.096  DS=11bits, +/-1.024)

The values of DT and DC can be summed and added to T and C (or S) from the reference values to form absolute values.  Bytes 9 to 32 of the message will contain:

| DT 1 | ¦ | DS 1 | DT 2 | ¦ | DS 2 | DT 3 | ¦ | DS 3 | DT 4 | ¦ | DS 4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DT 5 | ¦ | DS 5 | DT 6 | ¦ | DS 6 | DT 7 | ¦ | DS 7 | DT 8 | ¦ | DS 8 |

DT = Forward Temperature difference: signed 13 bits ( +/-4096)

DC =  Forward Conductivity (Salinity) anomaly difference: signed 11 bits ( +/-1024)

This means that each Argos message will contain the information from 9 profile bins.

Message type 1.  Engineering data

The message will have the standard 4 byte message header given above.

For the FSI CTD, the next 11 bytes will be the beginning of the FSI engineering message collected at the beginning of the profile.  The 1st byte is the beginning pressure (in bars) . then raw values of T, and C, and the three reference resistance measurements from the CTD before it starts profiling (11 bytes).  Each value will be transmitted as 2 bytes except for the first one which is one byte only.  The next byte contains the number of bins for the profile.  Using the beginning pressure and this value, the pressure for the bins can  be computed (or at least checked to make sure that the 1st bin is for the surface bin).  Next will be the information on the drift phase.  This will be P, T, and C for the beginning of the drift and then values at the end of the drift.  One byte values for the auxiliary battery, CPU battery, the internal vacuum, and the system flag are appended on the end of the message.  So, Bytes 5 to 32 are:

| P init | T init |  | C init |  | R0 |  | R50 |  | R100 |  | Npts |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pd1 |  | Td1 |  | Cd1 |  | Pd2 |  | Td2 |  | Cd2 |  |
| Vbaux | Vbcpu | Vac | SysFlg |

A  typical data telemetry sequence:

A 2000 dbar  CTD  profile would have pressure bin averages over 10 dbars from 0 to 200 dbars, then 20 dbars from 200 to 800 dbars and finally 40 dbars from 800 to 2000 dbars.  There would be 80 T/P pairs for this profile.  This would allow us to fit the profile data into 9 messages.  There would then be one more Engineering message and possibly a drift data message.

Message type 2.  Drift data

Data is collected during the drift phase, according to the instrument initialization table it can contain acoustic navigation or Pressure, temperature, conductivity information.  It can contain the following:

-	Acoustic navigation data is a group of 2 bytes with the high nibble being the correlation amplitude and the 12 remaining bits the propagation delay.

- At depth sampling generate 6 bytes of information, with pressure, temperature, conductivity and the calculated pump correction each sent as  the lowest 12 bits and concatenated to form 6 bytes.

Data is packed in the order where it was collected and occupies as many messages as required to send it all.

For Phase 1, each day will  include :

5 listening windows 	@ 2 bytes each, or 	10 bytes

1 sample of P, T, and C	and pump info		  6 bytes

This gives a total of 640 bytes of data for each dive, which will be contained in 23 messages.

For Phase 2, every 2 days (for a total of 4 samples) which can be combined with the engineering data to give 6 samples distributed over the drift phase.  In addition, on the 9th day, there will be 5 listening windows.   This means that there will be an additional 10 bytes of drift data, for a total of 34 bytes which will be sent in 2 messages.

Message type 3.  Surface data

The surface mode is designed to help recover the instrument during trials at sea or at the end of the programmed number of dives.  FOR ARGO, WE  DO NOT EXPECT TO RECEIVE THESE TYPES OF MESSAGES.   It uses the argos transmitter as a beacon. The float sends messages at the programmed repetition rate, with the following data:

Day (2bytes)

Minutes (2bytes)

Seconds ( 1byte)

Pressure (2bytes)

Temp (2bytes)

Cpubat (1byte)

Auxbat ( 1byte)

Vacuum (1byte)

## Status (1byte)

System flags (1byte)

Profile status (1byte)