High-density XBT cruise AX180313 report

Ship Rider: James Farrington

a)	XBTs deployed: 236

b)	Drifters deployed: No Drifters were deployed

c)	Profiling floats deployed: No Floats were deployed

d)	Equipment tools and supplies needed: 1. Wall adapter plug (Special)

2. Duct Tape and Electrical Tape 3. Cresent wrench, I damaged the one in

The tool bag 3. Need a spare Flat Screen 4. Need a spare controller box

- Problems:  1. Auto Launcher Base did not fit either Auto Launcher

2. Need a pipe base for the AL setup  3. T&T cable is 30 ft too short

f)	Recommendations: Refit the base to the AL, bring an add on for the T&T

cable, load a alum pipe for the setup

- Other narrative: Interesting cruise on a car carrier, close to the Elegant Ace, but the room was smaller with more rope and oil stored in there.

h)	Ship contact: Captain Ronulfo R. Tajonera

email progressace@mmstokyyo.co.jp