# XBT High Density Cruise Report

| Cruise | AX18 May 2013 |
| --- | --- |
| Ship | MOL Progress Ace |
| Call Sign | HPQI |
| Riders | Zachary Barton |
| Dates | May 17 to May 28 |

## 1. XBTs Deployed

A total of 203 Sippican Deep Blue XBT probes were deployed. This number includes 16 XBTs that produced bad profiles, and 6 that failed due to Early Splash Detection during initial testing before hitting 200M depth. Three test drops with a test probe were performed as well.

## 2. Drifters and Floats Deployed

No drifters or floats were deployed.

## 3. Real Time Transmissions

During this cruise all the GPS information and profile transmission was done using Thrane and Thrane Mini-C antenna. Binary files were transmitted using AMVER/SEAS default transmission service (NOAA SEAS Mailer).

## 4. Problems

The initial issues with the Profiles encountered during the cruise were because of a short on the Cat5 cable from the interface box to the autolauncher. This was remedied after discovery by cutting off the plug and re-terminating the wire. This issue lead to a malfunction of one of the MK21s, serial number 111057.

Once that issue was remedied, there were few issues. A few times, wind contributed to bad profiles and was usually able to be recovered with a subsequent drop. Some other minor issues were that the Autolauncher had a tube not working. The backup is believed to also have one tube not working.

The rest of the cruise went smoothly and had no issues.

## 5. Recommendations

- It is recommended that the faulty MK21 be replaced before the next cruise.

- It is recommended that the Autolaunchers be inspected and repaired if possible before the next cruise.

- It is recommended that the antenna continue to be put on the railing of the lower of the two upper decks as this was a fine placement and encountered no issues.

- It is recommended to place a Cat5 Tester in this equipment.

- It is recommended that the rider re-terminate the Autolauncher Cat5 cable before beginning the cruise and that they be tested before connecting to the interface box.

- It is recommended that the rider maintains a log that includes: (1) deployment status, with information about the obtained profiles; (2) information about all relevant activity during the cruise, including information about the equipment setup, weather conditions and Auto-Launcher maintenance and reload information.

- It is recommended that the rider keep the serial number page from every XBT box, and consistently log its respective first deployment. This information might become useful in the future.

## 6. Deployment Log

Drop    File Name	   Latitude	   Longitude	   Day/Time	  Notes

1	 X130517N01.bin	  23 55.45  S	  046 20.53  W	  05/17/2013 23:18	TEST DROP TEST PROBE

2	 X130518N01.bin	  24 25.16  S	  046 08.87  W	  05/18/2013 08:48	hand drop

3	 X130518N02.bin	  24 26.97  S	  046 00.01  W	  05/18/2013 09:17	test drop. bad at the beginning

4	 X130518N03.bin	  24 28.65  S	  045 51.77  W	  05/18/2013 09:44	bad

5	 X130518N04.bin	  24 29.16  S	  045 49.17  W	  05/18/2013 09:53	hand launch test probe

6	 X130518N05.bin	  24 29.74  S	  045 45.34  W	  05/18/2013 10:05	AL noise in beginning

7	 X130518N06.bin	  24 32.06  S	  045 29.12  W	  05/18/2013 10:58	noise in beginning

8	 X130518N07.bin	  24 35.76  S	  045 15.00  W	  05/18/2013 11:46	noisy beginning, unsure of profile. 						Re-dropping

9	 X130518N08.bin	  24 36.36  S	  045 11.05  W	  05/18/2013 11:59	bad re-drop

10	 X130518N09.bin	  24 37.50  S	  045 00.41  W	  05/18/2013 12:34

11	 X130518N10.bin	  24 40.00  S	  044 46.15  W	  05/18/2013 13:22	bad start

12	 X130518N11.bin	  24 43.07  S	  044 27.17  W	  05/18/2013 14:27	successful drop. good profile

13	 X130518N12.bin	  24 44.54  S	  044 17.96  W	  05/18/2013 14:58	good

14	 X130518N13.bin	  24 47.15  S	  044 02.06  W	  05/18/2013 15:52

15	 X130518N14.bin	  24 49.77  S	  043 47.11  W	  05/18/2013 16:42	good drop. some interference at the end, 					most likely due to winds

16	 X130518N15.bin	  24 52.37  S	  043 32.14  W	  05/18/2013 17:32	good drop

17	 X130518N16.bin	  24 55.05  S	  043 17.34  W	  05/18/2013 18:22	good drop to 650 wind is an issue. 						re-dropping

18	 X130518N17.bin	  24 55.27  S	  043 16.19  W	  05/18/2013 18:26	 good drop

19	 X130518N18.bin	  24 57.53  S	  043 02.27  W	  05/18/2013 19:12	good drop

20	 X130518N19.bin	  25 00.53  S	  042 47.24  W	  05/18/2013 20:02

21	 X130518N20.bin	  25 03.26  S	  042 32.19  W	  05/18/2013 20:52	good

22	 X130518N21.bin	  25 05.23  S	  042 17.08  W	  05/18/2013 21:42	wire break. Re-dropping

23	 X130518N22.bin	  25 05.37  S	  042 16.03  W	  05/18/2013 21:46

24	 X130518N23.bin	  25 07.60  S	  042 02.09  W	  05/18/2013 22:32

25	 X130518N24.bin	  25 10.78  S	  041 47.30  W	  05/18/2013 23:22

26	 X130519N01.bin	  25 13.31  S	  041 32.30  W	  05/19/2013 00:12

27	 X130519N02.bin	  25 15.43  S	  041 17.25  W	  05/19/2013 01:02	good

28	 X130519N03.bin	  25 17.71  S	  041 01.96  W	  05/19/2013 01:52

29	 X130519N04.bin	  25 20.14  S	  040 46.85  W	  05/19/2013 02:42	good

30	 X130519N05.bin	  25 22.92  S	  040 31.76  W	  05/19/2013 03:32

31	 X130519N06.bin	  25 25.64  S	  040 16.65  W	  05/19/2013 04:22

32	 X130519N07.bin	  25 28.28  S	  040 01.70  W	  05/19/2013 05:12	good

33	 X130519N08.bin	  25 30.55  S	  039 46.31  W	  05/19/2013 06:02

34	 X130519N09.bin	  25 33.16  S	  039 31.17  W	  05/19/2013 06:52

35	 X130519N10.bin	  25 35.75  S	  039 16.16  W	  05/19/2013 07:42

36	 X130519N11.bin	  25 38.27  S	  039 01.13  W	  05/19/2013 08:32

37	 X130519N12.bin	  25 40.82  S	  038 46.04  W	  05/19/2013 09:22

38	 X130519N13.bin	  25 43.52  S	  038 30.90  W	  05/19/2013 10:12	good

39	 X130519N14.bin	  25 46.98  S	  038 11.09  W	  05/19/2013 11:16

40	 X130519N15.bin	  25 49.88  S	  037 52.48  W	  05/19/2013 12:16

41	 X130519N16.bin	  25 52.85  S	  037 34.03  W	  05/19/2013 13:16

42	 X130519N17.bin	  25 56.31  S	  037 15.45  W	  05/19/2013 14:16

43	 X130519N18.bin	  25 59.54  S	  036 56.80  W	  05/19/2013 15:16	noise at 650

44	 X130519N19.bin	  26 03.04  S	  036 38.43  W	  05/19/2013 16:16	good

45	 X130519N20.bin	  26 08.02  S	  036 14.04  W	  05/19/2013 17:36	good

46	 X130519N21.bin	  26 14.79  S	  035 50.25  W	  05/19/2013 18:56

47	 X130519N22.bin	  26 21.15  S	  035 26.00  W	  05/19/2013 20:16	good

48	 X130519N23.bin	  26 26.81  S	  035 01.79  W	  05/19/2013 21:36

49	 X130519N24.bin	  26 32.54  S	  034 42.96  W	  05/19/2013 22:56

50	 X130520N01.bin	  26 36.90  S	  034 18.20  W	  05/20/2013 00:16

51	 X130520N02.bin	  26 43.46  S	  033 53.84  W	  05/20/2013 01:36	good

52	 X130520N03.bin	  26 49.14  S	  033 29.26  W	  05/20/2013 02:56	good

53	 X130520N04.bin	  26 54.44  S	  033 05.80  W	  05/20/2013 04:12

54	 X130520N05.bin	  27 00.22  S	  032 42.29  W	  05/20/2013 05:28

55	 X130520N06.bin	  27 05.63  S	  032 18.42  W	  05/20/2013 06:44	good

56	 X130520N07.bin	  27 11.81  S	  031 54.46  W	  05/20/2013 08:00

57	 X130520N08.bin	  27 17.32  S	  031 30.37  W	  05/20/2013 09:16	good

58	 X130520N09.bin	  27 23.34  S	  031 05.84  W	  05/20/2013 10:32	good

59	 X130520N10.bin	  27 28.99  S	  030 43.38  W	  05/20/2013 11:42

60	 X130520N11.bin	  27 33.86  S	  030 21.13  W	  05/20/2013 12:52

61	 X130520N12.bin	  27 39.14  S	  029 58.77  W	  05/20/2013 14:02

62	 X130520N13.bin	  27 44.82  S	  029 34.58  W	  05/20/2013 15:18	good

63	 X130520N14.bin	  27 50.48  S	  029 10.49  W	  05/20/2013 16:34	good

64	 X130520N15.bin	  27 56.69  S	  028 46.17  W	  05/20/2013 17:50

65	 X130520N16.bin	  28 02.23  S	  028 21.80  W	  05/20/2013 19:06	wire break. redropping

66	 X130520N17.bin	  28 02.49  S	  028 20.68  W	  05/20/2013 19:10	okay to 750 meters. wind suspected 					problem

67	 X130520N18.bin	  28 07.85  S	  027 57.71  W	  05/20/2013 20:22	good

68	 X130520N19.bin	  28 13.63  S	  027 33.49  W	  05/20/2013 21:38	good

69	 X130520N20.bin	  28 19.30  S	  027 09.00  W	  05/20/2013 22:54	noisy. redropping

70	 X130520N21.bin	  28 19.55  S	  027 07.92  W	  05/20/2013 22:57	good

71	 X130521N01.bin	  28 25.12  S	  026 44.45  W	  05/21/2013 00:10	good

72	 X130521N02.bin	  28 30.98  S	  026 19.99  W	  05/21/2013 01:26	good

73	 X130521N03.bin	  28 36.67  S	  025 55.58  W	  05/21/2013 02:42

74	 X130521N04.bin	  28 42.32  S	  025 31.35  W	  05/21/2013 03:58

75	 X130521N05.bin	  28 48.08  S	  025 06.83  W	  05/21/2013 05:14	noisy. redropping

76	 X130521N06.bin	  28 48.36  S	  025 05.66  W	  05/21/2013 05:18	noisy past 700. wind suspected factor

77	 X130521N07.bin	  28 53.62  S	  024 42.40  W	  05/21/2013 06:30	good

78	 X130521N08.bin	  28 59.69  S	  024 18.36  W	  05/21/2013 07:46	noisy at 600, checking system over

79	 X130521N09.bin	  29 01.19  S	  024 12.22  W	  05/21/2013 08:05	good

80	 X130521N10.bin	  29 05.36  S	  023 53.04  W	  05/21/2013 09:05

81	 X130521N11.bin	  29 11.28  S	  023 29.68  W	  05/21/2013 10:18	good

82	 X130521N12.bin	  29 16.90  S	  023 04.27  W	  05/21/2013 11:34	good

83	 X130521N13.bin	  29 19.47  S	  022 45.57  W	  05/21/2013 12:50

84	 X130521N14.bin	  29 22.48  S	  022 29.90  W	  05/21/2013 14:16

85	 X130521N15.bin	  29 30.06  S	  022 06.12  W	  05/21/2013 15:32	good

86	 X130521N16.bin	  29 35.43  S	  021 41.99  W	  05/21/2013 16:48	good

87	 X130521N17.bin	  29 42.12  S	  021 14.79  W	  05/21/2013 18:14	good

88	 X130521N18.bin	  29 48.76  S	  020 47.42  W	  05/21/2013 19:40	good

89	 X130521N19.bin	  29 55.33  S	  020 19.99  W	  05/21/2013 21:06	good

90	 X130521N20.bin	  30 00.98  S	  019 52.53  W	  05/21/2013 22:32

91	 X130522N01.bin	  30 05.31  S	  019 24.84  W	  05/21/2013 23:58	good

92	 X130522N02.bin	  30 09.56  S	  018 57.29  W	  05/22/2013 01:24	bad. noisy

93	 X130522N03.bin	  30 09.75  S	  018 56.06  W	  05/22/2013 01:28	bad. noisy. rain possible problem. checking 				system before redrop

94	 X130522N04.bin	  30 10.15  S	  018 53.36  W	  05/22/2013 01:36	good to 850. lightning observed with rain 					as possible problem causing noise in 					readings

95	 X130522N05.bin	  30 13.49  S	  018 29.73  W	  05/22/2013 02:50

96	 X130522N06.bin	  30 17.97  S	  018 01.89  W	  05/22/2013 04:16	good

97	 X130522N07.bin	  30 22.12  S	  017 33.82  W	  05/22/2013 05:42	bad. weather possible factor

98	 X130522N08.bin	  30 22.34  S	  017 32.32  W	  05/22/2013 05:47	bad. weather possible factor. checking 					equipment

99	 X130522N09.bin	  30 23.07  S	  017 27.61  W	  05/22/2013 06:01	good. switching to 50 km spacing to save 					xbts. will reevaluate later

100	 X130522N10.bin	  30 27.58  S	  016 56.81  W	  05/22/2013 07:36

101	 X130522N11.bin	  30 32.41  S	  016 25.82  W	  05/22/2013 09:11	noisy, checking. Raining again

102	 X130522N12.bin	  30 33.66  S	  016 15.61  W	  05/22/2013 09:42	good

103	 X130522N13.bin	  30 37.30  S	  015 53.27  W	  05/22/2013 10:52

104	 X130522N14.bin	  30 42.42  S	  015 21.06  W	  05/22/2013 12:33	good to 720 s ome noise in the middle.

105	 X130522N15.bin	  30 47.10  S	  014 48.81  W	  05/22/2013 14:14

106	 X130522N16.bin	  30 51.42  S	  014 16.23  W	  05/22/2013 15:55	noisy at certain intervals. checking 						equipment

107	 X130522N17.bin	  30 52.21  S	  014 10.81  W	  05/22/2013 16:12	good

108	 X130522N18.bin	  30 56.58  S	  013 44.13  W	  05/22/2013 17:36	good

109	 X130522N19.bin	  31 01.65  S	  013 12.00  W	  05/22/2013 19:17	good

110	 X130522N20.bin	  31 06.38  S	  012 40.03  W	  05/22/2013 20:58	good

111	 X130522N21.bin	  31 11.34  S	  012 08.21  W	  05/22/2013 22:39

112	 X130523N01.bin	  31 15.87  S	  011 36.27  W	  05/23/2013 00:20	good

113	 X130523N02.bin	  31 20.82  S	  011 03.97  W	  05/23/2013 02:01

114	 X130523N03.bin	  31 25.64  S	  010 31.87  W	  05/23/2013 03:42	good

115	 X130523N04.bin	  31 30.37  S	  009 59.57  W	  05/23/2013 05:23

116	 X130523N05.bin	  31 35.28  S	  009 26.68  W	  05/23/2013 07:04

117	 X130523N06.bin	  31 39.76  S	  008 54.88  W	  05/23/2013 08:39	good to 720. not redropping in nfavor of 					saving xbts for the end

118	 X130523N07.bin	  31 44.92  S	  008 23.42  W	  05/23/2013 10:14

119	 X130523N08.bin	  31 49.29  S	  007 51.41  W	  05/23/2013 11:49	good

120	 X130523N09.bin	  31 54.52  S	  007 20.20  W	  05/23/2013 13:24	good

121	 X130523N10.bin	  31 58.86  S	  006 49.02  W	  05/23/2013 14:59

122	 X130523N11.bin	  32 03.24  S	  006 17.48  W	  05/23/2013 16:34

123	 X130523N12.bin	  32 08.15  S	  005 46.22  W	  05/23/2013 18:09	not so good. noise at 340. redropping

124	 X130523N13.bin	  32 08.41  S	  005 44.21  W	  05/23/2013 18:15	good to 770.

125	 X130523N14.bin	  32 12.89  S	  005 14.25  W	  05/23/2013 19:44

126	 X130523N15.bin	  32 17.27  S	  004 42.29  W	  05/23/2013 21:19

127	 X130523N16.bin	  32 20.93  S	  004 09.77  W	  05/23/2013 22:54

128	 X130524N01.bin	  32 24.69  S	  003 37.09  W	  05/24/2013 00:29	good

129	 X130524N02.bin	  32 28.79  S	  003 03.78  W	  05/24/2013 02:04

130	 X130524N03.bin	  32 32.48  S	  002 31.42  W	  05/24/2013 03:36	good

131	 X130524N04.bin	  32 36.42  S	  001 58.68  W	  05/24/2013 05:11	good

132	 X130524N05.bin	  32 39.72  S	  001 32.33  W	  05/24/2013 06:27	good

133	 X130524N06.bin	  32 42.83  S	  001 06.23  W	  05/24/2013 07:43	good

134	 X130524N07.bin	  32 43.54  S	  000 59.35  W	  05/24/2013 08:03	good

135	 X130524N08.bin	  32 45.50  S	  000 42.25  W	  05/24/2013 08:50

136	 X130524N09.bin	  32 47.34  S	  000 26.08  W	  05/24/2013 09:37

137	 X130524N10.bin	  32 49.44  S	  000 09.87  W	  05/24/2013 10:24

138	 X130524N11.bin	  32 51.51  S	  000 06.18  E	  05/24/2013 11:11

139	 X130524N12.bin	  32 53.44  S	  000 22.36  E	  05/24/2013 11:58

140	 X130524N13.bin	  32 55.23  S	  000 38.64  E	  05/24/2013 12:45

141	 X130524N14.bin	  32 57.04  S	  000 55.26  E	  05/24/2013 13:33

142	 X130524N15.bin	  32 58.74  S	  001 11.99  E	  05/24/2013 14:21

143	 X130524N16.bin	  33 00.99  S	  001 28.40  E	  05/24/2013 15:09

144	 X130524N17.bin	  33 02.82  S	  001 44.34  E	  05/24/2013 15:57

145	 X130524N18.bin	  33 04.57  S	  001 59.93  E	  05/24/2013 16:45

146	 X130524N19.bin	  33 06.47  S	  002 15.74  E	  05/24/2013 17:33

147	 X130524N20.bin	  33 08.32  S	  002 31.54  E	  05/24/2013 18:21

148	 X130524N21.bin	  33 10.43  S	  002 47.86  E	  05/24/2013 19:09	good

149	 X130524N22.bin	  33 12.54  S	  003 04.11  E	  05/24/2013 19:57	good

150	 X130524N23.bin	  33 14.24  S	  003 20.24  E	  05/24/2013 20:45	good

151	 X130524N24.bin	  33 16.16  S	  003 36.42  E	  05/24/2013 21:33

152	 X130524N25.bin	  33 17.94  S	  003 52.87  E	  05/24/2013 22:21	good to 820

153	 X130524N26.bin	  33 20.42  S	  004 09.45  E	  05/24/2013 23:09	good

154	 X130525N01.bin	  33 22.31  S	  004 25.74  E	  05/24/2013 23:57

155	 X130525N02.bin	  33 24.10  S	  004 42.15  E	  05/25/2013 00:45

156	 X130525N03.bin	  33 25.91  S	  004 58.75  E	  05/25/2013 01:33	good

157	 X130525N04.bin	  33 27.84  S	  005 15.16  E	  05/25/2013 02:21

158	 X130525N05.bin	  33 29.92  S	  005 31.48  E	  05/25/2013 03:09

159	 X130525N06.bin	  33 31.45  S	  005 47.74  E	  05/25/2013 03:57

160	 X130525N07.bin	  33 33.42  S	  006 03.87  E	  05/25/2013 04:45

161	 X130525N08.bin	  33 35.38  S	  006 20.04  E	  05/25/2013 05:33

162	 X130525N09.bin	  33 37.21  S	  006 36.45  E	  05/25/2013 06:21	good

163	 X130525N10.bin	  33 39.27  S	  006 52.97  E	  05/25/2013 07:09	good

164	 X130525N11.bin	  33 41.42  S	  007 09.99  E	  05/25/2013 07:57

165	 X130525N12.bin	  33 46.26  S	  007 49.20  E	  05/25/2013 09:51	good

166	 X130525N13.bin	  33 47.30  S	  007 59.65  E	  05/25/2013 10:21

167	 X130525N14.bin	  33 49.34  S	  008 16.22  E	  05/25/2013 11:09

168	 X130525N15.bin	  33 51.40  S	  008 33.10  E	  05/25/2013 11:57

169	 X130525N16.bin	  33 53.17  S	  008 49.78  E	  05/25/2013 12:45

170	 X130525N17.bin	  33 54.80  S	  009 06.59  E	  05/25/2013 13:33

171	 X130525N18.bin	  33 56.62  S	  009 23.30  E	  05/25/2013 14:21

172	 X130525N19.bin	  33 58.56  S	  009 39.56  E	  05/25/2013 15:09

173	 X130525N20.bin	  34 00.49  S	  009 56.15  E	  05/25/2013 15:57

174	 X130525N21.bin	  34 02.61  S	  010 12.31  E	  05/25/2013 16:45

175	 X130525N22.bin	  34 04.87  S	  010 28.24  E	  05/25/2013 17:33	good

176	 X130525N23.bin	  34 06.82  S	  010 47.78  E	  05/25/2013 18:33	good

177	 X130525N24.bin	  34 08.68  S	  011 04.54  E	  05/25/2013 19:23	good

178	 X130525N25.bin	  34 10.66  S	  011 21.86  E	  05/25/2013 20:14	good

179	 X130525N26.bin	  34 12.83  S	  011 38.36  E	  05/25/2013 21:03

180	 X130525N27.bin	  34 15.06  S	  011 54.80  E	  05/25/2013 21:53

181	 X130525N28.bin	  34 16.75  S	  012 11.03  E	  05/25/2013 22:43	good

182	 X130525N29.bin	  34 18.24  S	  012 26.93  E	  05/25/2013 23:33	good

183	 X130526N01.bin	  34 20.32  S	  012 42.62  E	  05/26/2013 00:23	good

184	 X130526N02.bin	  34 22.53  S	  012 58.72  E	  05/26/2013 01:13

185	 X130526N03.bin	  34 24.49  S	  013 15.11  E	  05/26/2013 02:03	good

186	 X130526N04.bin	  34 26.11  S	  013 31.20  E	  05/26/2013 02:53

187	 X130526N05.bin	  34 27.80  S	  013 48.13  E	  05/26/2013 03:47

188	 X130526N06.bin	  34 29.53  S	  014 04.57  E	  05/26/2013 04:41

189	 X130526N07.bin	  34 31.68  S	  014 21.63  E	  05/26/2013 05:35

190	 X130526N08.bin	  34 33.65  S	  014 38.68  E	  05/26/2013 06:29	good

191	 X130526N09.bin	  34 35.85  S	  014 55.55  E	  05/26/2013 07:23	good

192	 X130526N10.bin	  34 37.39  S	  015 11.71  E	  05/26/2013 08:13	good

193	 X130526N11.bin	  34 39.43  S	  015 27.77  E	  05/26/2013 09:03	good

194	 X130526N12.bin	  34 41.74  S	  015 43.76  E	  05/26/2013 09:53

195	 X130526N13.bin	  34 44.10  S	  016 00.34  E	  05/26/2013 10:47	good

196	 X130526N14.bin	  34 46.46  S	  016 17.65  E	  05/26/2013 11:41

197	 X130526N15.bin	  34 48.70  S	  016 36.48  E	  05/26/2013 12:35

198	 X130526N16.bin	  34 50.50  S	  016 52.66  E	  05/26/2013 13:22

199	 X130526N17.bin	  34 52.09  S	  017 08.71  E	  05/26/2013 14:09

200	 X130526N18.bin	  34 53.54  S	  017 24.74  E	  05/26/2013 14:56

201	 X130526N19.bin	  34 54.91  S	  017 40.85  E	  05/26/2013 15:43	good to 850

202	 X130526N20.bin	  34 56.76  S	  017 58.04  E	  05/26/2013 16:33

203	 X130526N21.bin	  34 58.81  S	  018 14.04  E	  05/26/2013 17:20	good

204	 X130526N22.bin	  35 02.92  S	  018 29.44  E	  05/26/2013 18:07	okay to 600. possible bottom hit

205	 X130526N23.bin	  35 04.73  S	  018 45.86  E	  05/26/2013 18:54	good. bottom hit at 225

206	 X130527N01.bin	  01 01.00  S	  001 01.00  W	  05/27/2013 07:27	mk21 test