High-density XBT cruise AX080217 report

Ship          :  Maersk Visby

Call sign    : 9V8827

Ship Rider :  Fergus Mckay

Dates  XBT’s deployed : February 11th to March 01st 2017

a)	XBTs deployed : 488

b)	Drifters deployed: 8

Date                     Time (GMT)	Lat/Long

Serial no.      MM/DD/YYYY   HHMM        Deg Min X     Deg Min X

145539          02/14/2017        00H15         22.16.66 S    003.00.05 E
      145560           02/14/2017       09H.27        20.33.52 S    001.00.29 E
      145548           02/15/2017       02H16         18.00.52 S    002.58.46 W
      145556           02/19/2017       03H38         00.32.32 S    023.59.79 W
      145501           02/19/2017       23H30         03.02.31 N    027.59.75 W
      145555           02/20/2017       15H34         05.43.70 N    031.00.01 W
      145517           02/21/2017       12H52         09.16.68 N    035.00.07 W
      145531           02/22/2017       09H14         12.47.93 N    039.00.25 W

c)           Profiling floats deployed: No floats were deployed.

- Equipment tools and supplies needed: Wire cutter and insulation tape. A new launcher since the primary launcher only has 6 working tubes. The cat5 cable has been used for many voyages and a new cable would be recommended.

e)	Problems:  There were no major problems this voyage. The most common fault was the PC losing contact with the MK21 quite often. A reboot solves this, however it also occurred during 4 drops causing them to terminate prematurely. I had 6 faulty probes which never passed the tube test and on 3 occasions re-drops were done due to wire snares. Other than that no other problems were experienced.

f)	Recommendations: Find out why the PC loses contact with the MK21 occasionally.

g)	Other narrative: The Maersk Visby is an ideal ship for dropping XBT's, drifters and Argo floats, with it maintaining a very steady speed, and the point of release close to the water, hence very few faulty drops occurred during my trip. The distance from the cabin to the launcher and antenna isn’t far, making installation a lot simpler. The Captain, officers and crew were also very hospitable making for a pleasant voyage.

h)	Ship contact: Captain Aung Thu We Lin

email: 908VISBY@maersk.com