AX081106 CRUISE SUMMARY REPORT

AX081106 was conducted on board the M/V “SAFMARINE GONUBIE” between Tuesday, November 14 and Thursday, November 30.

280 XBTs have been deployed (98 between 32ºS and 10ºS, 123 between 10ºS and 10ºN, 43 between 10ºN and 20ºN, 16 between 20ºN and arrival).

Ten drifters were deployed in the following positions

ID		DEPLOYED		POSITION

63276 		20NOV 05:31		12 03.26S		009 22.95W

63275		20NOV 23:20		08 01.32S		013 20.69W

63274		21NOV 16:40		03 59.10S		017 13.27W

63271		22NOV 04:38		00 00.00S		020 59.39W

63272		22NOV 20:10		02 00.53N		023 53.81W

63273		23NOV 06:33		03 58.83N		026 40.58W

63266		23NOV 17:25		06 01.05N		029 27.87W

63265		24NOV 13.35		10 00.02N		034 21.27W

63263		24NOV 23:18		12 00.05N		036 44.89W

63264		25NOV 14:08		15 00.30N		040 26.21W

Six SOLO profiling floats were deployed in the following positions

ID		ACTIVATED		DEPLOYED		POSITION

674/67425	16NOV 13:55		16NOV 22:12		29 00.50S010 26.68E

659/64149	18NOV 05:53		18NOV 06:14		22 28.00S001 56.63E

654/64144	19NOV 13:07		20NOV 05:31		12 03.26S009 22.95W

679/67430	22NOV 10:18		23NOV 06:33		03 58.83N026 40.58W

650/64140	26NOV 14:40		27NOV 02:15		22 29.91N049 28.82W

649/64139	26NOV 14:40		29NOV 21.02		36 00.03N040 26.21W

The auto launcher identified with gray duct tape needs testing and eventual repair (pins of tubes 4 and 6 do not extend and tubes 2 and 3 presented anomalous readings). I recommend reanalysis of drops collected by tube number 2 between NOV 17 and NOV 22 (as well as those collected by tube number 3) when they present up to ~2ºC difference in surface and similar structure below 30m with precedent tube 1 and subsequent tube 5 drops.