Cruise Report

High-density XBT cruise - AX081210

Ship Rider: Andrew Birkett

a)	XBTs deployed: 275

b)	Equipment, tools and supplies needed: New G-clamps, hose clamps. MK21 USB needs repair, A-L mounting frame needs repair, new 8-tube A-L spray cover (see equipment failure report). The A-L cable needs replacing as it has been penetrated in a number of places. The hand-launcher appears to be non-operational (not confirmed as only used for 2 drops, both of which were faulty) and either needs to be replaced or serviced.

c)	Problems: The transceiver malfunctioned on 12/09 which resulted in the transmission of profiles being delayed by a number of hours. Profile 101209N20 continually caused the transceiver to freeze during transmission and this profile was not transmitted but is included on the data CD.

The MK21 USB inexplicably stopped working on 12/09. The cause was not evident, the unit simply ceased connecting to the A-L and the PC. The spare MK21 was used for the remainder of the cruise.

Towards the end of the cruise there was a shortage of probes. It was decided that poor profiles in the final low density sampling phase would not be re-dropped to obtain good data for those stations.

Bad weather was encountered on 12/20. Extremely high seas and strong winds caused several problems for the equipment and sampling. The auto-launcher was displaced from its mounting by a large wave, strong winds or a combination of the two. The brackets holding the A-L in place broke, and the mounting frame was buckled. The spray cover for the 8-tube A-L was also lost during the storm. The A-L cable was penetrated when the A-L was displaced from its mounting.

The hand-launcher failed to register suitable profiles on the two occasions for which it was used.

There was one faulty probe which was not registered by the A-L and was thus not used.

d)	 Recommendations: Longer cable for the hand-launcher. Current cable not able to reach both port and starboard bridge-wings from accommodations. While every attempt is made to reduce the number of erroneous drops, sufficient probes should be provided to compensate for bad drops due to poor weather or equipment failure.

e)	Other narrative: The severe weather encountered on 12/20 resulted in the vessel having to change direction for a number of days. This caused an interruption in the sampling and a delay in arrival in Newark by 4 days. The poor weather also resulted in a number of profile errors due to wire stretches, wire breaks or insulation penetration.

f)	Ship contact: Captain Sandhu

email: 908vilnius@maersk.com