High-density XBT cruise AX081012 report

Ship          :  Maersk Vilnius

Call sign    : 9V8503

Ship Rider :  Alistair Blair

Dates  XBT’s deployed : October 9th to November 06th 2012

a)	XBTs deployed : 477

b)	Drifters deployed: 11 SVP Drifters were deployed.

43611           10/21/2012         06H48          18 58.00 S   002 56.90 W

39065           10/21/2012         06H48          18 58.00 S   002 56.90 W

42575           10/22/2012         11H02          15 00.00 S   008 11.30 W

101821         10/22/2012         11H02          15 00.00 S   008 11 30 W

101969         10/23/2012         15H44          10 57.54 S   013 27.35 W

41859           10/23/2012         15H44          10 57.54 S   013 27.35 W

101834          10/24/2012         20H10         06 59.02 S   018 34.91 W

43562            10/24/2012         20H10         06 59.02 S   018 34.91 W

42647            10/25/2012         11H25         04 59.80 S   021 08.12 W

101986          10/25/2012         11H25         04 59.80 S   021 08.12 W

101993          10/26/2012         00H40         02 58.75 S   023 41.63 W

c)	Profiling floats deployed: No floats were deployed .

Float S/N        Date of start up  Deployment date  Time (GMT)      Latitude         Longitude

- Equipment tools and supplies needed: Cable ties, insulating tape and silicone spray

e)	Problems: There is an intermittent problem with the program where the PC loses contact with the MK21 card and the PC would then need to be re-booted every time. Apparently the technicians are aware of this and are working on solving it. Additionally there was a problem with the software on the main PC where the XBT section of AMVERSEAS would freeze after a drop, this only occurred about half way through the trip. The computer would then have to be reset to get AMVERSEAS working. Therefore I decided it would be better to change laptops. However it was then found that the MK21 box was not connecting to the computer and so was changed out for the spare. This should be inspected for any faults. Tube 6 was misfunctioning after some time and so was turned the tube off for the rest of the trip, as this was advised. There were no further issues aside from a few XBTs that failed.

f)	Recommendations: The Maersk Vilnius is a perfect ship for deploying XBT’s so I recommend we use her as much as Maersk allows us to.

g)	Other narrative: The Maersk Vilnius is an ideal ship for dropping XBT's, drifters and Argo floats, with it maintaining a very steady speed, and the point of release close to the water, hence very few faulty drops occurred during my trip. The distance from the cabin to the launcher and antenna is not far, making installation simpler. The Captain, officers and crew were also very hospitable making for a pleasant voyage.

h)	Ship contact: Captain Efren.F.Esparagoza

email: 908VILNIUS@maersk.com