Summary of cruise AX080415 between Durban and Newark

AX00415 was conducted aboard the Maersk Visby. I boarded the ship at Durban on the morning of the 26th of March 2015 and did the installation and testing of the equipment. Two test drops were done when leaving Durban on the 27th  and 28th March. After leaving Cape Town the drops for the AX080415 commenced on the 01st April until the ship arrived at Newark during the morning of the 22nd  April 2015.

In total 485 XBT’s were deployed. High density deployments commenced from a depth of 200m once leaving Cape Town on the 01st April and continued until a depth of 200m was reached before Newark on the 22nd April. I had one bad drop due to a short on the ship. The shorts occur on the ship during moderate to heavy rainfall, and aren’t related to the SEAS equipment. There was one bad drop due to a faulty XBT and one drop where the wire snared at 310m. All the XBT’s passed the tube check.. The alarm before the drop doesn’t reset, and the transmission program jams occasionally. The plug for the antenna cable is a bit big making it difficult to feed it through the holes to the cabin. Tube 4 and 8’s pins don’t extract anymore. Other than that no other problems were experienced.

No SVPB drifters or Argo floats were deployed.

Overall the voyage went very well. We had fine weather for most of the trip. The Maersk Visby is an ideal ship for XBT deployments since it maintains a very steady speed and the point of release is close to the water resulting in very few faulty drops due to launching position. The distance from the cabin to the launcher and antenna isn’t far making installation a lot simpler.

The Captain and crew were extremely hospitable during the crew and eager to assist during the voyage.

F. Mckay

Port Meteorological Officer

Durban